## Sheet1
ITEM | DESCRIPTION | UNIT | MAKE, TYPE, MODEL & OTHER DETAILS | RATE (VAT Incl.)
GATE VALVES (Specification C.1)
Resilient Seal Valve (RSV) (Specification C.1.1)
| Plain Ended RSV Gate Valve - with Cap Top |  | (30 year warranty to be submitted)
1 | 80 mm | No.
2 | 100 mm | No.
3 | 150 mm | No.
4 | 200 mm | No.
5 | 250 mm | No.
6 | 300 mm | No.
7 | 350 mm | No.
Socketed RSV Gate Valve to suit PVC
pipes - with Cap Top (30 year warranty to be submitted)
8 | 50 mm | No.
9 | 90 mm | No.
10 | 110 mm | No.
11 | 160 mm | No.
12 | 200 mm | No.
13 | 250 mm | No.
14 | 315 mm | No.
15 | 350 mm | No.
| Flanged RSV Gate Valve - with Cap Top |  | (30 year warranty to be submitted)
16 | 50 mm (flanges drilled Table D BS 10) | No.
17 | 80 mm (flanges drilled Table D BS 10) | No.
18 | 100 mm (flanges drilled Table D BS 10) | No.
19 | 150 mm (flanges drilled Table D BS 10) | No.
20 | 200 mm (flanges drilled Table D BS 10) | No.
21 | 250 mm (flanges drilled Table D BS 10) | No.
22 | 300 mm (flanges drilled Table D BS 10) | No.
23 | 350 mm (flanges drilled Table D BS 10) | No.
24 | 400 mm (flanges drilled Table D BS 10) | No.
25 | 450 mm (flanges drilled Table D BS 10) | No.
26 | 300 mm (flanges drilled Table 1600/3) | No.
27 | 350 mm (flanges drilled Table 1600/3) | No.
28 | 400 mm (flanges drilled Table 1600/3) | No.
29 | 450 mm (flanges drilled Table 1600/3) | No.
Flanged RSV Gate Valve - with Hand Wheel (30 year warranty to be submitted)
30 | 50 mm (flanges drilled Table D BS 10) | No.
31 | 80 mm (flanges drilled Table D BS 10) | No.
32 | 100 mm (flanges drilled Table D BS 10) | No.
33 | 150 mm (flanges drilled Table D BS 10) | No.
34 | 200 mm (flanges drilled Table D BS 10) | No.
Knife Gate Valve (Specification C.1.2)
Knife Gate Valve - with Hand Wheel
35 | 80 mm (flanges drilled Table D BS 10) | No.
36 | 100 mm (flanges drilled Table D BS 10) | No.
37 | 150 mm (flanges drilled Table D BS 10) | No.
38 | 200 mm (flanges drilled Table D BS 10) | No.
39 | 250 mm (flanges drilled Table D BS 10) | No.
40 | 300 mm (flanges drilled Table D BS 10) | No.
41 | 350 mm (flanges drilled Table D BS 10) | No.
42 | 400 mm (flanges drilled Table D BS 10) | No.
43 | 450 mm (flanges drilled Table D BS 10) | No.
44 | 500 mm (flanges drilled Table D BS 10) | No.
45 | 600 mm (flanges drilled Table D BS 10) | No.
46 | 300 mm (flanges drilled Table 1600/3) | No.
47 | 350 mm (flanges drilled Table 1600/3) | No.
48 | 400 mm (flanges drilled Table 1600/3) | No.
49 | 450 mm (flanges drilled Table 1600/3) | No.
50 | 500 mm (flanges drilled Table 1600/3) | No.
51 | 600 mm (flanges drilled Table 1600/3) | No.
Double Eccentric Wafer Butterfly Valve
(Specification C.1.3)
Butterfly Valve - with lever handle
52 | 80 mm (flanges drilled Table D BS 10) | No.
53 | 100 mm (flanges drilled Table D BS 10) | No.
54 | 150 mm (flanges drilled Table D BS 10) | No.
Butterfly Valve - with Gearbox & Hand Wheel
55 | 150 mm (flanges drilled Table D BS 10) | No.
56 | 200 mm (flanges drilled Table D BS 10) | No.
57 | 250 mm (flanges drilled Table D BS 10) | No.
AIR VALVES (Specification C.4)
One-Way Air Valve - Plastic Body
58 | 25 mm (screw type) | No.
59 | 50 mm (screw type) | No.
60 | 50 mm (flanges drilled Table D BS 10) | No.
One-Way Air Valve - Stainless Steel Body
61 | 25 mm (screw type) | No.
62 | 50 mm (screw type) | No.
63 | 50 mm (flanges drilled Table D BS 10) | No.
64 | 80 mm (flanges drilled Table D BS 10) | No.
65 | 100 mm (flanges drilled Table D BS 10) | No.
66 | 150 mm (flanges drilled Table D BS 10) | No.
One-Way Air Valve - Ductile Iron Body
67 | 25 mm (screw type) | No.
68 | 50 mm (screw type) | No.
69 | 50 mm (flanges drilled Table D BS 10) | No.
70 | 80 mm (flanges drilled Table D BS 10) | No.
71 | 100 mm (flanges drilled Table D BS 10) | No.
72 | 150 mm (flanges drilled Table D BS 10) | No.
Two-Way Air Valve - Plastic Body
73 | 25 mm (screw type) | No.
74 | 50 mm (screw type) | No.
75 | 50 mm (flanges drilled Table D BS 10) | No.
Two-Way Air Valve - Stainless Steel Body
76 | 25 mm (screw type) | No.
77 | 50 mm (screw type) | No.
78 | 50 mm (flanges drilled Table D BS 10) | No.
79 | 80 mm (flanges drilled Table D BS 10) | No.
80 | 100 mm (flanges drilled Table D BS 10) | No.
81 | 150 mm (flanges drilled Table D BS 10) | No.
Two-Way Air Valve - Ductile Iron Body
82 | 25 mm (screw type) | No.
83 | 50 mm (screw type) | No.
84 | 50 mm (flanges drilled Table D BS 10) | No.
85 | 80 mm (flanges drilled Table D BS 10) | No.
86 | 100 mm (flanges drilled Table D BS 10) | No.
87 | 150 mm (flanges drilled Table D BS 10) | No.
FIRE HYDRANTS (Specification C.3)
88 | DN 80 | No. | (10 year warranty to be submitted)
NON-RETURN VALVES (Specification C.2)
Single Disc Swing Check Valve (Specification C.2.1)
89 | 80 mm (flanges drilled Table D BS 10) | No.
90 | 100 mm (flanges drilled Table D BS 10) | No.
91 | 150 mm (flanges drilled Table D BS 10) | No.
92 | 200 mm (flanges drilled Table D BS 10) | No.
93 | 250 mm (flanges drilled Table D BS 10) | No.
94 | 300 mm (flanges drilled Table 1600/3) | No.
95 | 350 mm (flanges drilled Table 1600/3) | No.
Single Door Wafer Check Valve (Specification C.2.2)
96 | 50 mm | No.
97 | 80 mm | No.
98 | 100 mm | No.
99 | 150 mm | No.
100 | 200 mm | No.
101 | 250 mm | No.
PRESSURE REDUCING CONTROL VALVES (Specification C.5)
Pressure Reducing Control Valve (PRV) complete with all fittings (Specification C.5.1)
102 | 50 mm (flanges drilled Table D BS 10) | No.
103 | 80 mm (flanges drilled Table D BS 10) | No.
104 | 100 mm (flanges drilled Table D BS 10) | No.
105 | 150 mm (flanges drilled Table D BS 10) | No.
106 | 200 mm (flanges drilled Table D BS 10) | No.
107 | 250 mm (flanges drilled Table D BS 10) | No.
Pressure Sustaining Control Valve (PSV) complete with all fittings (Specification C.5.2)
108 | 50 mm (flanges drilled Table D BS 10) | No.
109 | 80 mm (flanges drilled Table D BS 10) | No.
110 | 100 mm (flanges drilled Table D BS 10) | No.
111 | 150 mm (flanges drilled Table D BS 10) | No.
112 | 200 mm (flanges drilled Table D BS 10) | No.
113 | 250 mm (flanges drilled Table D BS 10) | No.
Level Control Valve (LCV) complete with all fittings (Specification C.5.3)
114 | 50 mm (flanges drilled Table D BS 10) | No.
115 | 80 mm (flanges drilled Table D BS 10) | No.
116 | 100 mm (flanges drilled Table D BS 10) | No.
117 | 150 mm (flanges drilled Table D BS 10) | No.
118 | 200 mm (flanges drilled Table D BS 10) | No.
119 | 250 mm (flanges drilled Table D BS 10) | No.
Flow Control Valve (FCV) complete with all fittings (Specification C.5.4)
120 | 50 mm (flanges drilled Table D BS 10) | No.
121 | 80 mm (flanges drilled Table D BS 10) | No.
122 | 100 mm (flanges drilled Table D BS 10) | No.
123 | 150 mm (flanges drilled Table D BS 10) | No.
124 | 200 mm (flanges drilled Table D BS 10) | No.
125 | 250 mm (flanges drilled Table D BS 10) | No.
Control Valve Accessories and Fittings
Replacement Actuator
126 | 50 mm | No.
127 | 80 mm | No.
128 | 100 mm | No.
129 | 150 mm | No.
130 | 200 mm | No.
131 | 250 mm | No.
Diaphragm
132 | 50 mm | No.
133 | 80 mm | No.
134 | 100 mm | No.
135 | 150 mm | No.
136 | 200 mm | No.
137 | 250 mm | No.
Seals set
138 | 50 mm | No.
139 | 80 mm | No.
140 | 100 mm | No.
141 | 150 mm | No.
142 | 200 mm | No.
143 | 250 mm | No.
V-Port Plug
144 | 50 mm | No.
145 | 80 mm | No.
146 | 100 mm | No.
147 | 150 mm | No.
148 | 200 mm | No.
149 | 250 mm | No.
Seat Ring
150 | 50 mm | No.
151 | 80 mm | No.
152 | 100 mm | No.
153 | 150 mm | No.
154 | 200 mm | No.
155 | 250 mm | No.
Cock Valve
156 | 50 mm | No.
157 | 80 mm | No.
158 | 100 mm | No.
159 | 150 mm | No.
160 | 200 mm | No.
161 | 250 mm | No.
PRV Piping
162 | 50 mm | No.
163 | 80 mm | No.
164 | 100 mm | No.
165 | 150 mm | No.
166 | 200 mm | No.
167 | 250 mm | No.
PSV Piping
168 | 50 mm | No.
169 | 80 mm | No.
170 | 100 mm | No.
171 | 150 mm | No.
172 | 200 mm | No.
173 | 250 mm | No.
LCV Control Tube (20 m long)
174 | 50 mm | No.
175 | 80 mm | No.
176 | 100 mm | No.
177 | 150 mm | No.
178 | 200 mm | No.
179 | 250 mm | No.
LCV Piping
180 | 50 mm | No.
181 | 80 mm | No.
182 | 100 mm | No.
183 | 150 mm | No.
184 | 200 mm | No.
185 | 250 mm | No.
FCV Piping
186 | 50 mm | No.
187 | 80 mm | No.
188 | 100 mm | No.
189 | 150 mm | No.
190 | 200 mm | No.
191 | 250 mm | No.
Large Area Control Filter
192 | 50 mm | No.
193 | 80 mm | No.
194 | 100 mm | No.
195 | 150 mm | No.
196 | 200 mm | No.
197 | 250 mm | No.
Restriction Orifice (PRV or PSV)
198 | 50 mm | No.
199 | 80 mm | No.
200 | 100 mm | No.
201 | 150 mm | No.
202 | 200 mm | No.
203 | 250 mm | No.
PRV Flow Controller
204 | 50 mm | No.
205 | 80 mm | No.
206 | 100 mm | No.
207 | 150 mm | No.
208 | 200 mm | No.
209 | 250 mm | No.
PRV Pilot
210 | 50 mm | No.
211 | 80 mm | No.
212 | 100 mm | No.
213 | 150 mm | No.
214 | 200 mm | No.
215 | 250 mm | No.
PSV Pilot
216 | 50 mm | No.
217 | 80 mm | No.
218 | 100 mm | No.
219 | 150 mm | No.
220 | 200 mm | No.
221 | 250 mm | No.
LCV Pilot Float Assembly
222 | 50 mm | No.
223 | 80 mm | No.
224 | 100 mm | No.
225 | 150 mm | No.
226 | 200 mm | No.
227 | 250 mm | No.
LCV Needle Valve
228 | 50 mm | No.
229 | 80 mm | No.
230 | 100 mm | No.
231 | 150 mm | No.
232 | 200 mm | No.
233 | 250 mm | No.
FCV Pilot with Needle Valve
234 | 50 mm | No.
235 | 80 mm | No.
236 | 100 mm | No.
237 | 150 mm | No.
238 | 200 mm | No.
239 | 250 mm | No.
LCV Orifice Plate Assembly
240 | 50 mm | No.
241 | 80 mm | No.
242 | 100 mm | No.
243 | 150 mm | No.
244 | 200 mm | No.
245 | 250 mm | No.