## Sheet1
ITEM | DESCRIPTION | UNIT | MAKE, TYPE, MODEL & OTHER DETAILS | RATE (VAT Incl.)
WATER METERS (Specification C)
RESIDENTIAL/DOMESTIC WATER METERS (Specification C.1)
Semi-positive rotary piston Class C meters
1 | 15 mm Plastic meter 114 mm long | No
2 | 15 mm Plastic meter 165 mm long | No
3 | 20 mm Brass meter 165 mm long | No
4 | 20 mm Plastic meter 114 mm long | No
5 | 20 mm Plastic meter 165 mm long | No
6 | 25 mm Plastic meter 198 mm long | No
BULK METERS (Specification C.2)
With built in flow straighteners
7 | 40 mm | No
8 | 50 mm | No
9 | 80 mm | No
10 | 100 mm | No
11 | 150 mm | No
12 | 200 mm | No
13 | 250 mm | No
Without built in flow straighteners
14 | 40 mm | No
15 | 50 mm | No
16 | 80 mm | No
17 | 100 mm | No
18 | 150 mm | No
19 | 200 mm | No
20 | 250 mm | No
Flange Packs (2 sets loose flanges, gaskets, nuts, bolts) (Specification C.2)
21 | 40 mm | No
22 | 50 mm | No
23 | 80 mm | No
24 | 100 mm | No
25 | 150 mm | No
26 | 200 mm | No
27 | 250 mm | No
METER REPLACEMENT CARTRIDGES (Specification C.3)
For existing Kent Optima meters
28 | 40 mm | No
For existing Kent Helix H4000 meters
29 | 40 mm | No
30 | 50 mm | No
31 | 80 mm | No
32 | 100 mm | No
33 | 150 mm | No
34 | 200 mm | No
35 | 250 mm | No
Cover (Head Part) including new internal mechanisms, changeover valve, main and bypass meters for existing Sensus Meitwin compound meter
36 | 50 mm | No
37 | 80 mm | No
38 | 100 mm | No
Bypass meter for existing Sensus Meitwin compound meter
39 | Standard bypass meter for all sizes | No
For existing Sensus MeiStream Plus meters
40 | 40 mm | No
41 | 50 mm | No
42 | 65 mm | No
43 | 80 mm | No
44 | 100 mm | No
45 | 150 mm | No
For existing Aqua-loc Zenner RTKD-L meters
46 | 15 mm | No
47 | 20 mm | No
RESIDENTIAL/DOMESTIC WATER METERS IN BOXES (Specification C.4)
Semi-positive rotary piston Class C meter, strainer, 13 mm 3-way plastic ballcock in 365 mm long plastic meter box with with 20 mm female inserts and lockable hinged lid.
48 | 15 mm Plastic meter 114 mm long | No
Details ….......................................
49 | 15 mm Plastic meter 114 mm long & strainer Details …................................... | No
50 | 15 mm Plastic meter 165 mm long | No
Details ….......................................
51 | 20 mm Plastic meter 165 mm long | No
Details ….......................................
Semi-positive rotary piston Class C meter, 19 mm 2-way plastic ballcock, 485 mm long plastic meter box with 25 mm female inserts and lockable hinged lid.
52 | 25 mm Plastic meter 198 mm long | No
Details ….......................................
RESIDENTIAL/DOMESTIC WATER METERS IN COMPOSITE HOUSING (Specification C.5)
Class C plastic meter with telltale, strainer, valve, in composite housing, male compression fittings, lockable hinged cover
53 | 20 mm Details ...................................... | No
54 | 25 mm Details …....................................... | No
STRAINERS (Specification C.6)
Brass strainers female to Female
55 | 20 mm | No
56 | 25 mm | No
57 | 40 mm | No
Flanged inline strainers
58 | 50 mm | No
59 | 80 mm | No
60 | 100 mm | No
61 | 150 mm | No
62 | 250 mm | No
Flanged Y strainers
63 | 50 mm | No
64 | 80 mm | No
65 | 100 mm | No
66 | 150 mm | No
67 | 250 mm | No
Threaded flange
68 | Threaded flange drilled to Table D, BS10 and screwed 50 mm. | No
CONSUMER CIRCULAR VALVE BOXES (Specification C.7)
69 | Consumer valve box with 19 mm ball valve | No
70 | Consumer valve box with 28 mm ball valve | No
CONSUMER RECTANGULAR COVER BOX WITH FLAP (Specification C.8)
71 | Rectangular cover box with flap | No
MAG FLOW METERS (Specification C.9)
Pressure Class 16 with built in readout unit
72 | 100 mm. | No
Supply full specifications …...................
73 | 150 mm. | No
Supply full specifications …...................
74 | 200 mm. | No
Supply full specifications …...................
75 | 250 mm. | No
Supply full specifications …...................
76 | 300 mm. | No
Supply full specifications …...................
77 | 350 mm. | No
Supply full specifications …...................
78 | 400 mm. | No
Supply full specifications …...................
Pressure Class 24 with built in readout unit
79 | 100 mm. | No
Supply full specifications …...................
80 | 150 mm. | No
Supply full specifications …...................
81 | 200 mm. | No
Supply full specifications …...................
82 | 250 mm. | No
Supply full specifications …...................
83 | 300 mm. | No
Supply full specifications …...................
84 | 350 mm. | No
Supply full specifications …...................
85 | 400 mm. | No
Supply full specifications …...................
Pressure Class 16 with remote readout unit
86 | 100 mm. | No
Supply full specifications …...................
87 | 150 mm. | No
Supply full specifications …...................
88 | 200 mm. | No
Supply full specifications …...................
89 | 250 mm. | No
Supply full specifications …...................
90 | 300 mm. | No
Supply full specifications …...................
91 | 350 mm. | No
Supply full specifications …...................
92 | 400 mm. | No
Supply full specifications …...................
Pressure Class 24 with remote readout unit
93 | 100 mm. | No
Supply full specifications …...................
94 | 150 mm. | No
Supply full specifications …...................
95 | 200 mm. | No
Supply full specifications …...................
96 | 250 mm. | No
Supply full specifications …...................
97 | 300 mm. | No
Supply full specifications …...................
98 | 350 mm. | No
Supply full specifications …...................
99 | 400 mm. | No
Supply full specifications …...................
BULK WATER METER CHAMBER FITTINGS (Specification C.10)
STRAIGHT PIPE FLANGED BOTH ENDS
Stainless Steel Grade 304
250 mm long
100 | 50 mm diameter | No
101 | 80 mm diameter | No
102 | 100 mm diameter | No
103 | 150 mm diameter | No
500 mm long
104 | 50 mm diameter | No
105 | 80 mm diameter | No
106 | 100 mm diameter | No
107 | 150 mm diameter | No
750 mm long
108 | 50 mm diameter | No
109 | 80 mm diameter | No
110 | 100 mm diameter | No
111 | 150 mm diameter | No
1000 mm long
112 | 50 mm diameter | No
113 | 80 mm diameter | No
114 | 100 mm diameter | No
115 | 150 mm diameter | No
STRAIGHT PIPE FLANGED BOTH ENDS
Galvanised steel with Carboline coating
250 mm long
116 | 50 mm diameter | No
117 | 80 mm diameter | No
118 | 100 mm diameter | No
119 | 150 mm diameter | No
500 mm long
120 | 50 mm diameter | No
121 | 80 mm diameter | No
122 | 100 mm diameter | No
123 | 150 mm diameter | No
750 mm long
124 | 50 mm diameter | No
125 | 80 mm diameter | No
126 | 100 mm diameter | No
127 | 150 mm diameter | No
1000 mm long
128 | 50 mm diameter | No
129 | 80 mm diameter | No
130 | 100 mm diameter | No
131 | 150 mm diameter | No
90 DEGREE BEND FLANGED BOTH ENDS
Stainless Steel Grade 304
132 | 50 mm diameter | No
133 | 80 mm diameter | No
134 | 100 mm diameter | No
135 | 150 mm diameter | No
Galvanised steel with Carboline coating
136 | 50 mm diameter | No
137 | 80 mm diameter | No
138 | 100 mm diameter | No
139 | 150 mm diameter | No
REDUCER FLANGED BOTH ENDS
Stainless Steel Grade 304
140 | 100 mm dia to 80 mm dia | No
141 | 150 mm dia to 100 mm dia | No
142 | 200 mm dia to 150 mm dia | No
Galvanised steel with Carboline coating
143 | 100 mm dia to 80 mm dia | No
144 | 150 mm dia to 100 mm dia | No
145 | 200 mm dia to 150 mm dia | No
PUDDLE FLANGE, FLANGED BOTH ENDS
(290 + 260 = 550 long)
Stainless Steel Grade 304
146 | 50 mm diameter | No
147 | 80 mm diameter | No
148 | 100 mm diameter | No
149 | 150 mm diameter | No
Galvanised Steel with Carboline coating
150 | 50 mm diameter | No
151 | 80 mm diameter | No
152 | 100 mm diameter | No
153 | 150 mm diameter | No
SPOOL PIECE, FLANGED ONE END (450 LONG)
Stainless Steel Grade 304
154 | 50 mm diameter | No
155 | 80 mm diameter | No
156 | 100 mm diameter | No
157 | 150 mm diameter | No
Galvanised Steel with Carboline coating
158 | 50 mm diameter | No
159 | 80 mm diameter | No
160 | 100 mm diameter | No
161 | 150 mm diameter | No
FLANGE ADAPTORS
(Thomas Ranger or similar approved)
to suit steel pipe
162 | 50 mm diameter | No
163 | 80 mm diameter | No
164 | 100 mm diameter | No
165 | 150 mm diameter | No
to suit PVC pipe
166 | 50 mm diameter | No
167 | 80 mm diameter | No
168 | 100 mm diameter | No
169 | 150 mm diameter | No
170 | 200 mm diameter | No
to suit FC pipe
171 | 50 mm diameter | No
172 | 100 mm diameter | No
173 | 150 mm diameter | No
174 | 200 mm diameter | No
FLANGE GASKETS
Full face 3 mm rubber insertion flange gasket for Table D BS 10 holes
175 | 40 mm | No
176 | 50 mm | No
177 | 80 mm | No
178 | 100 mm | No
179 | 150 mm | No
180 | 200 mm | No
181 | 250 mm | No
STEEL BULK METER PROTECTIVE COVER
182 | 40 mm | No
183 | 50 mm | No
184 | 80 mm | No
185 | 100 mm | No
186 | 150 mm | No
187 | 200 mm | No
188 | 250 mm | No
RESIDENTIAL/DOMESTIC WATER MANAGEMENT DEVICE (Specification C.11)
189 | Water Management Device | No