## Sheet1
ITEM | DESCRIPTION | UNIT | MAKE, TYPE, MODEL & OTHER DETAILS | RATE (VAT Incl.)
HDPE PIPING (Specification C.1)
HDPE PIPING IN 6 METRE LENGTHS
HDPE PIPING PE 100 PN 16
1 | 20 mm Nominal external pipe dia | 6 m
2 | 25 mm Nominal external pipe dia | 6 m
3 | 32 mm Nominal external pipe dia | 6 m
4 | 40 mm Nominal external pipe dia | 6 m
5 | 50 mm Nominal external pipe dia | 6 m
6 | 63 mm Nominal external pipe dia | 6 m
HDPE PIPING PE 100 PN 12
7 | 20 mm Nominal external pipe dia | 6 m
8 | 25 mm Nominal external pipe dia | 6 m
9 | 32 mm Nominal external pipe dia | 6 m
10 | 40 mm Nominal external pipe dia | 6 m
11 | 50 mm Nominal external pipe dia | 6 m
12 | 63 mm Nominal external pipe dia | 6 m
HDPE PIPING PE 100 PN 10
13 | 20 mm Nominal external pipe dia | 6 m
14 | 25 mm Nominal external pipe dia | 6 m
15 | 32 mm Nominal external pipe dia | 6 m
16 | 40 mm Nominal external pipe dia | 6 m
17 | 50 mm Nominal external pipe dia | 6 m
18 | 63 mm Nominal external pipe dia | 6 m
HDPE PIPING IN 100 METRE ROLLS
HDPE PIPING PE 100 PN 16
19 | 20 mm Nominal external pipe dia | 100 m
20 | 25 mm Nominal external pipe dia | 100 m
21 | 32 mm Nominal external pipe dia | 100 m
22 | 40 mm Nominal external pipe dia | 100 m
23 | 50 mm Nominal external pipe dia | 100 m
24 | 63 mm Nominal external pipe dia | 100 m
HDPE PIPING PE 100 PN 12
25 | 20 mm Nominal external pipe dia | 100 m
26 | 25 mm Nominal external pipe dia | 100 m
27 | 32 mm Nominal external pipe dia | 100 m
28 | 40 mm Nominal external pipe dia | 100 m
29 | 50 mm Nominal external pipe dia | 100 m
30 | 63 mm Nominal external pipe dia | 100 m
HDPE PIPING PE 100 PN 10
31 | 20 mm Nominal external pipe dia | 100 m
32 | 25 mm Nominal external pipe dia | 100 m
33 | 32 mm Nominal external pipe dia | 100 m
34 | 40 mm Nominal external pipe dia | 100 m
35 | 50 mm Nominal external pipe dia | 100 m
36 | 63 mm Nominal external pipe dia | 100 m
HDPE COMPRESSION FITTINGS
(Specification C.2)
STRAIGHT CONNECTORS - PE x PE
37 | 20 mm " | No.
38 | 25 mm " | No.
39 | 32 mm " | No.
40 | 40 mm " | No.
41 | 50 mm " | No.
42 | 63 mm " | No.
43 | 75 mm " | No.
44 | 90 mm " | No.
45 | 110 mm " | No.
46 | 160 mm Nominal External pipe dia | No.
ADAPTORS
ADAPTORS - PE x MALE IRON
47 | 20 mm x ½" | No.
48 | 20 mm x ¾" | No.
49 | 25 mm x ¾" | No.
50 | 32 mm x 1" | No.
51 | 50 mm x 1½" | No.
52 | 63 mm x 2" | No.
53 | 75 mm x 2" BSPT | No.
90° TEES
EQUAL TEE - PE x PE x PE
54 | 20 mm x 20 mm x 20 mm | No.
55 | 25 mm x 25 mm x 25 mm | No.
56 | 32 mm x 32 mm x 32 mm | No.
57 | 50 mm x 50 mm x 50 mm | No.
58 | 63 mm x 63 mm x 63 mm | No.
UNEQUAL TEE - PE x FEMALE IRON x PE
59 | 20 mm x ½" x 20 mm | No.
60 | 25 mm x ¾" x 25 mm | No.
61 | 32 mm x ¾" x 32 mm | No.
62 | 32 mm x 1" x 32 mm | No.
63 | 50 mm x 1½" x 50 mm | No.
64 | 63 mm x 1½" x 63 mm | No.
65 | 63 mm x 2" x 63 mm | No.
END CAPS
66 | 16 mm | No.
67 | 20 mm | No.
68 | 25 mm | No.
69 | 32 mm | No.
70 | 40 mm | No.
71 | 50 mm | No.
72 | 63 mm | No.
HDPE ELECTROFUSION FITTINGS
(Specification C.2)
END CAPS
73 | 20 mm | No.
74 | 25 mm | No.
75 | 32 mm | No.
76 | 40 mm | No.
77 | 50 mm | No.
78 | 63 mm | No.
STRAIGHT COUPLERS
79 | 20 mm | No.
80 | 25 mm | No.
81 | 32 mm | No.
82 | 40 mm | No.
83 | 50 mm | No.
84 | 63 mm | No.
UPVC WATER PIPES (Specification C.3)
UPVC Class 12 in 6 metre lengths
85 | 16 mm diameter | 6 m
86 | 20 mm diameter | 6 m
87 | 25 mm diameter | 6 m
88 | 32 mm diameter | 6 m
89 | 40 mm diameter | 6 m
90 | 50 mm diameter | 6 m
UPVC Class 16 in 6 metre lengths
91 | 16 mm diameter | 6 m
92 | 20 mm diameter | 6 m
93 | 25 mm diameter | 6 m
94 | 32 mm diameter | 6 m
95 | 40 mm diameter | 6 m
96 | 50 mm diameter | 6 m
UPVC SOLVENT WELD FITTINGS (Specification C.4)
UPVC CLASS 16 FITTINGS
90° Elbow
97 | 16 mm diameter | No.
98 | 20 mm diameter | No.
99 | 25 mm diameter | No.
100 | 32 mm diameter | No.
101 | 40 mm diameter | No.
102 | 50 mm diameter | No.
45° Elbow
103 | 16 mm diameter | No.
104 | 20 mm diameter | No.
105 | 25 mm diameter | No.
106 | 32 mm diameter | No.
107 | 40 mm diameter | No.
108 | 50 mm diameter | No.
Equal Tee
109 | 16 mm diameter | No.
110 | 20 mm diameter | No.
111 | 25 mm diameter | No.
112 | 32 mm diameter | No.
113 | 40 mm diameter | No.
114 | 50 mm diameter | No.
Unequal Tee
115 | 25 mm x 20 mm diameter | No.
116 | 32 mm x 20 mm diameter | No.
117 | 32 mm x 25 mm diameter | No.
118 | 40 mm x 20 mm diameter | No.
119 | 40 mm x 25 mm diameter | No.
120 | 40 mm x 32 mm diameter | No.
121 | 50 mm x 20 mm diameter | No.
122 | 50 mm x 25 mm diameter | No.
123 | 50 mm x 32 mm diameter | No.
124 | 50 mm x 40 mm diameter | No.
Socket
125 | 16 mm diameter | No.
126 | 20 mm diameter | No.
127 | 25 mm diameter | No.
128 | 32 mm diameter | No.
129 | 40 mm diameter | No.
130 | 50 mm diameter | No.
Reducing Socket
131 | 25 mm x 20 mm diameter | No.
132 | 32 mm x 25 mm diameter | No.
133 | 40 mm x 32 mm diameter | No.
134 | 50 mm x 40 mm diameter | No.
Caps
135 | 16 mm diameter | No.
136 | 20 mm diameter | No.
137 | 25 mm diameter | No.
138 | 32 mm diameter | No.
139 | 40 mm diameter | No.
140 | 50 mm diameter | No.
Reducing Bush
141 | 25 mm x 20 mm diameter | No.
142 | 32 mm x 20 mm diameter | No.
143 | 32 mm x 25 mm diameter | No.
144 | 40 mm x 20 mm diameter | No.
145 | 40 mm x 25 mm diameter | No.
146 | 40 mm x 32 mm diameter | No.
147 | 50 mm x 20 mm diameter | No.
148 | 50 mm x 25 mm diameter | No.
149 | 50 mm x 32 mm diameter | No.
150 | 50 mm x 40 mm diameter | No.
Union with O-Ring
151 | 16 mm diameter | No.
152 | 20 mm diameter | No.
153 | 25 mm diameter | No.
154 | 32 mm diameter | No.
155 | 40 mm diameter | No.
156 | 50 mm diameter | No.
Stub
157 | 25 mm diameter | No.
158 | 32 mm diameter | No.
159 | 40 mm diameter | No.
160 | 50 mm diameter | No.
Loose Flange
161 | 25 mm diameter | No.
162 | 32 mm diameter | No.
163 | 40 mm diameter | No.
164 | 50 mm diameter | No.
Long Radius Bend
165 | 16 mm diameter | No.
166 | 20 mm diameter | No.
167 | 25 mm diameter | No.
168 | 32 mm diameter | No.
169 | 40 mm diameter | No.
170 | 50 mm diameter | No.
Adaptor with Female Thread
171 | 20 mm x ½" diameter | No.
172 | 25 mm x ¾" diameter | No.
173 | 32 mm x 1" diameter | No.
174 | 40 mm x 1¼" diameter | No.
175 | 50 mm x 1½" diameter | No.
Adaptor with Male Thread
176 | 20 mm x ½" diameter | No.
177 | 25 mm x ½" diameter | No.
178 | 25 mm x ¾" diameter | No.
179 | 32 mm x ¾" diameter | No.
180 | 32 mm x 1" diameter | No.
181 | 40 mm x 1" diameter | No.
182 | 40 mm x 1¼" diameter | No.
183 | 50 mm x 1¼" diameter | No.
184 | 50 mm x 1½" diameter | No.
SADDLE STRAPS
DUCTILE IRON SADDLE STRAPS FOR FC PIPES (Specification C.5)
for COD FC Pipes Drilled
for COD FC Pipes Drilled 22 mm
185 | 50 mm Nominal pipe dia | No.
186 | 75 mm Nominal pipe dia | No.
187 | 100 mm Nominal pipe dia | No.
188 | 150 mm Nominal pipe dia | No.
189 | 200 mm Nominal pipe dia | No.
190 | 250 mm Nominal pipe dia | No.
191 | 300 mm Nominal pipe dia | No.
192 | 350 mm Nominal pipe dia | No.
193 | 400 mm Nominal pipe dia | No.
194 | 450 mm Nominal pipe dia | No.
for COD FC Pipes Drilled 25 mm
195 | 50 mm Nominal pipe dia | No.
196 | 75 mm Nominal pipe dia | No.
197 | 100 mm Nominal pipe dia | No.
198 | 150 mm Nominal pipe dia | No.
199 | 200 mm Nominal pipe dia | No.
200 | 250 mm Nominal pipe dia | No.
201 | 300 mm Nominal pipe dia | No.
202 | 350 mm Nominal pipe dia | No.
203 | 400 mm Nominal pipe dia | No.
204 | 450 mm Nominal pipe dia | No.
for COD FC Pipes Drilled 50 mm
205 | 100 mm Nominal pipe dia | No.
206 | 150 mm Nominal pipe dia | No.
207 | 200 mm Nominal pipe dia | No.
208 | 250 mm Nominal pipe dia | No.
209 | 300 mm Nominal pipe dia | No.
210 | 350 mm Nominal pipe dia | No.
211 | 400 mm Nominal pipe dia | No.
212 | 450 mm Nominal pipe dia | No.
for Class 12 CID FC Pipes Drilled
for Class 12 CID FC Pipes Drilled 20 mm
213 | 200 mm Nominal pipe dia | No.
214 | 250 mm Nominal pipe dia | No.
215 | 300 mm Nominal pipe dia | No.
216 | 350 mm Nominal pipe dia | No.
217 | 400 mm Nominal pipe dia | No.
218 | 450 mm Nominal pipe dia | No.
for Class 12 CID FC Pipes Drilled 25 mm
219 | 200 mm Nominal pipe dia | No.
220 | 250 mm Nominal pipe dia | No.
221 | 300 mm Nominal pipe dia | No.
222 | 350 mm Nominal pipe dia | No.
223 | 400 mm Nominal pipe dia | No.
224 | 450 mm Nominal pipe dia | No.
for Class 12 CID FC Pipes Drilled 50 mm
225 | 200 mm Nominal pipe dia | No.
226 | 250 mm Nominal pipe dia | No.
227 | 300 mm Nominal pipe dia | No.
228 | 350 mm Nominal pipe dia | No.
229 | 400 mm Nominal pipe dia | No.
230 | 450 mm Nominal pipe dia | No.
for Class 18 CID FC Pipes Drilled
for Class 18 CID FC Pipes Drilled 20 mm
231 | 200 mm Nominal pipe dia | No.
232 | 250 mm Nominal pipe dia | No.
233 | 300 mm Nominal pipe dia | No.
234 | 350 mm Nominal pipe dia | No.
235 | 400 mm Nominal pipe dia | No.
236 | 450 mm Nominal pipe dia | No.
for Class 18 CID FC Pipes Drilled 25 mm
237 | 200 mm Nominal pipe dia | No.
238 | 250 mm Nominal pipe dia | No.
239 | 300 mm Nominal pipe dia | No.
240 | 350 mm Nominal pipe dia | No.
241 | 400 mm Nominal pipe dia | No.
242 | 450 mm Nominal pipe dia | No.
for Class 18 CID FC Pipes Drilled 50 mm
243 | 200 mm Nominal pipe dia | No.
244 | 250 mm Nominal pipe dia | No.
245 | 300 mm Nominal pipe dia | No.
246 | 350 mm Nominal pipe dia | No.
247 | 400 mm Nominal pipe dia | No.
248 | 450 mm Nominal pipe dia | No.
for Class 24 CID FC Pipes Drilled
for Class 24 CID FC Pipes Drilled 20 mm
249 | 200 mm Nominal pipe dia | No.
250 | 250 mm Nominal pipe dia | No.
251 | 300 mm Nominal pipe dia | No.
252 | 350 mm Nominal pipe dia | No.
253 | 400 mm Nominal pipe dia | No.
254 | 450 mm Nominal pipe dia | No.
for Class 24 CID FC Pipes Drilled 25 mm
255 | 200 mm Nominal pipe dia | No.
256 | 250 mm Nominal pipe dia | No.
257 | 300 mm Nominal pipe dia | No.
258 | 350 mm Nominal pipe dia | No.
259 | 400 mm Nominal pipe dia | No.
260 | 450 mm Nominal pipe dia | No.
for Class 24 CID FC Pipes Drilled 50 mm
261 | 200 mm Nominal pipe dia | No.
262 | 250 mm Nominal pipe dia | No.
263 | 300 mm Nominal pipe dia | No.
264 | 350 mm Nominal pipe dia | No.
265 | 400 mm Nominal pipe dia | No.
266 | 450 mm Nominal pipe dia | No.
DUCTILE IRON SADDLE STRAPS FOR
FC PIPES (UNDRILLED)
for COD FC Pipes Not Drilled
267 | 50 mm Nominal pipe dia | No.
268 | 75 mm Nominal pipe dia | No.
269 | 100 mm Nominal pipe dia | No.
270 | 150 mm Nominal pipe dia | No.
271 | 200 mm Nominal pipe dia | No.
272 | 250 mm Nominal pipe dia | No.
273 | 300 mm Nominal pipe dia | No.
274 | 350 mm Nominal pipe dia | No.
275 | 400 mm Nominal pipe dia | No.
276 | 450 mm Nominal pipe dia | No.
for Class 12 CID FC Pipes Not Drilled
277 | 200 mm Nominal pipe dia | No.
278 | 250 mm Nominal pipe dia | No.
279 | 300 mm Nominal pipe dia | No.
280 | 350 mm Nominal pipe dia | No.
281 | 400 mm Nominal pipe dia | No.
282 | 450 mm Nominal pipe dia | No.
for Class 18 CID FC Pipes Not Drilled
283 | 200 mm Nominal pipe dia | No.
284 | 250 mm Nominal pipe dia | No.
285 | 300 mm Nominal pipe dia | No.
286 | 350 mm Nominal pipe dia | No.
287 | 400 mm Nominal pipe dia | No.
288 | 450 mm Nominal pipe dia | No.
for Class 24 CID FC Pipes Not Drilled
289 | 200 mm Nominal pipe dia | No.
290 | 250 mm Nominal pipe dia | No.
291 | 300 mm Nominal pipe dia | No.
292 | 350 mm Nominal pipe dia | No.
293 | 400 mm Nominal pipe dia | No.
294 | 450 mm Nominal pipe dia | No.
POLYPROPYLENE SADDLES FOR PVC/HDPE PIPES (DRILLED) (Specification C.6)
for PVC/HDPE Pipes Drilled 20 mm
295 | 50 mm | No.
296 | 63 mm | No.
297 | 75 mm | No.
298 | 90 mm | No.
299 | 110 mm | No.
300 | 160 mm | No.
301 | 200 mm | No.
302 | 250 mm | No.
303 | 315 mm | No.
304 | 355 mm | No.
for PVC/HDPE Pipes Drilled 25 mm
305 | 50 mm | No.
306 | 63 mm | No.
307 | 75 mm | No.
308 | 90 mm | No.
309 | 110 mm | No.
310 | 160 mm | No.
311 | 200 mm | No.
312 | 250 mm | No.
313 | 315 mm | No.
314 | 355 mm | No.
for PVC/HDPE Pipes Drilled 50 mm
315 | 75 mm | No.
316 | 90 mm | No.
317 | 110 mm | No.
318 | 160 mm | No.
319 | 200 mm | No.
320 | 250 mm | No.
321 | 315 mm | No.
322 | 355 mm | No.
COPPER PIPING (Specification C.7)
COPPER PIPING CLASS 3
323 | 15 mm Nominal pipe dia | metre
324 | 22 mm Nominal pipe dia | metre
325 | 28 mm Nominal pipe dia | metre
326 | 42 mm Nominal pipe dia | metre
327 | 54 mm Nominal pipe dia | metre
COPPER PIPING CLASS 2
328 | 15 mm Nominal pipe dia | metre
329 | 22 mm Nominal pipe dia | metre
330 | 28 mm Nominal pipe dia | metre
331 | 42 mm Nominal pipe dia | metre
332 | 54 mm Nominal pipe dia | metre
BRASS COMPRESSION FITTINGS FOR COPPER PIPES (Specification C.8)
Tees Equal - Copper
333 | 15 mm | No.
334 | 22 mm | No.
335 | 28 mm | No.
336 | 35 mm | No.
337 | 42 mm | No.
338 | 54 mm | No.
Tees Unequal - Copper
339 | 22 mm x 15 mm | No.
340 | 28 mm x 22 mm | No.
341 | 42 mm x 28 mm | No.
342 | 54 mm x 42 mm | No.
Elbows 90 deg - Copper to Copper
343 | 15 mm | No.
344 | 22 mm | No.
345 | 28 mm | No.
346 | 35 mm | No.
347 | 42 mm | No.
348 | 54 mm | No.
Elbows 90 deg - Copper to Male Iron
349 | 15 mm x ½" | No.
350 | 22 mm x ¾" | No.
351 | 28 mm x 1" | No.
352 | 35 mm x 1¼" | No.
353 | 42 mm x 1½" | No.
354 | 54 mm x 2" | No.
Elbows 90 deg - Copper to Female Iron
355 | 15 mm x ½" | No.
356 | 22 mm x ¾" | No.
357 | 28 mm x 1" | No.
358 | 35 mm x 1¼" | No.
359 | 42 mm x 1½" | No.
360 | 54 mm x 2" | No.
Straight Connectors - Copper to Copper
361 | 15 mm | No.
362 | 22 mm | No.
363 | 28 mm | No.
364 | 35 mm | No.
365 | 42 mm | No.
366 | 54 mm | No.
Straight Connectors - Copper to Male Iron
367 | 15 mm x ½" | No.
368 | 22 mm x ¾" | No.
369 | 28 mm x 1" | No.
370 | 35 mm x 1¼" | No.
371 | 42 mm x 1½" | No.
372 | 54 mm x 2" | No.
Straight Connectors - Copper to Female
373 | 15 mm x ½" | No.
374 | 22 mm x ¾" | No.
375 | 28 mm x 1" | No.
376 | 35 mm x 1¼" | No.
377 | 42 mm x 1½" | No .
378 | 54 mm x 2" | No.
Reducing Straight Connector - Cu to Cu
379 | 22 x 15 mm | No.
380 | 28 x 22 mm | No.
381 | 42 x 28 mm | No.
382 | 54 x 42 mm | No.
Reducing Straight Connector - Cu to Male
383 | ¾" x 15 mm | No.
384 | 1" x 22 mm | No.
Reducing Elbow 90 deg - Cu to Cu
385 | 22 mm x 15 mm | No.
Stop end
386 | 15 mm | No.
387 | 22 mm | No.
388 | 28 mm | No.
Brass Barrel Nipples (Screw in - type)
389 | 15 mm x ………. mm long | No.
390 | 22 mm x ………. mm long | No.
391 | 28 mm x ………. mm long | No.
392 | 42 mm x ………. mm long | No.
393 | 54 mm x ………. mm long | No.
POLYCOP PIPING (Specification C.9)
POLYCOP PIPING PN 16
POLYCOP PIPING IN 6 METRE LENGTHS
394 | 15 mm diameter | 6 m
395 | 22 mm diameter | 6 m
396 | 28 mm diameter | 6 m
397 | 35 mm diameter | 6 m
398 | 42 mm diameter | 6 m
399 | 54 mm diameter | 6 m
POLYCOP PIPING IN 100 METRE ROLLS
400 | 15 mm diameter | 100 m
401 | 22 mm diameter | 100 m
402 | 28 mm diameter | 100 m
403 | 35 mm diameter | 100 m
404 | 42 mm diameter | 100 m
405 | 54 mm diameter | 100 m
PLASTIC PUSH-FIT COMPRESSION FITTINGS (Specification C.10)
Straight Couplers
406 | C x C 15 mm | No.
407 | C x C 22 mm | No.
408 | C x C Reducing 15 mm x 22 mm | No.
409 | C x M 15 mm x ½" | No.
410 | C x M 22 mm x ¾” | No.
411 | C x M Reducing 15 mm x ¾” | No.
412 | C x F 15 mm x ½" | No.
413 | C x F 22 mm x ¾” | No.
414 | C x F Reducing 15 mm x ¾” | No.
Elbows
415 | C x C 15 mm | No.
416 | C x C 22 mm | No.
417 | C x C Reducing 22 mm x 15 mm | No.
418 | C x M 15 mm x ½" | No.
419 | C x M 22 mm x ¾” | No.
420 | C x M Reducing 15 mm x ¾” | No.
421 | C x F 15 mm x ½" | No.
422 | C x F 22 mm x ¾” | No.
423 | C x F Reducing 15 mm x ¾” | No.
Tees
424 | Equal C x C x C 15 x 15 x 15 mm | No.
425 | Equal C x C x C 22 x 22 x 22 mm | No.
426 | Centre Reducing | No.
C x C x C 22 x 22 x 15 mm
427 | End Reduced C x C x C | No.
22 x 15 x 22 mm
428 | Centre Enlarged C x C x C | No.
15 x 15 x 22 mm
429 | Centre Tee Female Iron C x C x F | No.
15 x 15 mm x ½"
430 | Centre Tee Female Iron C x C x F | No.
22 x 22 mm x ¾”
Other
431 | Stop End Standard 15 mm | No.
432 | Stop End Standard 22 mm | No.
433 | Wall Plate Elbow C x F 15 mm x ½" | No.
434 | Wall Plate Elbow C x F 22 mm x ¾” | No.
435 | Nut 22 mm | No.
436 | Nut 15 mm | No.
437 | 15 mm EPDM Compression O-Ring | No.
438 | 22 mm EPDM Compression O-Ring | No.
439 | 15 mm Washer for Female Fittings | No.
440 | 22 mm Washer for Female Fittings | No.
441 | 15 mm Nylon Grip Ring | No.
442 | 22 mm Nylon Grip Ring | No.
443 | 15 mm Nylon Spacer | No.
444 | 22 mm Nylon Spacer | No.
Plastic Garden Taps and Stopcocks
(Specification C.11)
445 | 15 mm Pro-Close Garden Tap | No.
446 | 22 mm Pro-Close Garden Tap | No.
447 | 15 mm Pro-Close Stopcock C x C | No.
448 | 22 mm Pro-Close Stopcock C x C | No.
449 | 15 mm Standpipe Set (Pro-Close 15 mm Garden Tap, Wall Plate Elbow, 1 m standpipe) | No.
GALVANISED IRON STANDPIPES (Specification C.12)
15 mm GALVANISED IRON STANDPIPES
450 | Galvanised 15 x 150 mm - Standpipe | No.
451 | Galvanised 15 x 200 mm - Standpipe | No.
452 | Galvanised 15 x 300 mm - Standpipe | No.
453 | Galvanised 15 x 400 mm - Standpipe | No.
454 | Galvanised 15 x 450 mm - Standpipe | No.
455 | Galvanised 15 x 500 mm - Standpipe | No.
456 | Galvanised 15 x 600 mm - Standpipe | No.
457 | Galvanised 15 x 750 mm - Standpipe | No.
458 | Galvanised 15 x 900 mm - Standpipe | No.
459 | Galvanised 15 x 1000 mm - Standpipe | No.
20 mm GALVANISED IRON STANDPIPES
460 | Galvanised 20 x 150 mm - Standpipe | No.
461 | Galvanised 20 x 200 mm - Standpipe | No.
462 | Galvanised 20 x 300 mm - Standpipe | No.
463 | Galvanised 20 x 400 mm - Standpipe | No.
464 | Galvanised 20 x 450 mm - Standpipe | No.
465 | Galvanised 20 x 500 mm - Standpipe | No.
466 | Galvanised 20 x 600 mm - Standpipe | No.
467 | Galvanised 20 x 750 mm - Standpipe | No.
468 | Galvanised 20 x 900 mm - Standpipe | No.
469 | Galvanised 20 x 1000 mm - Standpipe | No.
25 mm GALVANISED IRON STANDPIPES
470 | Galvanised 25 x 150 mm - Standpipe | No.
471 | Galvanised 25 x 200 mm - Standpipe | No.
472 | Galvanised 25 x 300 mm - Standpipe | No.
473 | Galvanised 25 x 400 mm - Standpipe | No.
474 | Galvanised 25 x 450 mm - Standpipe | No.
475 | Galvanised 25 x 500 mm - Standpipe | No.
476 | Galvanised 25 x 600 mm - Standpipe | No.
477 | Galvanised 25 x 750 mm - Standpipe | No.
478 | Galvanised 25 x 900 mm - Standpipe | No.
479 | Galvanised 25 x 1000 mm - Standpipe | No.
32 mm GALVANISED IRON STANDPIPES
480 | Galvanised 32 x 150 mm - Standpipe | No.
481 | Galvanised 32 x 200 mm - Standpipe | No.
482 | Galvanised 32 x 300 mm - Standpipe | No.
483 | Galvanised 32 x 400 mm - Standpipe | No.
484 | Galvanised 32 x 450 mm - Standpipe | No.
485 | Galvanised 32 x 500 mm - Standpipe | No.
486 | Galvanised 32 x 600 mm - Standpipe | No.
487 | Galvanised 32 x 750 mm - Standpipe | No.
488 | Galvanised 32 x 900 mm - Standpipe | No.
489 | Galvanised 32 x 1000 mm - Standpipe | No.
40 mm GALVANISED IRON STANDPIPES
490 | Galvanised 40 x 150 mm - Standpipe | No.
491 | Galvanised 40 x 200 mm - Standpipe | No.
492 | Galvanised 40 x 300 mm - Standpipe | No.
493 | Galvanised 40 x 400 mm - Standpipe | No.
494 | Galvanised 40 x 450 mm - Standpipe | No.
495 | Galvanised 40 x 500 mm - Standpipe | No.
496 | Galvanised 40 x 600 mm - Standpipe | No.
497 | Galvanised 40 x 750 mm - Standpipe | No.
498 | Galvanised 40 x 900 mm - Standpipe | No.
499 | Galvanised 40 x 1000 mm - Standpipe | No.
50 mm GALVANISED IRON STANDPIPES
500 | Galvanised 50 x 150 mm - Standpipe | No.
501 | Galvanised 50 x 200 mm - Standpipe | No.
502 | Galvanised 50 x 300 mm - Standpipe | No.
503 | Galvanised 50 x 400 mm - Standpipe | No.
504 | Galvanised 50 x 450 mm - Standpipe | No.
505 | Galvanised 50 x 500 mm - Standpipe | No.
506 | Galvanised 50 x 600 mm - Standpipe | No.
507 | Galvanised 50 x 750 mm - Standpipe | No.
508 | Galvanised 50 x 900 mm - Standpipe | No.
509 | Galvanised 50 x 1000 mm - Standpipe | No.
65 mm GALVANISED IRON STANDPIPES
510 | Galvanised 65 x 150 mm - Standpipe | No.
511 | Galvanised 65 x 200 mm - Standpipe | No.
512 | Galvanised 65 x 300 mm - Standpipe | No.
513 | Galvanised 65 x 400 mm - Standpipe | No.
514 | Galvanised 65 x 450 mm - Standpipe | No.
515 | Galvanised 65 x 500 mm - Standpipe | No.
516 | Galvanised 65 x 600 mm - Standpipe | No.
517 | Galvanised 65 x 750 mm - Standpipe | No.
518 | Galvanised 65 x 900 mm - Standpipe | No.
519 | Galvanised 65 x 1000 mm - Standpipe | No.
80 mm GALVANISED IRON STANDPIPES
520 | Galvanised 80 x 150 mm - Standpipe | No.
521 | Galvanised 80 x 200 mm - Standpipe | No.
522 | Galvanised 80 x 300 mm - Standpipe | No.
523 | Galvanised 80 x 400 mm - Standpipe | No.
524 | Galvanised 80 x 450 mm - Standpipe | No.
525 | Galvanised 80 x 500 mm - Standpipe | No.
526 | Galvanised 80 x 600 mm - Standpipe | No.
527 | Galvanised 80 x 750 mm - Standpipe | No.
528 | Galvanised 80 x 900 mm - Standpipe | No.
529 | Galvanised 80 x 1000 mm - Standpipe | No.
100 mm GALVANISED IRON STANDPIPES
530 | Galvanised 100 x 150 mm - Standpipe | No.
531 | Galvanised 100 x 200 mm - Standpipe | No.
532 | Galvanised 100 x 300 mm - Standpipe | No.
533 | Galvanised 100 x 400 mm - Standpipe | No.
534 | Galvanised 100 x 450 mm - Standpipe | No.
535 | Galvanised 100 x 500 mm - Standpipe | No.
536 | Galvanised 100 x 600 mm - Standpipe | No.
537 | Galvanised 100 x 750 mm - Standpipe | No.
538 | Galvanised 100 x 900 mm - Standpipe | No.
539 | Galvanised 100 x 1000 mm - Standpipe | No.
GALVANISED IRON FITTINGS
(Specification C.12)
GALVANISED IRON ELBOWS
540 | Galvanised 15 mm - Elbow 90 ° | No.
541 | Galvanised 20 mm - Elbow 90 ° | No.
542 | Galvanised 25 mm - Elbow 90 ° | No.
543 | Galvanised 32 mm - Elbow 90 ° | No.
544 | Galvanised 40 mm - Elbow 90 ° | No.
545 | Galvanised 50 mm - Elbow 90 ° | No.
546 | Galvanised 65 mm - Elbow 90 ° | No.
547 | Galvanised 80 mm - Elbow 90 ° | No.
GALVANISED IRON SOCKETS
548 | Galvanised 15 mm - Socket | No.
549 | Galvanised 20 mm - Socket | No.
550 | Galvanised 25 mm - Socket | No.
551 | Galvanised 32 mm - Socket | No.
552 | Galvanised 40 mm - Socket | No.
553 | Galvanised 50 mm - Socket | No.
554 | Galvanised 65 mm - Socket | No.
555 | Galvanised 80 mm - Socket | No.
GALVANISED IRON EQUAL TEES
556 | Galvanised 15 mm - Equal Tee | No.
557 | Galvanised 20 mm - Equal Tee | No.
558 | Galvanised 25 mm - Equal Tee | No.
559 | Galvanised 32 mm - Equal Tee | No.
560 | Galvanised 40 mm - Equal Tee | No.
561 | Galvanised 50 mm - Equal Tee | No.
562 | Galvanised 65 mm - Equal Tee | No.
563 | Galvanised 80 mm - Equal Tee | No.
GALVANISED IRON HEX BARREL NIPPLES
564 | Galvanised 15 mm - Barrel Nipple | No.
565 | Galvanised 20 mm - Barrel Nipple | No.
566 | Galvanised 25 mm - Barrel Nipple | No.
567 | Galvanised 32 mm - Barrel Nipple | No.
568 | Galvanised 40 mm - Barrel Nipple | No.
569 | Galvanised 50 mm - Barrel Nipple | No.
GALVANISED IRON REDUCING BUSHES
570 | Galvanised 20 x 15 mm - Reducing Bush MxF | No.
571 | Galvanised 25 x 15 mm - Reducing Bush MxF | No.
572 | Galvanised 25 x 20 mm - Reducing Bush MxF | No.
573 | Galvanised 32 x 15 mm - Reducing Bush MxF | No.
574 | Galvanised 32 x 20 mm - Reducing Bush MxF | No.
575 | Galvanised 32 x 25 mm - Reducing Bush MxF | No.
576 | Galvanised 40 x 15 mm - Reducing Bush MxF | No.
577 | Galvanised 40 x 20 mm - Reducing Bush MxF | No.
578 | Galvanised 40 x 25 mm - Reducing Bush MxF | No.
579 | Galvanised 40 x 32 mm - Reducing Bush MxF | No.
580 | Galvanised 50 x 15 mm - Reducing Bush MxF | No.
581 | Galvanised 50 x 20 mm - Reducing Bush MxF | No.
582 | Galvanised 50 x 25 mm - Reducing Bush MxF | No.
583 | Galvanised 50 x 32 mm - Reducing Bush MxF | No.
584 | Galvanised 50 x 40 mm - Reducing Bush MxF | No.
585 | Galvanised 65 x 50 mm - Reducing Bush MxF | No.
586 | Galvanised 100 x 50 mm - Reducing Bush MxF | No.
587 | Galvanised 100 x 65 mm - Reducing Bush MxF | No.
588 | Galvanised 100 x 80 mm - Reducing Bush MxF | No.
GALVANISED IRON ROUND END CAPS
589 | Galvanised 15 mm - Round Caps | No.
590 | Galvanised 20 mm - Round Caps | No.
591 | Galvanised 25 mm - Round Caps | No.
592 | Galvanised 32 mm - Round Caps | No.
593 | Galvanised 40 mm - Round Caps | No.
594 | Galvanised 50 mm - Round Caps | No.
595 | Galvanised 65 mm - Round Caps | No.
596 | Galvanised 80 mm - Round Caps | No.
597 | Galvanised 100 mm - Round Caps | No.
GALVANISED IRON HOLLOW PLUGS
598 | Galvanised 10 mm - Hollow Plugs | No.
599 | Galvanised 15 mm - Hollow Plugs | No.
600 | Galvanised 20 mm - Hollow Plugs | No.
601 | Galvanised 25 mm - Hollow Plugs | No.
602 | Galvanised 32 mm - Hollow Plugs | No.
603 | Galvanised 40 mm - Hollow Plugs | No.
604 | Galvanised 50 mm - Hollow Plugs | No.
605 | Galvanised 65 mm - Hollow Plugs | No.
606 | Galvanised 80 mm - Hollow Plugs | No.
607 | Galvanised 100 mm - Hollow Plugs | No.
GALVANISED IRON SOCKETS
608 | Galvanised 15 mm Socket | No.
609 | Galvanised 20 mm Socket | No.
610 | Galvanised 25 mm Socket | No.
611 | Galvanised 32 mm Socket | No.
612 | Galvanised 40 mm Socket | No.
613 | Galvanised 50 mm Socket | No.
614 | Galvanised 65 mm Socket | No.
615 | Galvanised 80 mm Socket | No.
616 | Galvanised 100 mm Socket | No.
MISCELLANEOUS
617 | Replacement London Round Outlet for AVK fire hydrant | No.
BRASS STOPCOCKS (Specification C.13)
618 | Stopcocks CTC 15 mm Cobra or Similar | No.
619 | Stopcocks CTC 22 mm Cobra or Similar | No.
620 | Stopcocks CTC 25 mm Cobra or Similar | No.
621 | Stopcocks CTC 32 mm Cobra or Similar | No.
622 | Stopcocks CTC 50 mm Cobra or Similar | No.
PLUMBERS TAPE
623 | Plumbers Tape 15 mm x 50 m | No.
624 | Plumbers Tape 25 mm x 50 m | No.
BRASS BIBCOCKS/HOSE TAPS WITH
HOSE UNION (Specification C.14)
625 | Tap Hose 15 mm | No.
626 | Tap Hose 22 mm | No.
627 | Tap Hose 25 mm | No.
BRASS REPAIR CLAMPS FOR COPPER PIPES (Specification C.15)
628 | 15 mm Repair Clamp | No.
629 | 22 mm Repair Clamp | No.
630 | 28 mm Repair Clamp | No.
631 | 42 mm Repair Clamp | No.
632 | 54 mm Repair Clamp | No.
BRASS BALL VALVES (Specification C.16)
Brass Ball Valve - Copper to Copper
633 | 15 mm | No.
634 | 20 mm | No.
635 | 25 mm | No.
636 | 32 mm | No.
637 | 40 mm | No.
638 | 50 mm | No.
Brass Ball Valve - Female to Female
639 | 15 mm | No.
640 | 20 mm | No.
641 | 25 mm | No.
642 | 32 mm | No.
643 | 40 mm | No.
644 | 50 mm | No.
PLASTIC BIBCOCKS
Plastic Hose Bibcocks with Hose Union (Male to Female) (Provide details)
645 | 15 mm | No.
646 | 22 mm | No.
647 | 28 mm | No.
PAINT
Quick drying spray paint 300 ml canisters
648 | Red | No.
649 | White | No.
650 | Fluorescent Pink | No.
651 | Fluorescent Green | No.
652 | Yellow | No.
653 | Blue | No.
SANITARY WARE
PVC CISTERN COMPLETE
654 | PVC Toilet Cistern complete with valve and float | No.
PVC CISTERN SPARE PARTS
655 | 12 mm side inlet valve, complete with | No.
267 mm valve arm and ball float
656 | 12 mm bottom inlet valve, Complete with | No.
267 mm valve arm and ball float
657 | Outlet valve, complete with side lever handle | No.
658 | 42 mm flush pipe couple with washers & nuts | No.
PVC TOILET COMPLETE WITH SEAT + COVER
659 | PVC Toilet complete with seat + cover | No.
TOILET SPARE PARTS
660 | PVC seat and cover | No.
661 | Toilet Pan Preformed Wax Seal Ring | No.
662 | 110 dia PVC Vent Horn Access Waste Bend | No.
PRECAST CONCRETE PANEL TOILET
(Specification C.20)
663 | Complete kit of precast concrete panels, floor, posts, roof, bolts, seals, including plastic door. | No.
664 | Optional extra for PVC toilet pedestal, complete with cistern and plumbing | No.
665 | Replacement door | No.
PRECAST CONCRETE ONE-PIECE TOILET
(Specification C.21)
666 | Complete precast concrete toilet including steel door | No.
667 | Optional extra for PVC toilet pedestal, complete with cistern and plumbing | No.
668 | Replacement door | No.
"FLUSHMASTER" TYPE FLUSH VALVES (Specification C.17)
669 | "Junior Flushmaster" type | No.
670 | "Standard Flushmaster" type | No.
OTHER
671 | Precast Concrete Gully Top with Grate | No.
At least 400 x 400 x 150 x 35 kg 35 MPa
672 | Precast Concrete Gully Grate only 35 MPa | No.
673 | LLDPE Hand Wash Basin at least 570 x 400 x 245 x 2.2 kg with moulded-in soap holder and galvanised wall mounting bracket. | No.
674 | Precast Concrete Laundry Wash Trough | No.
at least 45 MPa concrete, 80 kg, 60 litres capacity, 600 mm long, 470 mm wide at top, 320 wide at bottom, 360 mm deep.
UPVC SEWER/DRAIN FITTINGS (Specification C.18)
675 | UPVC Gully Head with Grate | No.
150 mm dia Grate & 110 mm dia Outlet
676 | UPVC Gully - 150 mm dia Grate only | No.
677 | UPVC 110 mm dia Y Junction (45°) | No.
678 | UPVC 160 mm dia Y Junction ((45°) | No.
679 | UPVC 110 mm dia Long Radius Bend | No.
680 | UPVC 160 mm dia Long Radius Bend | No.
681 | UPVC 45° Rodding Eyes 110 mm diameter
682 | Rodding Eye with Cap - Round | No.
683 | Rodding Eye with Cap - Oval | No.
684 | 110 mm dia Rodding Eye complete | No.
with 100 x 100 Y Junction, 45° Bend, 1 m pipe and Round Rodding Eye with Cap
685 | 110 mm dia PVC Pipe Repair Coupling | No.
686 | 160 mm dia PVC Pipe Repair Coupling | No.
UPVC WASTE PIPES AND FITTINGS (Specification C.19)
Plain Ended Straight Pipe 6 m long
2.2 mm wall thickness
687 | 40 mm dia | No.
688 | 50 mm dia | No.
3.2 mm wall thickness
689 | 40 mm dia | No.
690 | 50 mm dia | No.
Socketed UPVC Fittings
Bends 87.5° (No Access)
691 | 40 mm dia | No.
692 | 50 mm dia | No.
Bends 45° (No Access)
693 | 40 mm dia | No.
694 | 50 mm dia | No.
Accessories
695 | Pressure Solvent Cement (500 ml) | No.
696 | Non-Pressure Solvent Cement (500 ml) | No.
697 | General Purpose Lubricant (200 ml) | No.