## Sheet1
Item | Description | Unit | Make, type, model and other details | Rate (VAT incl)
A. WATER PIPES AND FITTINGS
UPVC WATER PIPES
complete with socket and rubber seal
(Specification C.1)
UPVC Class 12 in 6 m lengths
A.1 | 75 mm diameter | 6 m
A.2 | 90 mm | 6 m
A.3 | 110 mm | 6 m
A.4 | 160 mm | 6 m
A.5 | 200 mm | 6 m
A.6 | 250 mm | 6 m
A.7 | 315 mm | 6 m
A.8 | 355 mm | 6 m
A.9 | 400 mm | 6 m
A.10 | 450 mm | 6 m
A.11 | 500 mm | 6 m
UPVC Class 16 in 6 m lengths
A.12 | 75 mm diameter | 6 m
A.13 | 90 mm | 6 m
A.14 | 110 mm | 6 m
A.15 | 160 mm | 6 m
A.16 | 200 mm | 6 m
A.17 | 250 mm | 6 m
A.18 | 315 mm | 6 m
A.19 | 355 mm | 6 m
A.20 | 400 mm | 6 m
A.21 | 450 mm | 6 m
A.22 | 500 mm | 6 m
UPVC WATER PIPES Class 12 in 4 m lengths
A.23 | to suit 50 mm Ø COD FC pipe | 4 m
A.24 | to suit 75 mm Ø COD FC pipe | 4 m
A.25 | to suit 100 mm Ø COD FC pipe | 4 m
A.26 | to suit 150 mm Ø COD FC pipe | 4 m
A.27 | to suit 200 mm Ø COD FC pipe | 4 m
A.28 | to suit 225 mm Ø COD FC pipe | 4 m
A.29 | to suit 250 mm Ø COD FC pipe | 4 m
A.30 | to suit 300 mm Ø COD FC pipe | 4 m
PVC-O WATER PIPES
Class 12 in 6 m lengths
complete with socket and rubber seal
(Specification C.1)
A.31 | 110 mm diameter | 6 m
A.32 | 160 mm | 6 m
A.33 | 200 mm | 6 m
A.34 | 250 mm | 6 m
A.35 | 315 mm | 6 m
BENDS (LONG RADIUS) - UPVC FOR PVC WATER PIPES (Specification C.1)
Bends fabricated using Class 16 pipes
SPIGOT TO SOCKET
UPVC BENDS 90º (Long) Spigot to Socket
A.36 | 50 mm diameter | each
A.37 | 75 mm | each
A.38 | 100 mm | each
A.39 | 160 mm | each
A.40 | 200 mm | each
A.41 | 250 mm | each
A.42 | 300 mm | each
A.43 | 355 mm | each
A.44 | 400 mm | each
A.45 | 450 mm | each
A.46 | 500 mm | each
UPVC BENDS 45º (Long) Spigot to Socket
A.47 | 50 mm diameter | each
A.48 | 75 mm | each
A.49 | 100 mm | each
A.50 | 160 mm | each
A.51 | 200 mm | each
A.52 | 250 mm | each
A.53 | 300 mm | each
A.54 | 355 mm | each
A.55 | 400 mm | each
A.56 | 450 mm | each
A.57 | 500 mm | each
UPVC BENDS 22½º (Long)
Spigot to Socket
A.58 | 50 mm diameter | each
A.59 | 75 mm | each
A.60 | 100 mm | each
A.61 | 160 mm | each
A.62 | 200 mm | each
A.63 | 250 mm | each
A.64 | 300 mm | each
A.65 | 355 mm | each
A.66 | 400 mm | each
A.67 | 450 mm | each
A.68 | 500 mm | each
UPVC BENDS 11¼º (Long)
Spigot to Socket
A.69 | 50 mm diameter | each
A.70 | 75 mm | each
A.71 | 100 mm | each
A.72 | 160 mm | each
A.73 | 200 mm | each
A.74 | 250 mm | each
A.75 | 300 mm | each
A.76 | 355 mm | each
A.77 | 400 mm | each
A.78 | 450 mm | each
A.79 | 500 mm | each
SPIGOT TO SPIGOT
UPVC BENDS 90º (Long) Spigot to Spigot
A.80 | 50 mm diameter | each
A.81 | 75 mm | each
A.82 | 100 mm | each
A.83 | 160 mm | each
A.84 | 200 mm | each
A.85 | 250 mm | each
A.86 | 300 mm | each
A.87 | 355 mm | each
A.88 | 400 mm | each
A.89 | 450 mm | each
A.90 | 500 mm | each
UPVC BENDS 45º (Long) Spigot to Spigot
A.91 | 50 mm diameter | each
A.92 | 75 mm | each
A.93 | 100 mm | each
A.94 | 160 mm | each
A.95 | 200 mm | each
A.96 | 250 mm | each
A.97 | 300 mm | each
A.98 | 355 mm | each
A.99 | 400 mm | each
A.100 | 450 mm | each
A.101 | 500 mm | each
UPVC BENDS 22½º (Long)
Spigot to Spigot
A.102 | 50 mm diameter | each
A.103 | 75 mm | each
A.104 | 100 mm | each
A.105 | 160 mm | each
A.106 | 200 mm | each
A.107 | 250 mm | each
A.108 | 300 mm | each
A.109 | 355 mm | each
A.110 | 400 mm | each
A.111 | 450 mm | each
A.112 | 500 mm | each
UPVC BENDS 11¼º (Long)
Spigot to Spigot
A.113 | 50 mm diameter | each
A.114 | 75 mm | each
A.115 | 100 mm | each
A.116 | 160 mm | each
A.117 | 200 mm | each
A.118 | 250 mm | each
A.119 | 300 mm | each
A.120 | 355 mm | each
A.121 | 400 mm | each
A.122 | 450 mm | each
A.123 | 500 mm | each
SOCKET TO SOCKET
UPVC BENDS 90º (Long) Socket to Socket
A.124 | 50 mm diameter | each
A.125 | 75 mm | each
A.126 | 100 mm | each
A.127 | 160 mm | each
A.128 | 200 mm | each
A.129 | 250 mm | each
A.130 | 300 mm | each
A.131 | 355 mm | each
A.132 | 400 mm | each
A.133 | 450 mm | each
A.134 | 500 mm | each
UPVC BENDS 45º (Long) Socket to Socket
A.135 | 50 mm diameter | each
A.136 | 75 mm | each
A.137 | 100 mm | each
A.138 | 160 mm | each
A.139 | 200 mm | each
A.140 | 250 mm | each
A.141 | 300 mm | each
A.142 | 355 mm | each
A.143 | 400 mm | each
A.144 | 450 mm | each
A.145 | 500 mm | each
UPVC BENDS 22½º (Long) Socket to Socket
A.146 | 50 mm diameter | each
A.147 | 75 mm | each
A.148 | 100 mm | each
A.149 | 160 mm | each
A.150 | 200 mm | each
A.151 | 250 mm | each
A.152 | 300 mm | each
A.153 | 355 mm | each
A.154 | 400 mm | each
A.155 | 450 mm | each
A.156 | 500 mm | each
UPVC BENDS 11¼º (Long)
Socket to Socket
A.157 | 50 mm diameter | each
A.158 | 75 mm | each
A.159 | 100 mm | each
A.160 | 160 mm | each
A.161 | 200 mm | each
A.162 | 250 mm | each
A.163 | 300 mm | each
A.164 | 355 mm | each
A.165 | 400 mm | each
A.166 | 450 mm | each
A.167 | 500 mm | each
UPVC ADAPTORS FOR WATER SYSTEMS
(Specification C.1)
AC to PVC Class 12
A.168 | 63 mm AC to 50 mm PVC |  | each
A.169 | 95 mm AC to 75 mm PVC |  | each
A.170 | 121 mm AC to 110 mm PVC |  | each
A.171 | 149 mm AC to 200 mm PVC |  | each
A.172 | 177 mm AC to 150 mm PVC |  | each
A.173 | 232 mm AC to 200 mm PVC |  | each
A.174 | 259 mm AC to 250 mm PVC |  | each
A.175 | 284 mm AC to 250 mm PVC |  | each
A.176 | 286 mm AC to 250 mm PVC |  | each
A.177 | 295 mm AC to 250 mm PVC |  | each
A.178 | 304 mm AC to 250 mm PVC |  | each
A.179 | 328 mm AC to 315 mm PVC |  | each
A.180 | 345 mm AC to 315 mm PVC |  | each
A.181 | 412 mm AC to 355 mm PVC |  | each
BENDS (SHORT RADIUS)
DUCTILE IRON/CAST IRON FOR PVC PIPES
(Specification C.4)
SOCKETED
| DI/CI BENDS 90º (Short) Socketed |  | Indicate Coating:
A.182 | 50 mm diameter | each
A.183 | 75 mm | each
A.184 | 100 mm | each
A.185 | 160 mm | each
A.186 | 200 mm | each
A.187 | 250 mm | each
A.188 | 300 mm | each
A.189 | 355 mm | each
A.190 | 400 mm | each
A.191 | 450 mm | each
A.192 | 500 mm | each
| DI/CI BENDS 45º (Short) Socketed |  | Indicate Coating:
A.193 | 50 mm diameter | each
A.194 | 75 mm | each
A.195 | 100 mm | each
A.196 | 160 mm | each
A.197 | 200 mm | each
A.198 | 250 mm | each
A.199 | 300 mm | each
A.200 | 355 mm | each
A.201 | 400 mm | each
A.202 | 450 mm | each
A.203 | 500 mm | each
| DI/CI BENDS 22½º (Short) Socketed |  | Indicate Coating:
A.204 | 50 mm diameter | each
A.205 | 75 mm | each
A.206 | 100 mm | each
A.207 | 160 mm | each
A.208 | 200 mm | each
A.209 | 250 mm | each
A.210 | 300 mm | each
A.211 | 355 mm | each
A.212 | 400 mm | each
A.213 | 450 mm | each
A.214 | 500 mm | each
| DI/CI BENDS 11¼º (Short) Socketed |  | Indicate Coating:
A.215 | 50 mm diameter | each
A.216 | 75 mm | each
A.217 | 100 mm | each
A.218 | 160 mm | each
A.219 | 200 mm | each
A.220 | 250 mm | each
A.221 | 300 mm | each
A.222 | 355 mm | each
A.223 | 400 mm | each
A.224 | 450 mm | each
A.225 | 500 mm | each
FLANGED
| DI/CI BENDS 90º (Short) Flanged |  | Indicate Coating:
A.226 | 50 mm diameter | each
A.227 | 75 mm | each
A.228 | 100 mm | each
A.229 | 160 mm | each
A.230 | 200 mm | each
A.231 | 250 mm | each
A.232 | 300 mm | each
A.233 | 350 mm | each
A.234 | 400 mm | each
A.235 | 450 mm | each
A.236 | 500 mm | each
| DI/CI BENDS 45º (Short) Flanged |  | Indicate Coating:
A.237 | 50 mm diameter | each
A.238 | 75 mm | each
A.239 | 100 mm | each
A.240 | 160 mm | each
A.241 | 200 mm | each
A.242 | 250 mm | each
A.243 | 300 mm | each
A.244 | 350 mm | each
A.245 | 400 mm | each
A.246 | 450 mm | each
A.247 | 500 mm | each
TEES DUCTILE IRON/CAST IRON
FOR PVC PIPEWORK
(Specification C.4)
DI/CI EQUAL TEE All Socketed
A.248 | 90 mm diameter | each
A.249 | 110 mm | each
A.250 | 160 mm | each
A.251 | 200 mm | each
A.252 | 250 mm | each
A.253 | 315 mm | each
DI/CI UN-EQUAL TEE All Socketed
A.254 | 110 x 75 mm diameter | each
A.255 | 110 x 90 mm | each
A.256 | 160 x 75 mm | each
A.257 | 160 x 90 mm | each
A.258 | 160 x 110 mm | each
A.259 | 200 x 75 mm | each
A.260 | 200 x 90 mm | each
A.261 | 200 x 110 mm | each
A.262 | 200 x 160 mm | each
A.263 | 250 x 75 mm | each
A.264 | 250 x 90 mm | each
A.265 | 250 x 110 mm | each
A.266 | 250 x 160 mm | each
A.267 | 250 x 200 mm | each
A.268 | 315 x 75 mm | each
A.269 | 315 x 90 mm | each
A.270 | 315 x 110 mm | each
A.271 | 315 x 160 mm | each
A.272 | 315 x 200 mm | each
A.273 | 315 x 250 mm | each
DI/CI EQUAL TEE Main Barrel Socketed Branch Flanged
A.274 | 90 mm diameter | each
A.275 | 110 mm | each
A.276 | 160 mm | each
A.277 | 200 mm | each
A.278 | 250 mm | each
A.279 | 315 mm | each
DI/CI UN-EQUAL TEE Main Barrel Socketed Branch Flanged
A.280 | 110 x 50 mm | each
A.281 | 160 x 50 mm | each
A.282 | 160 x 75 mm | each
A.283 | 160 x 100 mm | each
A.284 | 200 x 50 mm | each
A.285 | 200 x 75 mm | each
A.286 | 200 x 100 mm | each
A.287 | 200 x 150 mm | each
A.288 | 250 x 50 mm | each
A.289 | 250 x 75 mm | each
A.290 | 250 x 100 mm | each
A.291 | 250 x 150 mm | each
A.292 | 250 x 200 mm | each
A.293 | 250 x 200 mm | each
A.294 | 315 x 50 mm | each
A.295 | 315 x 75 mm | each
A.296 | 315 x 100 mm | each
A.297 | 315 x 150 mm | each
A.298 | 315 x 200 mm | each
A.299 | 315 x 250 mm diameter | each
TEES STAINLESS STEEL FOR FC PIPES
(Specification C.5)
STAINLESS STEEL 304
| SS 304 EQUAL TEE All Plain Ended for FC |  | … include pressure rating ….
A.300 | 50 mm diameter | each
A.301 | 75 mm | each
A.302 | 100 mm | each
A.303 | 150 mm | each
A.304 | 200 mm | each
A.305 | 250 mm | each
A.306 | 300 mm | each
A.307 | 350 mm | each
| SS 304 UNEQUAL TEE All Plain Ended for FC |  | … include pressure rating ….
A.308 | 75 x 50 mm diameter | each
A.309 | 100 x 50 mm | each
A.310 | 100 x 75 mm | each
A.311 | 150 x 50 mm | each
A.312 | 150 x 75 mm | each
A.313 | 150 x 100 mm | each
A.314 | 200 x 75 mm | each
A.315 | 200 x 100 mm | each
A.316 | 200 x 150 mm | each
A.317 | 250 x 50 mm | each
A.318 | 250 x 75 mm | each
A.319 | 250 x 100 mm | each
A.320 | 250 x 150 mm | each
A.321 | 250 x 200 mm | each
A.322 | 300 x 150 mm | each
A.323 | 300 x 200 mm | each
A.324 | 300 x 250 mm | each
A.325 | 350 x 250 mm | each
A.326 | 350 x 300 mm | each
| SS 304 EQUAL TEE |  | … include pressure rating ….
Main Barrel Plain Ended for FC Branch Flanged
A.327 | 50 mm diameter | each
A.328 | 75 mm | each
A.329 | 100 mm | each
A.330 | 150 mm | each
A.331 | 200 mm | each
A.332 | 250 mm | each
A.333 | 300 mm | each
A.334 | 350 mm | each
| SS 304 UN-EQUAL TEE |  | … include pressure rating ….
Main Barrel Plain Ended for FC Branch Flanged
A.335 | 75 x 50 mm diameter | each
A.336 | 100 x 50 mm | each
A.337 | 100 x 75 mm | each
A.338 | 150 x 50 mm | each
A.339 | 150 x 75 mm | each
A.340 | 150 x 100 mm | each
A.341 | 200 x 75 mm | each
A.342 | 200 x 100 mm | each
A.343 | 200 x 150 mm | each
A.344 | 250 x 50 mm | each
A.345 | 250 x 75 mm | each
A.346 | 250 x 100 mm | each
A.347 | 250 x 150 mm | each
A.348 | 250 x 200 mm | each
A.349 | 300 x 150 mm | each
A.350 | 300 x 200 mm | each
A.351 | 300 x 250 mm | each
A.352 | 350 x 250 mm | each
A.353 | 350 x 300 mm | each
STAINLESS STEEL 316
| SS 316 EQUAL TEE All Plain Ended for FC |  | … include pressure rating ….
A.354 | 50 mm diameter | each
A.355 | 75 mm | each
A.356 | 100 mm | each
A.357 | 150 mm | each
A.358 | 200 mm | each
A.359 | 250 mm | each
A.360 | 300 mm | each
A.361 | 350 mm | each
| SS 316 UNEQUAL TEE All Plain Ended for FC |  | … include pressure rating ….
A.362 | 75 x 50 mm diameter | each
A.363 | 100 x 50 mm | each
A.364 | 100 x 75 mm | each
A.365 | 150 x 50 mm | each
A.366 | 150 x 75 mm | each
A.367 | 150 x 100 mm | each
A.368 | 200 x 75 mm | each
A.369 | 200 x 100 mm | each
A.370 | 200 x 150 mm | each
A.371 | 250 x 50 mm | each
A.372 | 250 x 75 mm | each
A.373 | 250 x 100 mm | each
A.374 | 250 x 150 mm | each
A.375 | 250 x 200 mm | each
A.376 | 300 x 150 mm | each
A.377 | 300 x 200 mm | each
A.378 | 300 x 250 mm | each
A.379 | 350 x 250 mm | each
A.380 | 350 x 300 mm | each
| SS 316 EQUAL TEE |  | … include pressure rating ….
Main Barrel Plain Ended for FC Branch Flanged
A.381 | 50 mm diameter | each
A.382 | 75 mm | each
A.383 | 100 mm | each
A.384 | 150 mm | each
A.385 | 200 mm | each
A.386 | 250 mm | each
A.387 | 300 mm | each
A.388 | 350 mm | each
| SS 316 UN-EQUAL TEE |  | … include pressure rating ….
Main Barrel Plain Ended for FC Branch Flanged
A.389 | 75 x 50 mm diameter | each
A.390 | 100 x 50 mm | each
A.391 | 100 x 75 mm | each
A.392 | 150 x 50 mm | each
A.393 | 150 x 75 mm | each
A.394 | 150 x 100 mm | each
A.395 | 200 x 75 mm | each
A.396 | 200 x 100 mm | each
A.397 | 200 x 150 mm | each
A.398 | 250 x 50 mm | each
A.399 | 250 x 75 mm | each
A.400 | 250 x 100 mm | each
A.401 | 250 x 150 mm | each
A.402 | 250 x 200 mm | each
A.403 | 300 x 150 mm | each
A.404 | 300 x 200 mm | each
A.405 | 300 x 250 mm | each
A.406 | 350 x 250 mm | each
A.407 | 350 x 300 mm | each
TEES DUCTILE IRON/CAST IRON FLANGED
(Specification C.4)
DI/CI EQUAL TEE All Flanged
A.408 | 75 mm diameter | each
A.409 | 100 mm | each
A.410 | 150 mm | each
A.411 | 200 mm | each
A.412 | 250 mm | each
A.413 | 300 mm | each
DI/CI UN-EQUAL TEE All Flanged
A.414 | 100 x 75 mm diameter | each
A.415 | 150 x 75 mm | each
A.416 | 150 x 100 mm | each
A.417 | 200 x 75 mm | each
A.418 | 200 x 100 mm | each
A.419 | 200 x 150 mm | each
A.420 | 250 x 75 mm | each
A.421 | 250 x 100 mm | each
A.422 | 250 x 150 mm | each
A.423 | 250 x 200 mm | each
A.424 | 300 x 75 mm | each
A.425 | 300 x 100 mm | each
A.426 | 300 x 150 mm | each
A.427 | 300 x 200 mm | each
A.428 | 300 x 250 mm | each
HYDRANT TEES CAST IRON OR DUCTILE IRON (Specification C.4)
DI/CI HYDRANT TEE Main Barrel Socketed
A.429 | 75 mm diameter | each
A.430 | 90 mm | each
A.431 | 110 mm | each
A.432 | 160 mm | each
A.433 | 200 mm | each
A.434 | 250 mm | each
A.435 | 315 mm | each
A.436 | 355 mm | each
FITTINGS CAST IRON OR DUCTILE IRON Specification C.4)
DI/CI FLANGED ADAPTORS Plain ended
A.437 | 50 mm diameter | each
A.438 | 75 mm | each
A.439 | 100 mm | each
A.440 | 150 mm | each
A.441 | 200 mm | each
A.442 | 250 mm | each
A.443 | 300 mm | each
A.444 | 350 mm | each
DI/CI FLANGE ADAPTORS Socketed
A.445 | 90 mm diameter | each
A.446 | 110 mm | each
A.447 | 160 mm | each
A.448 | 200 mm | each
A.449 | 250 mm | each
A.450 | 315 mm | each
DI/CI REDUCERS Socketed
A.451 | 75 x 50 mm diameter | each
A.452 | 110 x 75 mm | each
A.453 | 160 x 75 mm | each
A.454 | 160 x 110 mm | each
A.455 | 200 x 75 mm | each
A.456 | 200 x 110 mm | each
A.457 | 200 x 160 mm | each
A.458 | 250 x 110 mm | each
A.459 | 250 x 160 mm | each
A.460 | 250 x 200 mm | each
A.461 | 300 x 250 mm | each
FITTINGS STAINLESS STEEL GRADE 316
(Specification C.5)
| SS 316 REDUCERS Flanged |  | … include pressure rating ….
A.462 | 75 x 50 mm diameter | each
A.463 | 100 x 75 mm | each
A.464 | 150 x 100 mm | each
A.465 | 150 x 75 mm | each
A.466 | 200 x 100 mm | each
A.467 | 200 x 150 mm | each
A.468 | 200 x 75 mm | each
A.469 | 250 x 100 mm | each
A.470 | 250 x 150 mm | each
A.471 | 250 x 200 mm | each
A.472 | 300 x 250 mm | each
| SS 316 END CAPS |  | … include pressure rating ….
A.473 | 50 mm diameter | each
A.474 | 75 mm | each
A.475 | 100 mm | each
A.476 | 150 mm | each
A.477 | 200 mm | each
A.478 | 250 mm | each
A.479 | 300 mm | each
| SS 316 BACKING FLANGES Inside flange to be chamfered to suit fusion stubs |  | … include pressure rating ….
A.480 | 75 mm diameter | each
A.481 | 90 mm | each
A.482 | 110 mm | each
A.483 | 160 mm | each
A.484 | 200 mm | each
A.485 | 250 mm | each
A.486 | 315 mm | each
A.487 | 355 mm | each
| SS 316 BACKING FLANGES drilled hydrant table and Schedule 10 thickness. Inside flange to be chamfered to suit fusion stubs |  | … include pressure rating ….
A.488 | 75 mm diameter | each
A.489 | 90 mm | each
| SS 316 FLANGED DISTANT PIECES |  | … include pressure rating ….
No slotted flanges allowed
A.490 | 75 mm Ø x 250 mm | each
A.491 | 75 mm Ø x 450 mm | each
A.492 | 100 mm Ø x 300 mm | each
A.493 | 100 mm Ø x 450 mm | each
A.494 | 150 mm Ø x 450 mm | each
A.495 | 150 mm Ø x 750 mm | each
A.496 | 200 mm Ø x 600 mm | each
A.497 | 200 mm Ø x 750 mm | each
A.498 | 200 mm Ø x 1250 mm | each
| SS 316 FLANGED DISTANT PIECES |  | … include pressure rating ….
with puddle flange in middle of pipe
A.499 | 75 mm Ø x 500 mm | each
A.500 | 100 mm Ø x 500 mm | each
A.501 | 150 mm Ø x 700 mm | each
A.502 | 200 mm Ø x 700 mm | each
| SS 316 FLANGED HYDRANT EXTENSION PIECES 75 mm diameter |  | … include pressure rating ….
A.503 | 200 mm Lengths | each
A.504 | 450 mm Lengths | each
A.505 | 750 mm Lengths | each
COUPLINGS
(Specification C.6)
"VIKING JOHNSON" TYPE COUPLINGS or similar approved
| UNIVERSAL COUPLINGS |  | Indicate Coating:
A.506 | 50 DN Range 59 - 73 mm OD | each
A.507 | 50 DN Range 59 - 78 mm OD | each
A.508 | 65 DN Range 72 - 85 mm OD | each
A.509 | 65 DN Range 74 - 90 mm OD | each
A.510 | 80 DN Range 88 - 103 mm OD | each
A.511 | 100 DN Range 98 - 118 mm OD | each
A.512 | 100 DN Range 108 - 128 mm OD | each
A.513 | 125 DN Range 132 - 154 mm OD | each
A.514 | 150 DN Range 150 - 170 mm OD | each
A.515 | 150 DN Range 159 - 182 mm OD | each
A.516 | 150 DN Range 180 - 194 mm OD | each
A.517 | 200 DN Range 192 - 209 mm OD | each
A.518 | 200 DN Range 205 - 222 mm OD | each
A.519 | 200 DN Range 218 - 235 mm OD | each
A.520 | 250 DN Range 235 - 252 mm OD | each
A.521 | 250 DN Range 250 - 267 mm OD | each
A.522 | 250 DN Range 260 - 274 mm OD | each
A.523 | 250 DN Range 271 - 289 mm OD | each
A.524 | 250 DN Range 286 - 304 mm OD | each
A.525 | 300 DN Range 302 - 318 mm OD | each
A.526 | 300 DN Range 315 - 332 mm OD | each
A.527 | 300 DN Range 334 - 350 mm OD | each
A.528 | 350 DN Range 344 - 360 mm OD | each
A.529 | 350 DN Range 356 - 372 mm OD | each
A.530 | 350 DN Range 374 - 391 mm OD | each
A.531 | 400 DN Range 391 - 407 mm OD | each
A.532 | 400 DN Range 401 - 417 mm OD | each
A.533 | 400 DN Range 417 - 437 mm OD | each
A.534 | 400 DN Range 430 - 446 mm OD | each
A.535 | 450 DN Range 440 - 460 mm OD | each
A.536 | 450 DN Range 458 - 474 mm OD | each
A.537 | 450 DN Range 477 - 493 mm OD | each
A.538 | 500 DN Range 494 - 510 mm OD | each
A.539 | 500 DN Range 500 - 523 mm OD | each
A.540 | 500 DN Range 518 - 534 mm OD | each
A.541 | 500 DN Range 526 - 546 mm OD | each
A.542 | 500 DN Range 556 - 572 mm OD | each
A.543 | 500 DN Range 577 - 593 mm OD | each
A.544 | 600 DN Range 600 - 614 mm OD | each
A.545 | 600 DN Range 611 - 624 mm OD | each
A.546 | 600 DN Range 630 - 650 mm OD | each
| UNIVERSAL FLANGE ADAPTORS |  | Indicate Coating:
Flange drilled BS10 Table D
A.547 | 50 DN Range 59 - 73 mm OD | each
A.548 | 50 DN Range 59 - 78 mm OD | each
A.549 | 65 DN Range 72 - 85 mm OD | each
A.550 | 80 DN Range 88 - 103 mm OD | each
A.551 | 100 DN Range 98 - 118 mm OD | each
A.552 | 100 DN Range 108 - 128 mm OD | each
A.553 | 125 DN Range 132 - 154 mm OD | each
A.554 | 150 DN Range 150 - 170 mm OD | each
A.555 | 150 DN Range 159 - 182 mm OD | each
A.556 | 200 DN Range 192 - 209 mm OD | each
A.557 | 200 DN Range 218 - 235 mm OD | each
A.558 | 250 DN Range 235 - 252 mm OD | each
A.559 | 250 DN Range 250 - 267 mm OD | each
A.560 | 250 DN Range 260 - 274 mm OD | each
A.561 | 250 DN Range 271 - 289 mm OD | each
Flange drilled SANS 1123 Table 1600/3
A.562 | 300 DN Range 302 - 318 mm OD | each
A.563 | 300 DN Range 315 - 332 mm OD | each
A.564 | 350 DN Range 344 - 360 mm OD | each
A.565 | 350 DN Range 374 - 391 mm OD | each
A.566 | 400 DN Range 391 - 407 mm OD | each
A.567 | 400 DN Range 417 - 437 mm OD | each
A.568 | 450 DN Range 440 - 460 mm OD | each
A.569 | 450 DN Range 477 - 493 mm OD | each
A.570 | 500 DN Range 494 - 510 mm OD | each
A.571 | 500 DN Range 526 - 546 mm OD | each
A.572 | 600 DN Range 600 - 614 mm OD | each
A.573 | 600 DN Range 630 - 650 mm OD | each
| LONG BARREL COUPLINGS |  | Indicate Coating:
A.574 | 50 DN Range 59 - 73 mm OD | each
A.575 | 50 DN Range 59 - 78 mm OD | each
A.576 | 65 DN Range 72 - 85 mm OD | each
A.577 | 65 DN Range 74 - 90 mm OD | each
A.578 | 80 DN Range 88 - 103 mm OD | each
A.579 | 100 DN Range 98 - 118 mm OD | each
A.580 | 100 DN Range 108 - 128 mm OD | each
A.581 | 125 DN Range 132 - 154 mm OD | each
A.582 | 150 DN Range 150 - 170 mm OD | each
A.583 | 150 DN Range 159 - 182 mm OD | each
A.584 | 150 DN Range 180 - 194 mm OD | each
A.585 | 200 DN Range 192 - 209 mm OD | each
A.586 | 200 DN Range 205 - 222 mm OD | each
A.587 | 200 DN Range 218 - 235 mm OD | each
A.588 | 250 DN Range 235 - 252 mm OD | each
A.589 | 250 DN Range 250 - 267 mm OD | each
A.590 | 250 DN Range 260 - 274 mm OD | each
A.591 | 250 DN Range 271 - 289 mm OD | each
A.592 | 250 DN Range 286 - 304 mm OD | each
A.593 | 300 DN Range 302 - 318 mm OD | each
A.594 | 300 DN Range 315 - 332 mm OD | each
A.595 | 300 DN Range 334 - 350 mm OD | each
A.596 | 350 DN Range 344 - 360 mm OD | each
A.597 | 350 DN Range 356 - 372 mm OD | each
A.598 | 350 DN Range 374 - 391 mm OD | each
A.599 | 400 DN Range 391 - 407 mm OD | each
A.600 | 400 DN Range 401 - 417 mm OD | each
A.601 | 400 DN Range 417 - 437 mm OD | each
A.602 | 400 DN Range 430 - 446 mm OD | each
A.603 | 450 DN Range 440 - 460 mm OD | each
A.604 | 450 DN Range 458 - 474 mm OD | each
A.605 | 450 DN Range 477 - 493 mm OD | each
A.606 | 500 DN Range 494 - 510 mm OD | each
A.607 | 500 DN Range 500 - 523 mm OD | each
A.608 | 500 DN Range 518 - 534 mm OD | each
A.609 | 500 DN Range 526 - 546 mm OD | each
A.610 | 500 DN Range 556 - 572 mm OD | each
A.611 | 500 DN Range 577 - 593 mm OD | each
A.612 | 600 DN Range 600 - 614 mm OD | each
A.613 | 600 DN Range 611 - 624 mm OD | each
A.614 | 600 DN Range 630 - 650 mm OD | each
| STEP COUPLINGS |  | Indicate Coating:
A.615 | 50 DN Range 59 - 73 mm to 72 - 85 | each
A.616 | 50 DN Range 59 - 73 mm to 88 - 103 | each
A.617 | 50 DN Range 59 - 78 mm to 88 - 103 | each
A.618 | 50 DN Range 59 - 78 mm to 108 - 128 | each
A.619 | 65 DN Range 72 - 85 mm to 88 - 103 | each
A.620 | 65 DN Range 72 - 85 mm to 108 - 128 | each
A.621 | 65 DN Range 74 - 90 mm to 88 - 103 | each
A.622 | 65 DN Range 74 - 90 mm to 108 - 128 | each
A.623 | 80 DN Range 88 - 103 mm to 98 - 118 | each
A.624 | 80 DN Range 88 - 103 mm to 108 - 128 | each
A.625 | 80 DN Range 88 - 103 mm to 132 - 154 | each
A.626 | 100 DN Range 98 - 118 mm to 108 - 128 | each
A.627 | 100 DN Range 98 - 118 mm to 132 - 154 | each
A.628 | 100 DN Range 108 - 128 mm to 132 - 154 | each
A.629 | 100 DN Range 108 - 128 mm to 159 - 182 | each
A.630 | 125 DN Range 132 - 154 mm to 159 - 182 | each
A.631 | 125 DN Range 132 - 154 mm to 192 - 209 | each
A.632 | 150 DN Range 150 - 170 mm to 159 - 182 | each
A.633 | 150 DN Range 150 - 170 mm to 180 - 194 | each
A.634 | 150 DN Range 150 - 170 mm to 192 - 209 | each
A.635 | 150 DN Range 159 - 182 mm to 180 - 194 | each
A.636 | 150 DN Range 159 - 182 mm to 192 - 209 | each
A.637 | 150 DN Range 159 - 182 mm to 218 - 235 | each
A.638 | 150 DN Range 180 - 194 mm to 192 - 209 | each
A.639 | 150 DN Range 180 - 194 mm to 218 - 235 | each
A.640 | 175 DN Range 192 - 209 mm to 205 - 222 | each
A.641 | 175 DN Range 192 - 209 mm to 218 - 235 | each
A.642 | 175 DN Range 192 - 209 mm to 235 - 252 | each
A.643 | 175 DN Range 192 - 209 mm to 250 - 267 | each
A.644 | 175 DN Range 205 - 222 mm to 218 - 235 | each
A.645 | 175 DN Range 205 - 222 mm to 235 - 252 | each
A.646 | 200 DN Range 218 - 235 mm to 235 - 252 | each
A.647 | 200 DN Range 218 - 235 mm to 260 - 274 | each
A.648 | 200 DN Range 218 - 235 mm to 271 - 289 | each
A.649 | 200 DN Range 218 - 235 mm to 315 - 332 | each
A.650 | 225 DN Range 235 - 252 mm to 250 - 267 | each
A.651 | 225 DN Range 235 - 252 mm to 260 - 274 | each
A.652 | 225 DN Range 235 - 252 mm to 271 - 289 | each
A.653 | 225 DN Range 235 - 252 mm to 286 - 304 | each
A.654 | 225 DN Range 235 - 252 mm to 315 - 332 | each
A.655 | 225 DN Range 250 - 267 mm to 271 - 289 | each
A.656 | 225 DN Range 250 - 267 mm to 286 - 304 | each
A.657 | 225 DN Range 250 - 267 mm to 315 - 332 | each
A.658 | 225 DN Range 260 - 274 mm to 286 - 304 | each
A.659 | 225 DN Range 260 - 274 mm to 315 - 332 | each
A.660 | 250 DN Range 271 - 289 mm to 286 - 304 | each
A.661 | 250 DN Range 271 - 289 mm to 302 - 318 | each
A.662 | 250 DN Range 271 - 289 mm to 315 - 332 | each
A.663 | 250 DN Range 286 - 304 mm to 302 - 318 | each
A.664 | 250 DN Range 286 - 304 mm to 315 - 332 | each
A.665 | 300 DN Range 302 - 318 mm to 315 - 332 | each
A.666 | 300 DN Range 302 - 318 mm to 334 - 350 | each
A.667 | 300 DN Range 302 - 318 mm to 344 - 360 | each
A.668 | 300 DN Range 302 - 318 mm to 356 - 372 | each
A.669 | 300 DN Range 315 - 332 mm to 334 - 350 | each
A.670 | 300 DN Range 315 - 332 mm to 344 - 360 | each
A.671 | 300 DN Range 315 - 332 mm to 356 - 372 | each
A.672 | 300 DN Range 315 - 332 mm to 374 - 391 | each
A.673 | 350 DN Range 344 - 360 mm to 356 - 372 | each
A.674 | 350 DN Range 344 - 360 mm to 374 - 391 | each
A.675 | 350 DN Range 344 - 360 mm to 391 - 407 | each
A.676 | 350 DN Range 344 - 360 mm to 401 - 417 | each
A.677 | 350 DN Range 344 - 360 mm to 417 - 437 | each
A.678 | 350 DN Range 344 - 360 mm to 430 - 446 | each
A.679 | 350 DN Range 344 - 360 mm to 440 - 460 | each
A.680 | 400 DN Range 391 - 407 mm to 401 - 417 | each
A.681 | 400 DN Range 391 - 407 mm to 417 - 437 | each
A.682 | 400 DN Range 391 - 407 mm to 430 - 446 | each
A.683 | 400 DN Range 391 - 407 mm to 440 - 460 | each
A.684 | 400 DN Range 391 - 407 mm to 458 - 474 | each
A.685 | 400 DN Range 391 - 407 mm to 477 - 493 | each
A.686 | 400 DN Range 391 - 407 mm to 494 - 510 | each
A.687 | 400 DN Range 401 - 417 mm to 440 - 460 | each
A.688 | 400 DN Range 401 - 417 mm to 458 - 474 | each
A.689 | 400 DN Range 401 - 417 mm to 477 - 493 | each
A.690 | 400 DN Range 417 - 437 mm to 440 - 460 | each
A.691 | 400 DN Range 417 - 437 mm to 494 - 510 | each
A.692 | 450 DN Range 440 - 460 mm to 458 - 474 | each
A.693 | 450 DN Range 440 - 460 mm to 477 - 493 | each
A.694 | 450 DN Range 440 - 460 mm to 494 - 510 | each
A.695 | 450 DN Range 440 - 460 mm to 518 - 534 | each
A.696 | 500 DN Range 494 - 510 mm to 509 - 523 | each
A.697 | 500 DN Range 494 - 510 mm to 518 - 534 | each
A.698 | 500 DN Range 494 - 510 mm to 526 - 546 | each
A.699 | 500 DN Range 494 - 510 mm to 556 - 572 | each
A.700 | 600 DN Range 600 - 614 mm to 611 - 624 | each
A.701 | 600 DN Range 600 - 614 mm to 630 - 650 | each
A.702 | 600 DN Range 600 - 614 mm to 651 | each
| STEEL FLANGE ADAPTORS |  | Indicate Coating:
Flange drilled BS10 Table D
A.703 | 50 DN for PVC 63 COD 69 | each
A.704 | 65 DN for PVC 75 | each
A.705 | 80 DN for PVC 90 | each
A.706 | 80 DN for DI 98 COD 96 | each
A.707 | 100 DN for PVC 110 | each
A.708 | 100 DN for DI 118 PVC 125 COD 122 | each
A.709 | 125 DN for PVC 140 COD 150 | each
A.710 | 150 DN for PVC 160 | each
A.711 | 150 DN for DI 170 COD 177 CID 168 174 | each
A.712 | 150 DN for CID 180 188 | each
A.713 | 150 DN for CID 196 | each
A.714 | 200 DN for PVC 200 | each
A.715 | 200 DN for DI 222 COD 232 CID 222 229 | each
A.716 | 200 DN for CID 239 250 | each
A.717 | 200 DN for CID 262 | each
A.718 | 250 DN for PVC 250 | each
A.719 | 250 DN for COD 259 | each
A.720 | 250 DN for DI 274 COD 286 CID 274 284 | each
A.721 | 250 DN for CID 295 304 | each
A.722 | 250 DN for CID 318 | each
Flange drilled SANS 1123 Table 1600/3
A.723 | 300 DN for PVC 315 | each
A.724 | 300 DN for DI 326 CID 328 | each
A.725 | 300 DN for COD 345 CID 340 | each
A.726 | 300 DN for CID 353 | each
A.727 | 300 DN for CID 365 | each
A.728 | 300 DN for CID 378 | each
A.729 | 350 DN for PVC 355 | each
A.730 | 350 DN for DI 378 CID 378 382 | each
A.731 | 350 DN for CID 396 | each
A.732 | 350 DN for CID 412 | each
A.733 | 350 DN for COD 426 CID 426 | each
A.734 | 350 DN for CID 440 | each
A.735 | 400 DN for PVC 400 | each
A.736 | 400 DN for DI 429 CID 430 436 | each
A.737 | 400 DN for COD 453 CID 450 | each
A.738 | 400 DN for CID 468 | each
A.739 | 400 DN for CID 484 | each
A.740 | 400 DN for CID 503 | each
A.741 | 450 DN for PVC 455 | each
A.742 | 450 DN for DI 480 CID 483 488 | each
A.743 | 450 DN for COD 507 CID 506 | each
A.744 | 450 DN for CID 524 | each
A.745 | 450 DN for CID 545 | each
A.746 | 450 DN for CID 566 | each
A.747 | 500 DN for PVC 500 | each
A.748 | 500 DN for DI 532 | each
A.749 | 500 DN for CID 535 543 | each
A.750 | 500 DN for COD 560 CID 560 | each
A.751 | 500 DN for COD 587 CID 583 | each
A.752 | 500 DN for CID 606 | each
A.753 | 500 DN for CID 629 | each
A.754 | 600 DN for PVC 630 | each
A.755 | 600 DN for DI 635 CID 638 | each
| GRIPPER TYPE COUPLINGS |  | Indicate Coating:
with Brass Ring for PE and PVC Pipes
A.756 | 63 mm diameter | each
A.757 | 75 mm | each
A.758 | 90 mm | each
A.759 | 110 mm | each
A.760 | 160 mm | each
A.761 | 200 mm | each
A.762 | 250 mm | each
A.763 | 315 mm | each
| GRIPPER TYPE FLANGE ADAPTORS |  | Indicate Coating:
with Brass Ring for PE and PVC Pipes
Flange drilled BS10 Table D
A.764 | 63 mm diameter | each
A.765 | 75 mm | each
A.766 | 90 mm | each
A.767 | 110 mm | each
A.768 | 160 mm | each
A.769 | 200 mm | each
A.770 | 250 mm | each
Flange drilled SANS 1123 Table 1600/3
A.771 | 315 mm | each
| REPAIR COUPLINGS |  | Indicate Coating:
to suit Fibre Cement COD pipes
A.772 | to suit 50 mm Ø COD FC pipe | each
A.773 | to suit 75 mm Ø COD FC pipe | each
A.774 | to suit 100 mm Ø COD FC pipe | each
A.775 | to suit 150 mm Ø COD FC pipe | each
A.776 | to suit 200 mm Ø COD FC pipe | each
A.777 | to suit 225 mm Ø COD FC pipe | each
A.778 | to suit 250 mm Ø COD FC pipe | each
A.779 | to suit 300 mm Ø COD FC pipe | each
A.780 | to suit 375 mm Ø COD FC pipe | each
A.781 | to suit 400 mm Ø COD FC pipe | each
A.782 | to suit 450 mm Ø COD FC pipe | each
STAINLESS STEEL CLAMPS AND SADDLES
(Cascade or Ultra or similar approved)
(Specification C.5)
DN size - Range min-max - Pipe material, size & class - clamp length – socket diam
STAINLESS STEEL CLAMPS Class 16
A.783 | DN 65 R 69-76 PVC 75 D 150 long | each
A.784 | DN 65 R 69-76 PVC 75 D 150 long Socket 25 | each
A.785 | DN 65 R 69-76 PVC 75 D 150 long Socket 50 | each
A.786 | DN 80 R 87-93 PVC 90 D 150 L | each
A.787 | DN 80 R 87-93 PVC 90 D 150 L Socket 25 | each
A.788 | DN 80 R 87-93 PVC 90 D 150 L Socket 50 | each
A.789 | DN 80 R 95-104 AC 75 D 200 long | each
A.790 | DN 80 R 95-104 AC 75 D 200 L Socket 25 | each
A.791 | DN 80 R 95-104 AC 75 D 200 long Socket 50 | each
A.792 | DN 100 R 104-113 PVC 110 D 200 long | each
A.793 | DN 100 R 104-113 PVC 110 D 200 long Sock 25 | each
A.794 | DN 100 R 104-113 PVC 110 D 200 L Socket 50 | each
A.795 | DN 100 R 121-131 AC 100 D 200 long | each
A.796 | DN 100 R 121-130 AC 100 D 200 L Socket 25 | each
A.797 | DN 100 R 121-131 AC 100 D 200 long Socket 50 | each
A.798 | DN 125 R 130-140 HDPE 140 D 200 L | each
A.799 | DN 125 R 130-140 HDPE 140 D 200 L Socket 25 | each
A.800 | DN 125 R 130-140 HDPE 140 D 200 L Socket 50 | each
A.801 | DN 125 R 145-155 AC 125 D 200 L | each
A.802 | DN 125 R 145-155 AC 125 D 200 L Socket 25 | each
A.803 | DN 125 R 145-155 AC 125 D 200 L Socket 50 | each
A.804 | DN 150 R 157-163 PVC 160 D 300 L | each
A.805 | DN 150 R 157-163 PVC 160 D 300 L Socket 25 | each
A.806 | DN 150 R 157-163 PVC 160 D 300 L Socket 50 | each
A.807 | DN 150 R 174-183 AC 150 D 300 L | each
A.808 | DN 150 R 174-183 AC 150 D 300 L Socket 25 | each
A.809 | DN 150 R 174-183 AC 150 D 300 L Socket 50 | each
A.810 | DN 200 R 229-238 AC 200 D 300 L | each
A.811 | DN 200 R 229-238 AC 200 D 300 L Socket 25 | each
A.812 | DN 200 R 229-238 AC 200 D 300 L Socket 50 | each
A.813 | DN 200 R 196-205 PVC 200 D 300 L | each
A.814 | DN 200 R 196-205 PVC 200 D 300 L Socket 25 | each
A.815 | DN 200 R 196-205 PVC 200 D 300 L Socket 50 | each
A.816 | DN 225 R 254-264 AC 225 D 300 L | each
A.817 | DN 225 R 254-264 AC 225 D 300 L Socket 25 | each
A.818 | DN 225 R 254-264 AC 225 D 300 L Socket 50 | each
A.819 | DN 225 R 248-257 PVC 250 D 300 L | each
A.820 | DN 225 R 248-257 PVC 250 D 300 L Socket 25 | each
A.821 | DN 225 R 248-257 PVC 250 D 300 L Socket 50 | each
A.822 | DN 250 R 281-290 AC 250 D+CL18 300 L | each
A.823 | DN 250 R 281-290 AC 250 D 300 L Socket 25 | each
A.824 | DN 250 R 281-290 AC 250 D 300 L Socket 50 | each
A.825 | DN 250 R 294-304 AC 250 CL24 300 L | each
A.826 | DN 250 R 304-314 AC 250 CL30 300 L | each
A.827 | DN 300 R 312-322 PVC 315 CL12 300 L | each
A.828 | DN 300 R 312-322 PVC 315 CL12 300 L Sock 25 | each
A.829 | DN 300 R 312-322 PVC 315 D 300 L Socket 50 | each
A.830 | DN 350 R 342-356 AC 300 D 400 L | each
A.831 | DN 350 R 342-356 AC 300 D 400 L Socket 25 | each
A.832 | DN 350 R 342-356 AC 300 D 400 L Socket 50 | each
A.833 | DN 350 R 353-363 AC 300 CL24 400 L | each
A.834 | DN 350-400 R 350-370 400 L | each
A.835 | DN 350-400 R 370-390 400 L | each
A.836 | DN 350-400 R 390-410 400 L | each
A.837 | DN 350-400 R 350-370 600 L | each
A.838 | DN 350-400 R 370-390 600 L | each
A.839 | DN 350-400 R 390-410 600 L | each
A.840 | DN 400-450 R 400-420 400 L | each
A.841 | DN 400-450 R 420-440 400 L | each
A.842 | DN 400-450 R 440-460 400 L | each
A.843 | DN 400-450 R 400-420 600 L | each
A.844 | DN 400-450 R 420-440 600 L | each
A.845 | DN 400-450 R 440-460 600 L | each
A.846 | DN 450-500 R 450-470 400 L | each
A.847 | DN 450-500 R 470-490 400 L | each
A.848 | DN 450-500 R 490-510 400 L | each
A.849 | DN 450-500 R 450-470 600 L | each
A.850 | DN 450-500 R 470-490 600 L | each
A.851 | DN 450-500 R 490-510 600 L | each
A.852 | DN 500-550 R 500-520 400 L | each
A.853 | DN 500-550 R 520-540 400 L | each
A.854 | DN 500-550 R 540-560 400 L | each
A.855 | DN 500-550 R 500-520 600 L | each
A.856 | DN 500-550 R 520-540 600 L | each
A.857 | DN 500-550 R 540-560 600 L | each
A.858 | DN 550-600 R 550-570 400 L | each
A.859 | DN 550-600 R 570-590 400 L | each
A.860 | DN 550-600 R 590-610 400 L | each
A.861 | DN 550-600 R 550-570 600 L | each
A.862 | DN 550-600 R 570-590 600 L | each
A.863 | DN 550-600 R 590-610 600 L | each
PACKING RUBBER INSERTIONS
A.864 | 65 mm dia x 150 mm Packing Rubber Insertion | each
A.865 | 80 mm dia x 150 mm Packing Rubber Insertion | each
A.866 | 80 mm dia x 200 mm Packing Rubber Insertion | each
A.867 | 100 mm dia x 200 mm Packing Rubber Insertion | each
Item | Description | Unit | Make, type, model and other details | Rate (VAT incl)
A.868 | 125 mm dia x 200 mm Packing Rubber Insertion | each
A.869 | 150 mm dia x 300 mm Packing Rubber Insertion | each
A.870 | 200 mm dia x 300 mm Packing Rubber Insertion | each
A.871 | 225 mm dia x 300 mm Packing Rubber Insertion | each
A.872 | 250 mm dia x 300 mm Packing Rubber Insertion | each
A.873 | 300 mm dia x 300 mm Packing Rubber Insertion | each
A.874 | 350 mm dia x 400 mm Packing Rubber Insertion | each
A.875 | 370 mm dia x 400 mm Packing Rubber Insertion | each
A.876 | 370 mm dia x 600 mm Packing Rubber Insertion | each
A.877 | 390 mm dia x 400 mm Packing Rubber Insertion | each
A.878 | 390 mm dia x 600 mm Packing Rubber Insertion | each
A.879 | 410 mm dia x 400 mm Packing Rubber Insertion | each
A.880 | 410 mm dia x 600 mm Packing Rubber Insertion | each
A.881 | 420 mm dia x 400 mm Packing Rubber Insertion | each
A.882 | 420 mm dia x 600 mm Packing Rubber Insertion | each
A.883 | 440 mm dia x 400 mm Packing Rubber Insertion | each
A.884 | 440 mm dia x 600 mm Packing Rubber Insertion | each
A.885 | 460 mm dia x 400 mm Packing Rubber Insertion | each
A.886 | 460 mm dia x 600 mm Packing Rubber Insertion | each
A.887 | 440 mm dia x 400 mm Packing Rubber Insertion | each
A.888 | 470 mm dia x 600 mm Packing Rubber Insertion | each
A.889 | 490 mm dia x 400 mm Packing Rubber Insertion | each
A.890 | 490 mm dia x 600 mm Packing Rubber Insertion | each
A.891 | 510 mm dia x 400 mm Packing Rubber Insertion | each
A.892 | 510 mm dia x 600 mm Packing Rubber Insertion | each
A.893 | 520 mm dia x 400 mm Packing Rubber Insertion | each
A.894 | 520 mm dia x 600 mm Packing Rubber Insertion | each
A.895 | 540 mm dia x 400 mm Packing Rubber Insertion | each
A.896 | 540 mm dia x 600 mm Packing Rubber Insertion | each
A.897 | 560 mm dia x 400 mm Packing Rubber Insertion | each
A.898 | 560 mm dia x 600 mm Packing Rubber Insertion | each
A.899 | 570 mm dia x 400 mm Packing Rubber Insertion | each
A.900 | 570 mm dia x 600 mm Packing Rubber Insertion | each
A.901 | 590 mm dia x 400 mm Packing Rubber Insertion | each
A.902 | 590 mm dia x 600 mm Packing Rubber Insertion | each
A.903 | 610 mm dia x 400 mm Packing Rubber Insertion | each
A.904 | 610 mm dia x 600 mm Packing Rubber Insertion | each
HDPE SOLID WALL WATER PIPING PE 100
(Specification C.2)
HDPE PIPING PE 100 CLASS 12.5
| Class 12.5 in 6 metre lengths |  |  |  | Rate (VAT incl)
A.905 | 75 mm (6 metre length) | 6 m
A.906 | 90 mm (6 metre length) | 6 m
A.907 | 110 mm (6 metre length) | 6 m
A.908 | 160 mm (6 metre length) | 6 m
A.909 | 180 mm (6 metre length) | 6 m
A.910 | 200 mm (6 metre length) | 6 m
A.911 | 250 mm (6 metre length) | 6 m
Class 12.5 in 50 metre rolls
A.912 | 75 mm (50 m roll) | 50 m Roll
A.913 | 90 mm (50 m roll) | 50 m Roll
A.914 | 110 mm (50 m roll) | 50 m Roll
HDPE PIPING PE 100 CLASS 16
Class 16 in 6 metre lengths
A.915 | 75 mm (6 metre length) | 6 m
A.916 | 90 mm (6 metre length) | 6 m
A.917 | 110 mm (6 metre length) | 6 m |  |  | Rate (VAT incl)
A.918 | 160 mm (6 metre length) | 6 m
A.919 | 180 mm (6 metre length) | 6 m
A.920 | 200 mm (6 metre length) | 6 m
A.921 | 250 mm (6 metre length) | 6 m
Class 16 in 50 metre rolls
A.922 | 75 mm (50 m roll) | 50 m Roll
A.923 | 90 mm (50 m roll) | 50 m Roll
A.924 | 110 mm (50 m roll) | 50 m Roll
HDPE ELECTRO-FUSION FITTINGS
(Specification C.2)
(Only factory moulded items allowed)
HDPE COUPLERS Class 16
A.925 | 75 mm diameter |  | each
A.926 | 90 mm |  | each
A.927 | 110 mm |  | each
A.928 | 160 mm |  | each
A.929 | 200 mm |  | each
A.930 | 250 mm |  | each
A.931 | 315 mm |  | each
A.932 | 355 mm |  | each
HDPE ELBOW 30° Class 16
A.933 | 75 mm diameter |  | each
A.934 | 90 mm |  | each
A.935 | 110 mm |  | each
A.936 | 160 mm |  | each
A.937 | 200 mm |  | each
A.938 | 250 mm |  | each
A.939 | 315 mm |  | each
A.940 | 355 mm |  | each
HDPE ELBOW 45° Class 16
A.941 | 75 mm diameter |  | each
A.942 | 90 mm |  | each
A.943 | 110 mm |  | each
A.944 | 160 mm |  | each
A.945 | 200 mm |  | each
A.946 | 250 mm |  | each
A.947 | 315 mm |  | each
A.948 | 355 mm |  | each
HDPE ELBOW 90° Class 16
A.949 | 75 mm diameter | each
A.950 | 90 mm | each
A.951 | 110 mm | each
A.952 | 160 mm | each
A.953 | 200 mm | each
A.954 | 250 mm | each
A.955 | 315 mm | each
A.956 | 355 mm | each
HDPE ADJUSTABLE ELBOW Class 16
A.957 | 90 mm diameter | each
A.958 | 110 mm | each
A.959 | 160 mm | each
A.960 | 200 mm | each
A.961 | 250 mm | each
A.962 | 315 mm | each
HDPE EQUAL TEE Class 16 with Couplers
A.963 | 75 mm diameter | each
A.964 | 90 mm | each
A.965 | 110 mm | each
A.966 | 160 mm | each
A.967 | 200 mm | each
A.968 | 250 mm | each
A.969 | 315 mm | each
HDPE EQUAL TEE Class 16 Plain Ended Branch
A.970 | 75 mm diameter | each
A.971 | 90 mm | each
A.972 | 110 mm | each
A.973 | 160 mm | each
A.974 | 200 mm | each
A.975 | 250 mm | each
A.976 | 315 mm | each
HDPE UNEQUAL TEE Class 16 with Couplers
A.977 | 90 x 75 mm diameter | each
A.978 | 110 x 75 mm | each
A.979 | 110 x 90 mm | each
A.980 | 160 x 75 mm | each
A.981 | 160 x 90 mm | each
A.982 | 160 x 110 mm | each
A.983 | 200 x 75 mm | each
A.984 | 200 x 90 mm | each
A.985 | 200 x 110 mm | each
A.986 | 200 x 160 mm | each
A.987 | 250 x 200 mm | each
A.988 | 315 x 250 mm | each
A.989 | 355 x 315 mm | each
HDPE UNEQUAL TEE Class 16 Plain Ended
A.990 | 90 x 75 mm diameter | each
A.991 | 110 x 75 mm | each
A.992 | 110 x 90 mm | each
A.993 | 160 x 75 mm | each
A.994 | 160 x 90 mm | each
A.995 | 160 x 110 mm | each
A.996 | 200 x 75 mm | each
A.997 | 200 x 90 mm | each
A.998 | 200 x 110 mm | each
A.999 | 200 x 160 mm | each
A.1000 | 250 x 200 mm | each
A.1001 | 315 x 250 mm | each
A.1002 | 355 x 315 mm | each
HDPE REDUCER Class 16 with Couplers
A.1003 | 90 x 75 mm diameter | each
A.1004 | 110 x 75 mm | each
A.1005 | 110 x 90 mm | each
A.1006 | 160 x 110 mm | each
A.1007 | 200 x 160 mm | each
A.1008 | 250 x 200 mm | each
A.1009 | 315 x 250 mm | each
A.1010 | 355 x 315 mm | each
HDPE REDUCER Class 16 Plain Ended
A.1011 | 90 x 75 mm diameter | each
A.1012 | 110 x 75 mm | each
A.1013 | 110 x 90 mm | each
A.1014 | 160 x 110 mm | each
A.1015 | 200 x 160 mm | each
A.1016 | 250 x 200 mm | each
A.1017 | 315 x 250 mm | each
A.1018 | 355 x 315 mm | each
HDPE END CAP Class 16 with Couplers
A.1019 | 75 mm diameter | each
A.1020 | 90 mm | each
A.1021 | 110 mm | each
A.1022 | 160 mm | each
A.1023 | 200 mm | each
A.1024 | 250 mm | each
A.1025 | 315 mm | each
HDPE STUB Class 16 with Coupling
A.1026 | 75 mm diameter | each
A.1027 | 90 mm | each
A.1028 | 110 mm | each
A.1029 | 160 mm | each
A.1030 | 200 mm | each
A.1031 | 250 mm | each
A.1032 | 315 mm | each
HDPE BUTT WELD STUB Class 16
A.1033 | 75 mm diameter | each
A.1034 | 90 mm | each
A.1035 | 110 mm | each
A.1036 | 160 mm | each
A.1037 | 200 mm | each
A.1038 | 250 mm | each
A.1039 | 315 mm | each
HDPE SADDLE Class 16 with 15 mm Ø BSP DZR Brass Tapping
A.1040 | 75 mm diameter | each
A.1041 | 90 mm | each
A.1042 | 110 mm | each
A.1043 | 160 mm | each
A.1044 | 200 mm | each
A.1045 | 250 mm | each
A.1046 | 315 mm | each
HDPE SADDLE Class 16 with 20 mm Ø BSP DZR Brass Tapping
A.1047 | 75 mm diameter | each
A.1048 | 90 mm | each
A.1049 | 110 mm | each
A.1050 | 160 mm | each
A.1051 | 200 mm | each
A.1052 | 250 mm | each
A.1053 | 315 mm | each
HDPE SADDLE Class 16 with 28 mm Ø BSP DZR Brass Tapping
A.1054 | 75 mm diameter | each
A.1055 | 90 mm | each
A.1056 | 110 mm | each
A.1057 | 160 mm | each
A.1058 | 200 mm | each
A.1059 | 250 mm | each
A.1060 | 315 mm | each
HDPE SADDLE Class 16 with 40 mm Ø BSP DZR Brass Tapping
A.1061 | 75 mm diameter | each
A.1062 | 90 mm | each
A.1063 | 110 mm | each
A.1064 | 160 mm | each
A.1065 | 200 mm | each
A.1066 | 250 mm | each
A.1067 | 315 mm | each
HDPE SADDLE Class 16 with 50 mm Ø BSP DZR Brass Tapping
A.1068 | 75 mm diameter | each
A.1069 | 90 mm | each
A.1070 | 110 mm | each
A.1071 | 160 mm | each
A.1072 | 200 mm | each
A.1073 | 250 mm | each
A.1074 | 315 mm | each
HDPE HALF SADDLE Class 6 with 45° Junction Take Off (sewerage application)
A.1075 | 110 mm diameter | each
A.1076 | 160 mm | each
HDPE 45° ELBOW Class 6 (sewerage application)
A.1077 | 110 mm diameter | each
A.1078 | 160 mm | each
DUCTILE IRON PIPES (SANS 50545)
(Specification C.3)
DUCTILE IRON PIPES FOR WATER PRESSURE SYSTEMS) (Cement lined) CLASS K9
A.1079 | 100 mm diameter | metre
A.1080 | 125 mm | metre
A.1081 | 150 mm | metre
A.1082 | 200 mm | metre
A.1083 | 250 mm | metre
A.1084 | 300 mm | metre
A.1085 | 350 mm | metre
A.1086 | 400 mm | metre
A.1087 | 450 mm | metre
A.1088 | 500 mm | metre
A.1089 | 600 mm | metre
A.1090 | 700 mm | metre
WATER SURFACE BOXES
(Specification C.10)
POLYAMIDE NYLON (PA) BELL TOBIES
AVK Series 80/31 Classic (or similar approved) with retaining pin bolt
A.1091 | Bell Toby with round cast iron lid | each
A.1092 | Bell Toby with round synthetic lid | each
DUCTILE IRON BELL TOBIES
A.1093 | with round ductile iron lid and retaining pin | each
DUCTILE IRON FIRE HYDRANT COVERS AND FRAMES
With loose cover
A.1094 | Loose Cover and Frame | each
A.1095 | Loose Cover only | each
A.1096 | Sliding Cover and Frame | each
A.1097 | Sliding Cover only | each
DUCTILE IRON MANHOLE COVER AND FRAME (Sanspar or similar approved)
With hinged snap closing cover
A.1098 | Size 900 x 450 | each
Y-STANDARD STEEL DROPPERS
A.1099 | 1400 mm Long | each
A.1100 | 1800 mm Long | each
B. SEWER PIPES AND FITTINGS
UPVC SEWER PIPES AND FITTINGS
complete with socket and rubber seal (Specification C.1)
UPVC SEWER PIPES Class 34 in 6 m lengths
B.1 | 75 mm diameter | 6 m
B.2 | 90 mm | 6 m
B.3 | 110 mm | 6 m
B.4 | 160 mm | 6 m
B.5 | 200 mm | 6 m
B.6 | 250 mm | 6 m
B.7 | 315 mm | 6 m
B.8 | 355 mm | 6 m
B.9 | 400 mm | 6 m
UPVC SEWER BENDS Class 34
Long Radius
UPVC BENDS 90º (Long) Spigot to Socket
B.10 | 110 mm diameter | each
B.11 | 160 mm | each
B.12 | 200 mm | each
UPVC BENDS 45º (Long) Spigot to Socket
B.13 | 110 mm diameter | each
B.14 | 160 mm | each
B.15 | 200 mm | each
UPVC SEWER JUNCTIONS Class 34
UPVC PLAIN JUNCTIONS 45º
B.16 | 160 mm x 110 mm diameter | each
B.17 | 160 mm x 160 mm | each
B.18 | 200 mm x 110 mm | each
B.19 | 200 mm x 160 mm | each
B.20 | 200 mm x 225 mm | each
B.21 | 250 mm x 110 mm | each
B.22 | 250 mm x 160 mm | each
UPVC SADDLE JUNCTIONS 45º
B.23 | 160 mm x 110 mm diameter | each
B.24 | 200 mm x 110 mm | each
B.25 | 200 mm x 160 mm | each
B.26 | 250 mm x 110 mm | each
B.27 | 250 mm x 160 mm | each
UPVC ADAPTORS
AC to PVC Class 34
B.28 | 110 mm diameter | each
B.29 | 160 mm | each
PVC to CLAY Class 34
B.30 | 110 mm diameter | each
B.31 | 160 mm | each
END CAPS (solvent welded)
B.32 | 110 mm diameter | each
B.33 | 160 mm | each
LIGHT WEIGHT SEWERAGE NON-RETURN VALVE with flow sensitive door. All components moulded and non-corrosive.
B.34 | 110 mm diameter | each
B.35 | 160 mm | each
STRUCTURED WALL HDPE SEWER PIPES
(Six metre length with socketed coupling and rubber seal complete)
(Specification C.2)
HDPE STRUCTURED WALL PIPES
4 kN/m Ring Stiffness
B.36 | 225 mm diameter | 6 m
B.37 | 250 mm | 6 m
B.38 | 300 (315) mm | 6 m
B.39 | 350 mm | 6 m
B.40 | 400 mm | 6 m
B.41 | 450 mm | 6 m
B.42 | 500 mm | 6 m
B.43 | 600 (630) mm | 6 m
B.44 | 700 (710) mm | 6 m
B.45 | 800 mm | 6 m
B.46 | 900 mm | 6 m
B.47 | 1000 mm | 6 m
B.48 | 1100 mm | 6 m
B.49 | 1200 mm | 6 m
HDPE STRUCTURED WALL PIPES
6 kN/m Ring Stiffness
B.50 | 225 mm diameter | 6 m
B.51 | 250 mm | 6 m
B.52 | 300 (315) mm | 6 m
B.53 | 350 mm | 6 m
B.54 | 400 mm | 6 m
B.55 | 450 mm | 6 m
B.56 | 500 mm | 6 m
B.57 | 600 (630) mm | 6 m
B.58 | 700 (710) mm | 6 m
B.59 | 800 mm | 6 m
B.60 | 900 mm | 6 m
B.61 | 1000 mm | 6 m
B.62 | 1100 mm | 6 m
B.63 | 1200 mm | 6 m
HDPE STRUCTURED WALL PIPES
8 kN/m Ring Stiffness
B.64 | 225 mm diameter | 6 m
B.65 | 250 mm | 6 m
B.66 | 300 (315) mm | 6 m
B.67 | 350 mm | 6 m
B.68 | 400 mm | 6 m
B.69 | 450 mm | 6 m
B.70 | 500 mm | 6 m
B.71 | 600 (630) mm | 6 m
B.72 | 700 (710) mm | 6 m
B.73 | 800 mm | 6 m
B.74 | 900 mm | 6 m
B.75 | 1000 mm | 6 m
B.76 | 1100 mm | 6 m
B.77 | 1200 mm | 6 m
DUCTILE IRON PIPES (SANS 50545)
(Specification C.3)
DUCTILE IRON PIPES FOR SEWER SYSTEMS) (Cement lined) CLASS K7
B.78 | 100 mm | metre
B.79 | 150 mm | metre
B.80 | 200 mm | metre
B.81 | 250 mm | metre
B.82 | 300 mm | metre
B.83 | 400 mm | metre
B.84 | 450 mm | metre
B.85 | 500 mm | metre
B.86 | 600 mm | metre
B.87 | 600 mm | metre
B.88 | 700 mm | metre
PRECAST CONCRETE MANHOLES
(SANS 1294) (Specification C.8)
Concrete Cover Lids 560 mm diameter
B.89 | Medium Duty | each
B.90 | Heavy Duty | each
B.91 | Extra Heavy Duty | each
Spacer Slab
B.92 | Round - 750 mm diameter with 560 mm diameter hole 75 mm thick | each
B.93 | Square - 900 mm square with 560 mm diameter hole 75 mm thick | each
Adaptor Slab
B.94 | Round - 750 mm diameter with 560 mm diameter hole 150 mm thick | each
B.95 | 4A - 860 mm outside diameter with 560 mm diameter hole 125 mm thick | each
B.96 | Square - 900 mm square with 560 mm diameter hole 125 mm thick | each
Access Shaft Rings
B.97 | 750 mm diameter 250 mm high (1 step) | each
B.98 | 750 mm diameter 500 mm high (2 steps) | each
B.99 | 750 mm diameter 1000 mm high (3 steps) | each
Reducer Slab (reducing to 750 mm diameter)
B.100 | 1000 mm diameter | each
B.101 | 1250 mm diameter | each
B.102 | 1500 mm diameter | each
Cover Slab (reducing to 560 mm diameter)
B.103 | 1000 mm diameter | each
B.104 | 1250 mm diameter | each
B.105 | 1500 mm diameter | each
Chamber Rings
B.106 | 1000 mm diameter 250 mm high (1 step) | each
B.107 | 1000 mm diameter 500 mm high (2 steps) | each
B.108 | 1000 mm diameter 1000 mm high (3 steps) | each
B.109 | 1250 mm diameter 250 mm high (1 step) | each
B.110 | 1250 mm diameter 500 mm high (2 steps) | each
B.111 | 1250 mm diameter 1000 mm high (3 steps) | each
B.112 | 1500 mm diameter 250 mm high (1 step) | each
B.113 | 1500 mm diameter 500 mm high (2 steps) | each
B.114 | 1500 mm diameter 1000 mm high (3 steps) | each
MANHOLE COVERS AND FRAMES
(Specification C.9)
Manhole covers and frames
Heavy Duty Type 2A Modified
B.115 | Cast Iron | each
B.116 | Ductile Iron (hinged with rubber seal) | each
B.117 | Polymer Concrete | each
Manhole covers only
Heavy Duty Type 2A
B.118 | Cast Iron | each
B.119 | Ductile Iron | each
B.120 | Polymer Concrete | each
Rectangular manhole covers and frames Ductile Iron Type 9 (600 x 450)
B.121 | Light Duty | each
B.122 | Medium Duty | each
B.123 | Heavy Duty | each
B.124 | Polymer concrete replacement cover | each
FIBRE CEMENT MANHOLE INVERT CHANNELS (Specification C.12)
Channel Straights 600 mm long
B.125 | 100 mm dia | No.
B.126 | 150 mm dia | No.
Channel Straights 1000 mm long
B.127 | 100 mm dia | No.
B.128 | 150 mm dia | No.
B.129 | 200 mm dia | No.
B.130 | 250 mm dia | No.
Channel Tapers 1000 mm long
B.131 | 150 mm x 100 mm | No.
B.132 | 200 mm x 100 mm | No.
B.133 | 200 mm x 150 mm | No.
B.134 | 250 mm x 100 mm | No.
B.135 | 250 mm x 150 mm | No.
B.136 | 250 mm x 200 mm | No.
Channel Bends 90°
B.137 | 100 mm dia 200 mm radius | No.
B.138 | 100 mm dia long radius | No.
B.139 | 150 mm dia 300 mm radius |  | No.
B.140 | 150 mm dia long radius |  | No.
B.141 | 200 mm dia 400 mm radius |  | No.
B.142 | 200 mm dia long radius |  | No.
B.143 | 250 mm dia 500 mm radius |  | No.
Channel Bends 45°
B.144 | 100 mm dia 200 mm radius | No.
B.145 | 100 mm dia long radius | No.
B.146 | 150 mm dia 300 mm radius | No.
B.147 | 150 mm dia long radius | No.
B.148 | 200 mm dia 400 mm radius | No.
B.149 | 200 mm dia long radius | No.
B.150 | 250 mm dia 500 mm radius | No.
Channel Bends 22.5°
B.151 | 100 mm dia 200 mm radius | No.
B.152 | 150 mm dia 300 mm radius | No.
B.153 | 200 mm dia 400 mm radius | No.
B.154 | 250 mm dia 500 mm radius | No.
Channel Bends 11.25°
B.155 | 100 mm dia 200 mm radius | No.
B.156 | 150 mm dia 300 mm radius | No.
B.157 | 200 mm dia 400 mm radius | No.
B.158 | 250 mm dia 500 mm radius | No.
Left Hand Channel Junctions
B.159 | 100 mm x 100 mm | No.
B.160 | 150 mm x 100 mm | No.
B.161 | 150 mm x 150 mm | No.
B.162 | 200 mm x 100 mm | No.
B.163 | 200 mm x 150 mm | No.
B.164 | 200 mm x 200 mm | No.
B.165 | 250 mm x 100 mm | No.
B.166 | 250 mm x 150 mm | No.
B.167 | 250 mm x 200 mm | No.
B.168 | 250 mm x 250 mm | No.
Right Hand Channel Junctions
B.169 | 100 mm x 100 mm | No.
B.170 | 150 mm x 100 mm | No.
B.171 | 150 mm x 150 mm | No.
B.172 | 200 mm x 100 mm | No.
B.173 | 200 mm x 150 mm | No.
B.174 | 200 mm x 200 mm | No.
B.175 | 250 mm x 100 mm | No.
B.176 | 250 mm x 150 mm | No.
B.177 | 250 mm x 200 mm | No.
B.178 | 250 mm x 250 mm | No.
Double Channel Junctions (Left & Right)
B.179 | 100 mm x 100 mm | No.
B.180 | 150 mm x 100 mm | No.
B.181 | 150 mm x 150 mm | No.
B.182 | 200 mm x 100 mm | No.
B.183 | 200 mm x 150 mm | No.
B.184 | 200 mm x 200 mm | No.
B.185 | 250 mm x 100 mm | No.
B.186 | 250 mm x 150 mm | No.
B.187 | 250 mm x 200 mm | No.
B.188 | 250 mm x 250 mm | No.
HDPE DUCT PIPES including couplings (Kabelflex OR SIMILAR APPROVED) per SANS IEC 61386-24 and BS EN 50086-2-4
B.189 | 75 mm diameter | metre
B.190 | 110 mm diameter | metre