## Sheet1
SUPPLY AND DELIVERY OF ELECTRICAL EQUIPMENT AND MATERIAL UNTIL 30 JUNE 2025 (MATERIAL TENDER NO.2)
PRICING SCHEDULE
SECTION A: METERING MATERIAL, EQUIPMENT AND ACCESSORIES
A1. STS COMPLIANT PRE-PAYMENT METERS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
A1.1 | SINGLE PHASE PREPAYMENT METERS
A1. 1 | Single phase Common base STS prepayment (meter only) | 200 | R____________
A2. ELECTRONIC BI-DIRECTIONAL ENERGY METERS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
A2.1.1 | Single phase direct connected meters, 230V, 100A [not a prepaid meter] | 100 | R____________
A2.1.2 | Plug-in (GPRS) modem with external antenna for Item A2.1.1 [meter powered modem] | 100 | R____________
A3. SMALL POWER DISTRIBUTION BOARDS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
A3.1 | Ready board with bulkhead fitting | 1000 | R____________
SECTION B: UNDERGROUND CABLES, MATERIAL AND ACCESSORIES
B1. BARE COPPER WIRE
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24 (Per Meter)
B1. | Bare Copper Wire
B1.1.1 | Anti-Theft Bonding & Earthing Cable (10mm) | 15000 | R____________
B1.1.2 | Anti-Theft Bonding & Earthing Cable (35mm) | 15000 | R____________
B2. SILICONE FLEXIBLE CABLES
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24 (Per Meter)
B2.1 | Silicone Flexible cable | 12000m | R____________
B3 SILICONE CONTROL CABLE
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24 (Per Meter)
B3.1 | Silicone Control cable 1.5mm | 12000 meters | R____________
B4. CABLE DUCTS(CABLEFLEX)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B4.1 | Comply with SABS in respect of SANS (SANS61386-24) entitled Conduit systems for cable management Part 24 Upper Woking temperature of 100 | 100 | R____________
B4.2 | Double wall construction with knock on coupling | 100 | R____________
B5. PRE-CAST PANELS (VIBRECRETE)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B5.1 | 144Omm(L)x300mm(W)x40-60mm(T) | 10 Slabs | R____________
B6. BARRIER TAPE
Item no. | Description/ specification | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B6.1 | Red and White plastic Barrier Tape | 50 rolls | R____________
B7. ELECTRICAL CABLE WARNING TAPE (DANGER TAPE)
Item no. | Description/ specification | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B7.1 | Orange or Yellow plastic without adhesive with a warning message “ELECTRIC CABLE BELOW” | 50 rolls | R____________
B8. 32mm DIAMETER HDPE SLEEVE (To house fibre optic cable)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24 (Per Metre)
B8.1 | Blue 32mm HDPE pipe | 1000 | R____________
B9. 32mm to 32mm COMPRESSION COUPLINGS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B9.1 | Size 32mm to 32mm compression couplings to be used to connect two HDPE pipes. | 200 | R____________
B10. HEAVY DUTY 24-CORE SINGLE MODE FIBRE OPTIC CABLE(9/125µm)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24 (Per Meter)
B10.1 | Heavy duty 24-core single mode fibre optic cable(9/125µm) | 5500 (for 500m per drum) | R____________
B11. PREFABRICATED MODULAR COMPOSITE MANHOLE
(NB. Manhole(s) are to be installed along the route of the fibre optic cables)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
B11.1 | Round prefabricated modular composite manhole made from Polypropylene UV stabilized panels and a dough moulded compound lockable lid. The manhole to have 4 entry points per direction and shall have a minimum size of 600mm diameter x 600mm deep. | 200 | R____________
SECTION C: STREETLIGHTING, MATERIAL AND ACCESSORIES
C1 DOWN LIGHTER LED
ITEM No | Watt | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24 : Each
C1.1 | 10 | 100 | R____________
C1.2 | 19 | 100 | R____________
C1.3 | 28 | 100 | R____________
C2 SQUARE LED DOWN LIGHT
ITEM No | Watt | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24 : Each
C2.1 | 6 | 100 | R____________
C3. DAY/NIGHT SWITCH
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
C3.1 | To be convenient for wall or any other flat surface mounting. Watertight junction box to be equipped with strip connectors, brackets, six side inlets and one rear inlet to ensure installation versatility. Side inlets to be M20 treaded with re-insertable knock outs | 45.5 | R____________
C3.2 | To be suitable for mounting inside enclosures such as substations, electrical boxes and streetlight luminaires. Equipped with M20 entry, terminal block and 300mm wire leads. Fixing the daylight switch may be either by the enclosed bracket or by securing a 20mm diameter hole with the enclosed locknut together with rubber seals. | TBD | R____________
C4. BOWL FITTINGS & GALLERIES & GALL
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
C4.1 | Bowl: Opal Glass bowl (6" & 8") Colour: White Class: ll IP Rating: 44 | TBD | R____________
C4.2 |  | TBD | R____________
C4.3 |  | TBD | R____________
C4.4 |  | TBD | R____________
C5. NON-SPARKING END CONNECTORS AND INSULATING SLEEVES
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
C5.1 | The non-sparking end connector shall be made from brass and nickel with a screw on top that can only be opened or tightened with an Alen key. The unit to be supplied complete with an insulating sleeve | 500 | R____________
C5.2 |  | 500 | R____________
C6. SURGE ARRESTERS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
C6.1 | Surge Arresters | 500 | R____________
C7. COOL WHITE LED TUBES (0,6m/1.2m/1.5m & tubular) & Downlight LED’s
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
C7.1 | 0.6m LED tubes | 60 | R____________
C7.2 | 1.2m LED tubes | 200 | R____________
C7.3 | 1.5m LED tubes | 2000 | R____________
C7.4 | Tubular 1.2m tubes | 200 | R____________
C7.5 | 7.5W downlight LED’ s | 400 | R____________
C8. CONTACTOR (For streetlight circuits)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES PER YEAR | UNIT PRICE VAT INCLUSIVE 2023/24
C8.1 | TeSys D, Contactor, 3P(3 NO) | 60 | R____________
C9. STREELIGHT POLES (Glass Fibre Reinforcement Polyester)
Item No | Height of pole | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
C9.1 | 2.0 | 50 | R____________
C9.2 | 2.5 | 50 | R____________
C9.3 | 3.0 | 50 | R____________
C9.4 | 3.5 | 50 | R____________
C9.5 | 4.0 | 50 | R____________
C9.6 | 4.5 | 50 | R____________
C9.7 | 5.0 | 50 | R____________
C9.8 | 5.5 | 50 | R____________
C9.9 | 6.0 | 50 | R____________
C9.10 | 6.5 | 50 | R____________
C9.11 | 7.0 | 50 | R____________
C9.12 | 7.5 | 50 | R____________
C9.13 | 8.0 | 50 | R____________
C9.14 | 8.5 | 50 | R____________
C9.15 | 9.0 | 50 | R____________
C9.16 | 9.5 | 50 | R____________
C9.17 | 10.0 | 50 | R____________
C9.18 | 11.5 | 50 | R____________
C9.19 | 12.0 | 50 | R____________
SECTION D: PADLOCKS, LOCKING MECHANISMS AND ACCESSORIES
D1.WITH CONTROLLED AND SECURE 6-PIN “EDGE” KEYS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D1.1 | Level “A” Padlocks for Switching on High & Medium voltage Controlled and secured 6-Pin “Edge” keys: | TBD | R____________
D1.1.1 | Padlocks are aluminium red 44x8x28mm with boron short shackle engraved | 200 | R____________
D1.1.2 | Padlocks are aluminium red 44x8x50mm with boron long shackle engraved | 200 | R____________
D1.1.3 | Padlocks laminated 54x8mm with boron shackle engraved | 200 | R____________
D1.1.4 | Padlocks laminated & Shrouded 54x8mm with boron shackle engraved | 200 | R____________
D1.1.5 | Padlock c/w bracket 73mm wide with 9mm boron shackle | 200 | R____________
D1.2 | Level “B” Padlocks for Metering High & Medium voltage Controlled and secured 6-Pin “Edge” keys: | TBD | R____________
D1.2.1 | Padlocks are aluminium black 44x8x28mm with boron short shackle engraved | 200 | R____________
D1.2.2 | Padlocks are aluminium black 44x8x50mm with boron long | 200 | R____________
D1.2.3 | Padlocks laminated 54x8mm with boron shackle engraved | 200 | R____________
D1.2.4 | Padlocks laminated & Shrouded 54x8mm with boron shackle | 200 | R____________
D1.2.5 | Padlock c/w bracket 73mm wide with 9mm boron shackle. Latch cylinder core only KAMK to existing key | 200 | R____________
D1.3 | Level “C” Low Voltage Controlled and secured 6-Pin “Edge” keys: | TBD | R____________
D1.3.1 | Padlocks are aluminium yellow 44x8x28mm with boron short shackle engraved KAMK | 200 | R____________
D1.3.2 | Padlocks are aluminium yellow 44x8x50mm with boron long shackle engraved KAMK Code: | 200 | R____________
D1.3.3 | Padlocks laminated 54x8mm with boron shackle KAMK engraved KAMK Code: | 200 | R____________
D1.3.4 | Padlocks laminated & Shrouded 54X8mm with boron shackle engraved KAMK Code: | 200 | R____________
D1.3.5 | Padlock c/w bracket 73mm wide with 9mm boron shackle KAMKCode: | 200 | R____________
D1.4 | Level “D” Metering Security P | TBD | R____________
D1.4.1 | Padlocks are aluminium green 44x8x28mm with boron short shackle engraved KAMK Code: | 200 | R____________
D1.4.2 | Padlocks are aluminium green 44x8x50mm with boron long shackle engraved KAMK Code: | 200 | R____________
D1.4.3 | Padlocks laminated 54x8mm with boron shackle KAMK engraved Code: | 200 | R____________
D1.4.4 | Padlocks laminated & Shrouded 54x8mm with boron shackle engraved KAMK Code: | 200 | R____________
D1.4.5 | Padlock c/w bracket 73mm wide with 9mm boron shackle KAMK Code: | 200 | R____________
D1.5 | Water Works - Gates | TBD | R____________
D1.5.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.5.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.5.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.5.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.5.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.6 | Water Works - Reservoirs | TBD | R____________
D1.6.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.6.2 | Padlocks Laminated Shrouded Black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.6.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.6.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.6.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.7 | Water Works - Pumps | TBD | R____________
D1.7.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.7.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.7.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.7.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.7.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.8 | Paradyskloof WTP - Paradyskloof (Existing Key Ref: “FF1/UM”) | TBD | R____________
D1.8.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved | 200 | R____________
D1.8.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.8.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.8.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.8.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.9 | Paradyskloof WTP –Idas Valley (Existing Key Ref: “FF2/UM”) | TBD | R____________
D1.9.1 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.9.2 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.9.3 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.9.4 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.9.5 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.9.6 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.9.7 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.9.8 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.9.9 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.10 | Bosbou - Bosbou (Existing Key Ref: | TBD | R____________
D1.10.1 | Padlocks Laminated black 54x8x23x30mm with boron short | 200 | R____________
D1.10.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.10.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.10.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.10.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.11 | Bosbou –Stores (Existing Key Ref | TBD | R____________
D1.11.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.11.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.11.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.11.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.11.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.12 | Bosbou –Container (Existing Key | TBD | R____________
D1.12.1 | Padlocks Laminated black 54x8x23x30mm with boron short shackle KAMK engraved code:PIS0024004 | 200 | R____________
D1.12.2 | Padlocks Laminated Shrouded black 54x8x23x20mm with boron shackle engraved KAMK code:PIS0022004 | 200 | R____________
D1.12.3 | Padlock 73mm round with 10mm hidden boron shackle c/w bracket KAMK Code: PIS0010117 | 200 | R____________
D1.12.4 | Padlocks Laminated black 67x11x23x35mm with boron short shackle KAMK engraved code: PIS0024020 | 200 | R____________
D1.12.5 | Padlocks Laminated Shrouded black 67x11x23x20mm with boron shackle engraved KAMK code: PIS0022012 | 200 | R____________
D1.13 | High Security Padlock Accessories | TBD | R____________
D1.13.1 | Adjustable cable locks for ladders Code: PSI00300002 | 45 | R____________
D1.13.2 | Lubricant Code:PSI0010088 | 100 | R____________
D1.13.3 | Heavy Duty Bar Hasp Code:PIS0010101 | 30 | R____________
D1.13.4 | Heavy Duty Hasp Single Swivel Code: PIS0027014 | 30 | R____________
D1.13.5 | Heavy Duty Hasp Double Swivel Code: PIS0010114 | 30 | R____________
D1.13.6 | Heavy Duty Barrel Bolt Code:PIS0010116 | 30 | R____________
D1.13.7 | High Security Chain Code:PIS0027011 | 30 | R____________
D1.14 | SAFETY LOCKOUT EQUIPMENT | TBD | R____________
D1.14.1 | Safety Padlock (Private padlocks) Individual Personal worn | 30 | R____________
D1.14.2 | aluminum safety hasps 6mm red code: PIS0010019 | 50 | R____________
D1.14.3 | aluminum safety hasps 6mm red code: PIS0010020 | 50 | R____________
D1.14.4 | Circuit Universal Breaker Miniature Code: PIS0010107 | 100 | R____________
D1.14.5 | Lockout Standard Size Breaker Toggles Code: PIS0010047 | 100 | R____________
D1.14.6 | Lockout Wide Or Tall Breaker Toggles Code: PIS0010046 | 100 | R____________
D2. LOCKOUT PADLOCKS FOR ARTISANS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D2.1 | Set of 12 nylon padlocks with stainless steel shackles 35 x 4.7 x38mm RED Keyed Alike per set engraved with numbering code | 30 | R____________
D3. ALUMINIUM SAFTEY HASPS 6MM X 25 GALVANIZED
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D3.1 | Allows lockout by multiple workers at each lockout point | 50 | R____________
D4. ALUMINIUM SAFTEY HASPS 6MM X 35MM
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D4.1 | 38x6 inside jaw diameter, holds up to 6 padlocks. Allows lockout by multiple workers at each lockout point. Control cannot be turned on you removed from hasp Spark resistant aluminum | 50 | R____________
D5. LOCKOUT TAGS “DO NOT OPERATE” – Customer made – 12/pack
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D5.1 | Re-writable tags 146mm high x 80mm wide heavy duty c/w | 50 | R____________
D6. ADJUSTABLE CABLE LOCKS FOR LADDERS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D6.1 | Set of two keyed alike | 100 | R____________
D7. LUBRICANT
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D7.1 | Dry PTFE padlock lubricant | 50 | R____________
D8. HEAVY DUTY HASP
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D8.1 | Bar hasp heavy duty hardened steel flat 180x44 | 50 | R____________
D9. HEAVY DUTY HASP 90 DEGREES ( Bar hasp heavy duty hardened steel 180x44)
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D9.1 | Harden steel single hinge hasp 160mm | 50 | R____________
D9.2 | Harden steel double hinge 197mm | 50 | R____________
D10. HIGH SECURITY CHAIN
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
D10.1 | Hardened steel 10x1000mm | 30 | R____________
SECTION E: SUBSTATION, MINISUB MATERIAL AND ACCESSORIES
E1 SUBSTATION BATTERIES
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
E1.1 | 11 A/Hr Single Nickel Cadmium vented plate cells to compile sets for: 1 set of 25 cells for 30V | 50 | R____________
E1.2 | 29 A/Hr Single Nickel Cadmium vented plate cells to compile sets for: 1 set of 25 cells for 30 V | 50 | R____________
E1.3 | 29 A/Hr Single Nickel Cadmium vented plate cells to compile sets for: 1 set of 85 cells for 110 V | 50 | R____________
E1.4 | 49 A/Hr Single Nickel Cadmium vented plate cells to compile sets for: 1 set of 85 cells for 110 V | 50 | R____________
E1.5 | 105 A/Hr Single Nickel Cadmium vented plate cells to compile sets for: 1 set of 85 cells for 110 V | 50 | R____________
E2. BATTERY CHARGER UNITS
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
E2.1 | Free standing 10 A charger complete in cabinet suitable to house a set of 29A/hr batteries | 10 | R____________
E2.2 | Free standing 20 A charger complete in suitable cabinet. | 10 | R____________
E2.3 | Free standing 20 A charger complete in cabinet suitable to house a set of 29A/hr batteries | 10 | R____________
E3. VIRGIN AND REGENERATED TRANSFORMER OIL
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
E3.1 | Virgin oil – per 210 Lt. New steel drum, sealed. | Min of 5 drums per order | R____________
E3.2 | Regenerated oil – per 210 Lt. New steel drum, sealed. | Min of 5 drums per order | R____________
E4. ELECTRICAL SWITCHES AND PLUGS – FLUSH MOUNTED
ITEM No | DESCRIPTION | ESTIMATED QUANTITIES | UNIT PRICE VAT INCLUSIVE 2023/24
E4.1 | Switches complete with plate | 300 | R____________
E4.2 | Plug Switch complete with plate | 300 | R____________
E4.3 | Plug Switch complete with plate | 300 | R____________