## BOQ
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| BILL NO. 1 | H1 | 0
| PRELIMINARIES | H1 | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in the Bill shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: These bills of quantities are measured provisionally and will be subject to re-measure when the work or a portion thereof is complete. It is expected of the contractor to be able to demonstrate how he derived at the quantities before each payment claim is submitted |  | 0
| BUILDING AGREEMENT AND PRELIMINARIES | H2 | 0
| The JBCC Principal Building Agreement (Edition 6.2 - Image May 2018) prepared by the Joint Building Contracts Committee shall be the applicable building agreement, amended as hereinafter described |  | 0
| The JBCC Principal Building Agreement contract data form an integral part of this agreement |  | 0
| The JBCC General Preliminaries (May 2018) published by the Joint Building Contracts Committee for use with the JBCC Principal Building Agreement (Edition 6.2 - Image May 2018) shall be deemed to be incorporated in these bills of quantities, amended as hereinafter described |  | 0
| The contractor is deemed to have referred to the abovementioned documents for the full intent and meaning of each clause |  | 0
| The clauses in the abovementioned documents are hereinafter referred to by clause number and heading only |  | 0
| Where any item is not relevant to this agreement such item is marked N/A signifying "not applicable" |  | 0
| Where standard clauses or alternatives are not entirely applicable to this agreement such amendments, modifications, corrections or supplements as will apply are given under each relevant clause heading and such amendments, modifications, corrections or supplements shall take precedence notwithstanding anything to the contrary contained in the abovementioned documents |  | 0
| PREAMBLES FOR TRADES | H2 | 0
| The General Preambles for Trades 2017 published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items fully described in the said General Preambles will be entertained |  | 0
| Supplementary preambles and / or specifications are incorporated in these bills of quantities to satisfy the requirements of this project. Such supplementary preambles and / or specifications shall take precedence over the provisions of the General Preambles |  | 0
| The contractor's prices for all items throughout these bills of quantities shall take account of and include where applicable for all of the obligations, requirements and specifications given in the General Preambles and in any supplementary preambles and / or specifications |  | 0
| METHOD OF MEASUREMENT | H2 | 0
| Except where otherwise stated, these Bills of Quantities have been prepared in accordance with the Seventh Edition of the Standard System of Measuring Builder’s Work, issued by the Association of South African Quantity Surveyors, and hereinafter termed the Standard System. Wherever the terms ”shall be included in the descriptions”, “shall be stated “or words having the same effect appear in the Standard System, it shall be deemed that descriptions within these Bills of Quantities incorporate such inclusions and statements. The items have been measured in all inclusive items and contractor should therefore fully acquaint himself with the full extent of each item on site before pricing any item. The Provisional Bills of Quantities may not be used for ordering purposes. Any ordering of materials, based on these Provisional Bills of Quantities, is done so at the contractor's / subcontractor's own risk. |  | 0
| STRUCTURE OF THIS PRELIMINARIES BILL | H2 | 0
| Section A : A recital of the headings of the individual clauses in the aforementioned JBCC Principal Building Agreement |  | 0
| Section B : A recital of the headings of the individual clauses in the aforementioned JBCC General Preliminaries |  | 0
| Section C : Any special clauses to meet the particular circumstances of the project |  | 0
| PRICING OF PRELIMINARIES | H2 | 0
| Should the contractor select Option A in the contract data for the adjustment of preliminaries, the amounts entered against the relevant items in these preliminaries are to be divided into one or more of the three categories provided namely fixed (F), value related (V) and time related (T) |  | 0
| SECTION A: PRINCIPAL BUILDING AGREEMENT | H2 | 0
| Interpretation (A1- ImageA7) | H3 | 0
1/1/1 | Clause 1.0 - Image Definitions and interpretation | CONT | 0
| Pricing of bills of quantities | CONT | 0
| The contractor is to allow opposite each item for all costs in connection therewith. All prices to include, unless otherwise stated, for all materials, fabrication, conveyance and delivery, unloading, storing, unpacking, hoisting, labour, setting, fitting and fixing in position, cutting and waste (except where to be measured in accordance with the standard system of measurement), patterns, models and templates, plant, temporary works, returning of packaging, duties, taxes (other than Value Added Tax), imposts, establishment charges, overheads, profit and all other obligations arising out of this agreement. Value Added Tax (VAT) is to be separately stated on the summary page of these bills of quantities | CONT | 0
| Items left unpriced will be deemed to be covered in prices against other items throughout these bills of quantities and no claim for any extras arising out of the contractor's omission to price any item will be entertained | CONT | 0
| Prices for all construction equipment, temporary works, services and other items shall include for the supply, maintenance, operating cost and subsequent removal and making good as necessary | CONT | 0
| Abbreviated descriptions | CONT | 0
| The items in these bills of quantities utilise abbreviated descriptions. It is the intention that the abbreviated descriptions be fully described when read with the applicable measuring system and the relevant preambles and/or specifications. However, should the full intent and meaning of any description not be clear, the contractor shall, before submission of his tender, call for a written directive from the principal agent, failing which it shall be assumed that the contractor has allowed in his pricing for materials and workmanship in terms of international best practice | CONT | 0
| Legal status of contractor | CONT | 0
| If the contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons then: | CONT | 0
| 1. These persons are deemed to be jointly and severally liable to the employer for the performance of this agreement | CONT | 0
| 2. These persons shall notify the employer of their leader who has assigned authority to bind the contractor and each of these persons | CONT | 0
| 3. The contractor shall not alter its composition or legal status without the prior written consent of the employer | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/2 | Clause 2.0 - Law, regulations and notices | CONT | 0
| NHBRC levies The employer shall allow for and pay any levies required by the National Home Builders Registration Council (NHBRC). The contractor warrants that he is registered and will maintain registration with the NHBRC for the duration of this agreement [2.1] | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/3 | Clause 3.0 - Image Offer and acceptance F:............................. V:............................ T:............................ | Item | 1
1/1/4 | Clause 4.0 - Image Cession and assignment F:............................. V:............................ T:............................ | Item | 1
1/1/5 | Clause 5.0 - Image Documents | CONT | 0
| Value Added Tax | CONT | 0
| Provision is made in the summary page of these bills of quantities for the inclusion of Value Added Tax (VAT) | CONT | 0
| Priced document as specification Clause 5.4 is deemed to be deleted | CONT | 0
| The principal agent shall decide which portion of the priced document may be used as a specification of materials and goods or methods, if any | CONT | 0
| Electronic issue of drawings All drawings for this project will be issued electronically and the contractor shall be deemed to have received such drawings on the date that such drawings have been dispatched electronically [5.6] | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/6 | Clause 7.0 - Image Design responsibility F:............................. V:............................ T:............................ | Item | 1
| Insurances and securities (A8- ImageA11) | H3 | 0
1/1/7 | Clause 8.0 - Image Works risk F:............................. V:............................ T:............................ | Item | 1
1/1/8 | Clause 9.0 - Image Indemnities F:............................. V:............................ T:............................ | Item | 1
1/1/9 | Clause 10.0 - Image Insurances F:............................. V:............................ T:............................ | Item | 1
1/1/10 | Clause 11.0 - Securities | CONT | 0
| If it is deemed advisable, the extent of any guarantee for payment may be stated and whether it is required of the contractor to waive his lien. Edit the following clause: |  | 0
| Guarantee for payment | CONT | 0
| The employer shall provide to the contractor a guarantee for payment in the amount of .......................................................Rand (R...........................) [11.5.1]. The contractor shall consequently waive his lien or right of continuing possession of the works [11.10] | CONT | 0
| Where it is expected of the contractor to waive his lien in terms of clause 11.10, the waiver of lien may be extended to subcontracts as follows: |  | 0
| Extension of waiver of lien | CONT | 0
| The contractor shall ensure that a waiver of lien is included in all subcontracts and that the works executed on the site are kept free of all liens and other encumbrances at all times [11.10] | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
| Execution (A12 - Image A17) | H3 | 0
1/1/11 | Clause 12.0 - Image Obligations of the parties | CONT | 0
| Office accommodation The contractor shall provide, maintain and remove on practical completion air conditioned office accommodation with suitable tables and chairs for meetings to be held on the site. Such offices shall be kept clean and fit for use at all times [12.2.18] | CONT | 0
| Notice board The contractor shall erect in a position approved by the principal agent, maintain and remove on practical completion a notice board recommended by the South African Institute of Architects and as approved by the principal agent listing the names and logos of the employer, the contractor and the professional consultants. No subcontractor or supplier notice boards may be erected unless permission is granted by the principal agent for such notice boards to be erected [12.2.18] | CONT | 0
| Statutory and other notices | CONT | 0
| The contractor shall submit and/or comply with all statutory and other notices that may be required by any local or other authority in order not to cause any delay to the commencement of the works by the contractor. The contractor shall pay all deposits or fees in this regard | CONT | 0
| It is, however, specifically recorded that the employer shall be responsible for the timeous approval of building plans by any local or other authorities and the payment of any fees or charges related thereto | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/12 | Clause 13.0 - Image Setting out F:............................. V:............................ T:............................ | Item | 1
1/1/13 | Clause 14.0 - Image Nominated subcontractors | CONT | 0
1/1/14 | Clause 14.0 is amended by the addition of the following: | CONT | 0
1/1/15 | Tenderers to allow for all scaffolding & cranage throughout the project. No claims for scaffolding or cranage shall be considered | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/16 | Clause 15.0 - Image Selected subcontractors | CONT | 0
1/1/17 | Clause 15.0 is amended by the addition of the following: | CONT | 0
1/1/18 | Tenderers to allow for all scaffolding & cranage throughout the project. No claims for scaffolding or cranage shall be considered | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/19 | Clause 16.0 - Image Direct contractors Attendance on direct contractors In respect of direct contractors the contractor shall: | CONT | 0
| 1. Designate an area for the direct contractor to establish a temporary office and workshop and storage of equipment and materials | CONT | 0
| 2. Allow the use of personnel welfare facilities, where provided | CONT | 0
| 3. Provide water, lighting and single phase electric power to a position within 50m of the place where the direct contract work is to be carried out, other than fuel or power for commissioning of any installation | CONT | 0
| 4. Permit the direct contractor to use erected scaffolding, hoisting facilities, etc provided by the contractor, in common with others having the like right, while it remains erected on the site [16.1] | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/20 | Clause 17.0 - Image Contract instructions Site instructions Instructions issued on site are to be recorded in a site instruction book which is to be supplied and maintained on site by the contractor | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
| Completion (A18 - Image A24) | H3 | 0
1/1/21 | Clause 18.0 - Image Interim completion | N/A | 0
1/1/22 | Clause 19.0 - Image Practical completion F:............................. V:............................ T:............................ | Item | 1
1/1/23 | Clause 20.0 - Image Completion in sections | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/24 | Clause 21.0 - Image Defects liability period and final completion | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/25 | Clause 22.0 - Image Latent defects liability period F:............................. V:............................ T:............................ | Item | 1
1/1/26 | Clause 23.0 - Image Revision of the date for practical completion Substitution of materials and goods The removal or substitution of any materials and goods which do not conform to the specification or the contract drawings shall not constitute grounds for the extension of the construction period nor for the adjustment of the contract value [17.1.8; 23.1 & 2] | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/27 | Clause 24.0 - Image Penalty for late or non- Imagecompletion F:............................. V:............................ T:............................ | Item | 1
| Payment (A25 - Image A27) | H3 | 0
1/1/28 | Clause 25.0 - Image Payment | CONT | 0
| Prices submitted Where prices are submitted by the contractor or subcontractor during the progress of the works in respect of contract instructions or in regard to a claim under the terms of this agreement and notwithstanding the fact that such prices may be used in an interim payment certificate, there is to be no presumption of acceptance. Should the principal agent wish to accept any such prices prior to the issue of the certificate of final completion, it shall be in writing | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/29 | Clause 26.0 - Image Adjustment of the contract value and final account | CONT | 0
| Fluctuations in costs All fluctuations in costs, with the exception of fluctuations in the rate of Value Added Tax, shall be for the account of the contractor [26.9.5] | CONT | 0
| Should the contractor be instructed to do so he shall execute this work under the conditions pertaining to this agreement on the basis that a separate amount for preliminaries appurtenant to this work (if applicable) is agreed to between the contractor and the principal agent and on condition that instruction to proceed with such work is given to him within a period of three (3) calendar months after the date of practical completion of the works | CONT | 0
| The employer reserves the right to omit such work without compensation to the contractor for loss of profit or any other loss which the contractor may suffer as a result of such omission | CONT | 0
1/1/30 | Clause 27.0 - Recovery of expense and/or loss F:............................. V:............................ T:............................ | Item | 1
| Suspension and termination (A28 - A29) | H3 | 0
1/1/31 | Clause 28.0 - Image Suspension by the contractor | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/32 | Clause 29.0 - Image Termination | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
| Dispute resolution (A30) | H3 | 0
1/1/33 | Clause 30.0 - Image Dispute resolution F:............................. V:............................ T:............................ | Item | 1
1/1/34 | Agreement | CONT | 0
| The required information of the parties and the amount of the contract sum shall be inserted in the agreement for signature of the agreement by the parties F:............................. V:............................ T:............................ | Item | 1
1/1/35 | Contract data | CONT | 0
| Tenderer's selections | CONT | 0
| Before submission of his tender the contractor is to complete the tenderer's selections in the contract data | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
| SECTION B: GENERAL PRELIMINARIES | H2 | 0
| Definitions and interpretation (B1) | H3 | 0
1/1/36 | Clause 1.1 - Image Definitions F:............................. V:............................ T:............................ | Item | 1
1/1/37 | Clause 1.2 - Image Interpretation F:............................. V:............................ T:............................ | Item | 1
| Documents (B2) | H3 | 0
1/1/38 | Clause 2.1 - Image Checking of documents F:............................. V:............................ T:............................ | Item | 1
1/1/39 | Clause 2.2 - Image Provisional bills of quantities | CONT | 0
1/1/40 | Clause 2.3 - Image Availability of construction information | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/41 | Clause 2.4 - Image Ordering of materials and goods F:............................. V:............................ T:............................ | Item | 1
| Previous work and adjoining properties (B3) | H3 | 0
1/1/42 | Clause 3.1 - Image Previous work - Image dimensional accuracy F:............................. V:............................ T:............................ | Item | 1
1/1/43 | Clause 3.2 - Image Previous work - Image defects F:............................. V:............................ T:............................ | Item | 1
1/1/44 | Clause 3.3 - Image Inspection of adjoining properties F:............................. V:............................ T:............................ | Item | 1
| The site (B4) | H3 | 0
1/1/45 | Clause 4.1 - Image Handover of site in stages F:............................. V:............................ T:............................ | Item | 1
1/1/46 | Clause 4.2 - Image Enclosure of the works | Item | 1
| F:............................. V:............................ T:............................ | CONT | 0
1/1/47 | Clause 4.3 - Image Geotechnical and other investigations F:............................. V:............................ T:............................ | Item | 1
1/1/48 | Clause 4.4 - Image Encroachments F:............................. V:............................ T:............................ | Item | 1
1/1/49 | Clause 4.5 - Image Existing premises occupied F:............................. V:............................ T:............................ | Item | 1
1/1/50 | Clause 4.6 - Image Services - Image known F:............................. V:............................ T:............................ | Item | 1
| Management of contract (B5) | H3 | 0
1/1/51 | Clause 5.1 - Image Management of the works F:............................. V:............................ T:............................ | Item | 1
1/1/52 | Clause 5.2 - Image Progress meetings F:............................. V:............................ T:............................ | Item | 1
1/1/53 | Clause 5.3 - Image Technical meetings F:............................. V:............................ T:............................ | Item | 1
| Samples, shop drawings and manufacturer's instructions (B6) | H3 | 0
1/1/54 | Clause 6.1 - Image Samples of materials F:............................. V:............................ T:........................... | Item | 1
1/1/55 | Clause 6.2 - Image Workmanship samples F:............................. V:............................ T:............................ | Item | 1
1/1/56 | Clause 6.3 - Image Shop drawings F:............................. V:............................ T:............................ | Item | 1
1/1/57 | Clause 6.4 - Image Compliance with manufacturer's instructions F:............................. V:............................ T:............................ | Item | 1
| Deposits and fees (B7) | H3 | 0
1/1/58 | Clause 7.1 - Image Deposits and fees F:.......................... V:........................... T:......................... | Item | 1
| Temporary services (B8) | H3 | 0
1/1/59 | Clause 8.1 - Image Water F:............................. V:............................ T:............................ | Item | 1
1/1/60 | Clause 8.2 - Image Electricity F:............................. V:............................ T:............................ | Item | 1
1/1/61 | Clause 8.3 - Image Ablution and welfare facilities F:............................. V:............................ T:............................ | Item | 1
1/1/62 | Clause 8.4 - Image Communication facilities F:............................. V:............................ T:............................ | Item | 1
| Prime cost amounts (B9) | H3 | 0
1/1/63 | Clause 9.1 - Image Responsibility for prime cost amounts | CONT | 0
| Attendance on subcontractors (B10) | H3 | 0
1/1/64 | Clause 10.1 - Image General attendance F:............................. V:............................ T:............................ | Item | 1
1/1/65 | Clause 10.2 - Image Special attendance | CONT | 0
| General (B11) | H3 | 0
1/1/66 | Clause 11.1 - Image Protection of the works F:............................. V:............................ T:............................ | Item | 1
1/1/67 | Clause 11.2 - Image Protection/isolation of existing works and works occupied in sections F:............................. V:............................ T:............................ | Item | 1
1/1/68 | Clause 11.3 - Image Security of the works F:............................. V:............................ T:............................ | Item | 1
1/1/69 | Clause 11.4 - Image Notice before covering work F:............................. V:............................ T:............................ | Item | 1
1/1/70 | Clause 11.5 - Disturbance | CONT | 0
| Disturbance All work is to be carried out in such a manner as to cause no unacceptable or unreasonable dust, noise, vibrations, nuisance, inconvenience, annoyance and the like to the public, others, other properties and traffic in so far as they exceed the permissible limitations set by government legislation or by the local authority. Any delays, stoppages and the like arising from or in order to comply with the above will not constitute grounds for an adjustment to the construction period or contract value whatsoeverF:........................ V:.........................T:......................... | Item | 1
1/1/71 | Clause 11.6 - Environmental disturbance | CONT | 0
| Controlling all forms of pollution The contractor shall be responsible for and take all precautions in controlling by whatever means necessary all forms of pollution emanating from the site during the construction period due inter alia to noise, artificial light, wind-blown sand, dust, deposits of mud, etc | CONT | 0
| The contractor is to ensure that all roads which border the site and are used by the contractor during the execution of the works are kept clean and free of any dirt or debris caused by the execution of the works | CONT | 0
1/1/72 | Clause 11.7 - Works cleaning and clearing F:............................. V:............................ T:............................ | Item | 1
1/1/73 | Clause 11.8 - Vermin F:............................. V:............................ T:............................ | Item | 1
1/1/74 | Clause 11.9 - Overhand work F:............................. V:............................ T:............................ | Item | 1
1/1/75 | Clause 11.10 - Tenant installations F:............................. V:............................ T:............................ | Item | 1
1/1/76 | Clause 11.11 - Advertising F:............................. V:............................ T:............................ | Item | 1
| SECTION C: SPECIFIC PRELIMINARIES | H2 | 0
1/1/77 | Warranties for materials and workmanship Where warranties for materials and/or workmanship are called for, the contractor shall obtain a written warranty, addressed to the employer, from the entity supplying the materials and/or executing the work and shall deliver same to the principal agent on final completion of the contract | CONT | 0
| The warranty shall state that workmanship, materials and installation are warranted for a specific period from the date of practical completion and that any defects that may arise during the specified period shall be made good at the expense of the entity supplying the materials and/or doing the work, upon written notice to do so | CONT | 0
| The warranty will not be enforced if the work is damaged by defects in the execution of the works, in which case the responsibility for replacement shall rest entirely with the contractor F:............................. V:............................ T:............................ | Item | 1
1/1/78 | Overtime Should overtime be required to be worked for any reason whatsoever, the cost of such overtime is to be borne by the contractor unless the principal agent has specifically authorised, prior to execution thereof, that costs for such overtime are to be borne by the employer F:........................ V:.........................T:......................... | Item | 1
1/1/79 | Cooperation of the contractor for cost management It is specifically agreed that the contractor accepts the obligation of assisting the principal agent in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the contract value does not exceed the budget F:........................ V:.........................T:......................... | Item | 1
1/1/80 | Overloading The contractor shall take all necessary steps to ensure that no damage occurs due to overloading of any portion of the works or temporary works eg scaffolding, etc. The contractor shall submit details of his proposed loading, storage, plant erection, etc to the principal agent for approval prior to proceeding with such loading, storing or erecting and shall comply with and pay for the principal agent's requirements in connection with the provision of temporary support work, etc. Any damage caused to the works by overloading shall be made good by the contractor at his sole expense F:........................ V:.........................T:......................... | Item | 1
1/1/81 | Propping of floors below The contractor is advised that propping of floors below may be required if he wishes to use any areas of completed suspended reinforced concrete slabs for vehicle access, storage of materials and goods and location of plant, scaffolding, etc. The location of these areas and any necessary propping shall be approved by the principal agent and the cost thereof shall be borne by the contractor F:........................ V:.........................T:......................... | Item | 1
1/1/82 | Testing of flat roof waterproofing for watertightness Flat roof waterproof areas shall be flooded and kept "ponded" for at least forty eight (48) hours as a test to ensure the watertightness of the waterproofing and before any further construction work is carried out above the waterproofing F:........................ V:.........................T:......................... | Item | 1
1/1/83 | Health and safety | CONT | 0
| Without limiting the generality of the provisions of clause 2.0, the contractor's attention is drawn to the provisions of the Construction Regulations issued in terms of the Occupational Health and Safety Act, 1993 as amended. It is specifically stated that the employer shall prepare a documented health and safety specification for the works and that the employer shall ensure that the contractor has made provision for the cost of health and safety measures during the execution of the works. The contractor shall price opposite this item for compliance with the act and the regulations and the reasonable provisions of the aforementioned health and safety specification [2.1] |  | 0
| Health and safety Without limiting the generality of the provisions of clause 2.0, the contractor's attention is drawn to the provisions of the Construction Regulations issued in terms of the Occupational Health and Safety Act, 1993 as amended. It is specifically stated that the employer shall prepare a documented health and safety specification for the works and that the employer shall ensure that the contractor has made provision for the cost of health and safety measures during the execution of the works. The contractor shall price opposite this item for compliance with the act and the regulations and the provisions of the aforementioned health and safety specification [2.1] |  | 0
| The contractor shall: 1. Comply with the health and safety specification for the works 2. Prepare and agree with the health and safety consultant the health and safety plan for the works 3. Cooperate with the health and safety consultant in all respects 4. Manage the compliance of all subcontractors with the regulations and with the health and safety plan and specification 5. Conform to the conditions contained in the employer's health and safety specification |  | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/84 | Scaffolding and cranage | CONT | 0
1/1/85 | Tenderers to allow for all scaffolding & cranage required throughout the project for the tenderer, his in house subcontractors and domestic subcontractors, see Clause 14.0, 15.0 for Nominated and Selected subcontractors and Clause 16.0 for Direct contractors. No claims for scaffolding or cranage shall be considered | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/86 | Security | CONT | 0
1/1/87 | The contractor is required to provide security on-site after hours from 17H00 until 08H00 during week days, and 24 hours security over weekends and public holidays for the full duration of the project | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/88 | Allowance for CLO | CONT | 0
1/1/89 | Allowance of R5 000.00 per month for four months, should be made for the appointment of a CLO. All profit should be included in the rate and provision for pricing of the aforementioned is made under this clause and it is explicitly pointed out that all requirements in respect of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/90 | Heritage requirements | CONT | 0
1/1/91 | All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/92 | Contract Documentation | CONT | 0
1/1/93 | It is the responsibility of the successful contractor to buy a copy of the JBCC Principal Building Agreement and the JBCC Principal Building Agreement Contract Data (Edition 6.2 - May 2018) to be signed and used for this contract | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
1/1/94 | All inclusive items | CONT | 0
1/1/95 | The items have been measured in all inclusive items and contractor should therefore fully acquaint himself with the full extent of each item on site before pricing any item. | CONT | 0
| F:............................. V:............................ T:............................ | Item | 1
| SUMMARY OF CATEGORIES | H3 | 0
| Category : Fixed R........................................ Category : Value R........................................ Category : Time R........................................ |  | 0
0
| GENERATOR BUILDING | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| The Generator Building with small office is a single storey building with a footprint of approximately 83m², external wall height of approximately 3,50m, double pitched roof of approximately 83m² (measured on plan) (Image 20211208_091925). External walls with plaster and paint need repainting (Image 20211208_091925). |  | 0
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use to match existing or similar approved | H4 | 0
1/2/1 | Walls - Image 20211208_091925 ; 2211208_091949 ; 20211208_092042 ; 20211206-WA0006 | m2 | 81
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/2/2 | Eaves gutters | m | 28
1/2/3 | Rainwater downpipes | m | 21
0
| LAW ENFORCEMENT BUILDING | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| The Law Enforcement Building is a single storey office building with a footprint of approximately 232m², external wall height of approximately 2,71m, combination of double pitched roof and two flat roofs of approximately 232m² (measured on plan), with a bathroom and a kitchenette inside the building (Image 20211208_092748). The current steel sheeting roof covering is to be removed (Image 20211208_135705) and replaced with galvanised corrugated roof sheeting. Purlins to be removed from roof trusses and damaged truss members to be repaired. External walls with plaster and paint need repainting (Image 20211208_092748). |  | 0
| ALTERATIONS | H2 | 0
| Removal of existing work | H3 | 0
| Taking off and removing corrugated sheet steel roof covering | H4 | 0
1/3/1 | Corrugated sheet steel roof covering (not exceeding 25 degrees) including timber purlins, flashings, fascias, barge boards, insulation material, gutters and rainwater pipes, etc. from roof structure (approximate roof area measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work - Image 20211208_135705 | m2 | 232
| ROOF COVERINGS, CLADDINGS, ETC | H2 | 0
| Profiled metal sheeting and accessories | H3 | 0
| 0,58mm Z200 galvanised corrugated steel sheets with Chromadek finish in the colour "Charcoal grey" fixed to timber purlins or rails including all flashings, barge boards, facias, roof insulation and rainwater disposal etc. replacing like with like | H4 | 0
1/3/2 | Roof covering with pitches not exceeding 25 degrees (approximate roof area measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m2 | 232
| 4mm Alucushion Bubblefoil double sided aluminium foil insulation | H4 | 0
1/3/3 | Insulations laid taut over purlins and fixed concurrently with roof covering, overlapped longitudinally by 100mm on and including galvanised straining wire spaced 383mm centres all in strict accordance with the manufacturers specifications (approximate roof area measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m2 | 232
| CARPENTRY AND JOINERY | H2 | 0
| Structural timberwork etc | H3 | 0
| Sawn softwood grade S5 | H4 | 0
1/3/4 | 50 x 75mm Purlins on roof (approximate size measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m | 258
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/3/5 | Walls - Image 20211208_092748 ; 20211208_092402 ; 20211208_092405 ; 20211208_092422 | m2 | 208
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/3/6 | Eaves gutters | m | 76
1/3/7 | Rainwater downpipes | m | 30
0
| BUILDING CONTROL BUILDING | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| The Building Control office building is a single storey building with a footprint of approximately 248m², external wall height of approximately 3,42m and double pitched roof of approximately 248m² (measured on plan) (Image 20211208_092847). The current steel roof sheeting is to be removed (Image 20211208_092847) and replaced with galvanised corrugated roof sheeting. Purlins to be removed from roof trusses and damaged truss members to be repaired. External walls with plaster and paint need repainting (Image 20211208_135702). |  | 0
| ALTERATIONS | H2 | 0
| Removal of existing work | H3 | 0
| Taking off and removing corrugated sheet steel roof covering | H4 | 0
1/4/1 | Corrugated sheet steel roof covering (not exceeding 25 degrees) including timber purlins, flashings, fascias, barge boards, insulation material, gutters and rainwater pipes, etc. from gable roof structure (approximate roof area measured on plan), height of roof approximately 3,42m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work - Image 20211208_092847 | m2 | 247
| ROOF COVERINGS, CLADDINGS, ETC | H2 | 0
| Profiled metal sheeting and accessories | H3 | 0
| 0,58mm Z200 galvanised corrugated steel sheets with Chromadek finish in the colour "Charcoal grey" fixed to timber purlins or rails including all flashings, barge boards, facias, roof insulation and rainwater disposal etc. replacing like with like | H4 | 0
1/4/2 | Roof covering with pitches not exceeding 25 degrees (approximate roof area measured on plan) to gable roof, height of roof approximately 3,42m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m2 | 247
| 4mm Alucushion Bubblefoil double sided aluminium foil insulation | H4 | 0
1/4/3 | Insulations laid taut over purlins and fixed concurrently with roof covering, overlapped longitudinally by 100mm on and including galvanised straining wire spaced 383mm centres all in strict accordance with the manufacturers specifications (approximate roof area measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m2 | 247
| CARPENTRY AND JOINERY | H2 | 0
| Structural timberwork etc | H3 | 0
| Sawn softwood grade S5 | H4 | 0
1/4/4 | 50 x 75mm Purlins on roof (approximately size measured on plan), height of roof approximately 3,42m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m | 274
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/4/5 | Walls - Image 20211208_092847 ; 20211208_092424 ; 20211208_092752 | m2 | 233
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/4/6 | Eaves gutters | m | 46
1/4/7 | Rainwater downpipes | m | 21
0
| MUNICIPAL OFFICE BLOCK | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Reinforced concrete framed, 5 storey building with parapet roof. The north side is articulated to step in 6 bays. Each bay has a full width window which is recessed from the façade with a deep sloping cill and curved upper corners. The south side abuts the rear of the Library and only the lift tower is visible. The east end is hidden by Neethling House. The west end is partly hidden by the Municipal Offices but here is the staircase tower with vertical slit windows and a triangular lift shaft tower. |  | 0
| The Municipal Office Block is a five storey building with a footprint of approximately 2 036m², external wall heigh of approximately 18,50m high, flat roof of approximately 2 036m² (measured on plan) with bathrooms, kitchens and foyer areas (Image 20211208_092855). The bird proof netting to the exterior plaster and painted walls with bird proof netting covering the windows are to be removed and reinstalled after painting. External walls with plaster and paint need repainting.(Image 20211208_092855 ; 20211208_092936) |  | 0
| ALTERATIONS | H2 | 0
| Removal of existing work | H3 | 0
| Taking down, safely storing, cleaning and reinstalling of birdproof netting | H4 | 0
1/5/1 | From external walls of multi storey building prior to painting to be reinstalled in same position after painting, birdproof netting heights range from ground floor to fourth floor approximately 22m above ground level, contractor to include provision for scaffolding in the rate, refer to photos and scope of work, size approximately 65m² each - Image 20211208_092921 ; 20211208_092840 | No | 5
| General maintenance | H3 | 0
| Taking down, safely storing, cleaning and reinstalling of birdproof netting | H4 | 0
1/5/2 | Birdproof netting | No | 5
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/5/3 | Walls, wall height range from ground floor to fourth floor, contractor to include provision for scaffolding in rate, refer to photos and scope of work - Image 20211208_092855 | m2 | 2059
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/5/4 | Eaves gutters | m | 92
1/5/5 | Rainwater downpipes | m | 60
0
| NEETLING HOUSE BUILDING | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Double storey H shaped (deformed rear leg) Cape Revival building. Front (east) elevation facing Ryneveld has forward projecting wings each side with decorative holbol gables (date AD 1908, oval ventilation hole) which has 2 bays at first floor (4x6 sash windows with decorative plaster heads and panel between) while at ground floor is a projecting bay window with balustrade above (4x6 central sash, 3x6 sashes on flanks all with plaster keystone). Central portion has 7 bays: arch head central door (varnished timber, fanlight, double doors); 3 sash windows each side (4x6); verandah across width with precast concrete balustrade supported on Doric columns but central bay has arched head and venetian columns; the outer 6 bays of the first floor have 4x6 sash windows, centrally is glazed door with ogee “Cape” fanlight and a small decorative holbol gable above that (oval ventilator, the word NEETHLINGHUIS); there is a small dormer window in the roof each side of it (pitched roof, 6x3 casement). South side elevation is close to Absa Bank adjacent: it has a projecting porch and windows and plaster decorations similar to elsewhere (not inspected further). It is flanked by an ambulatory past the side of Absa Bank that connects into that building and into the Municipal Office Block. The front garden contributes to the sweep of gardens and lawns that characterise the west side of Ryneveld Street. It has herbaceous borders and fine wrought iron railings along the pavement, with two gates giving access to a brick-paved walkway in the form of a circular drive in front of the building. The path conveniently connects to the Ryneveld Lawns and the north side of the building, which faces directly onto them. North side elevation overlooks the Ryneveld Street Lawns. 8 bays. 1st bay has a 4x6 sash window (a pattern repeated throughout) at ground floor but no opening at 1st floor. 2nd and 4th bays have a sash at 1st floor and a small window at ground. 3rd bay is entrance door (teak 2 leaves with upper panels small pane glazing) and has a porch outside (pitched roof, decorative exposed trusses) while at first floor/staircase half-landing is a large arch head window (sunrise fanlight, 5x8 panes). |  | 0
| The Neetling House Building is a double storey building with a footprint of approximately 1 268m², double pitched roof with dormers of approximately 1 268m² (measured on plan) that is currently being used as offices with kitchens, bathrooms and conference rooms (Image 20211208_093442 ; 20211208_093304 ; 20211208_092708). The current slate roof covering and dormers is to be removed (Image 20211208_093327) and replaced with new slate roof covering. External walls with plaster and paint need repainting (Image 20211208_093458). |  | 0
| ALTERATIONS | H2 | 0
| Removal of existing work | H3 | 0
| Taking down and removing roofs, floors, panelling, ceilings, partitions, etc | H4 | 0
| Note: | H4 | 0
| Demolition and removal of structures containing asbestos cement products to comply with all statutory requirements regarding removal of asbestos cement products |  | 0
| Proof of registration of the registered asbestos subcontractor to be submitted to the Municipality of Stellenbosch prior to commencement of asbestos removal |  | 0
| Taking off and removing asbestos cement roof covering | H4 | 0
1/6/1 | Contract the services of an AIA registered with the Department of Labour required for the project in line with Asbestos Regulations 2020 and ensure that an AIA has been appointed in writing by the asbestos subcontractor before commencement of asbestos work | Item | 1
1/6/2 | Provision to comply with all statutory requirements regarding removal of structures containing asbestos cement products (to be omitted as a whole if not required) | Item | 1
1/6/3 | Slate asbestos roof covering, timber purlins, fascias, barge boards, insulation material, gutters, rainwater pipes, etc. (measured on plan) from gable roof construction, height of roof approximately 2,60m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work - Image 20211208_093337 ; 20211208_093400 | m2 | 6
1/6/4 | Asbestos gutters, downpipes, etc. from gable roof construction, height of roof approximately 2,60m above ground level, the contractor is to include provision for scaffolding in the rate | m | 20
| Taking off and removing slate roof covering | H4 | 0
1/6/5 | Roof covering with pitches not exceeding 25 degrees including flashings, fascias, barge boards, insulation material, gutters and rainwater pipes, etc. from gable roof structure (approximate roof area measured on plan), height of roof approximately 7,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work - Image 20211208_093426 ; 20211208_093324 ; 20211208_092727 ; 20211208_092708 ; 20211208_093547 | m2 | 1390
| ROOF COVERINGS, CLADDINGS, ETC | H2 | 0
| SLATES | H2 | 0
| 500 x 300mm Slate roof covering laid in double thickness with a head lap of 75mm and nailed along centre with galvanised steel clout nails to and including 38 x 38mm sawn softwood battens, replacing like with like | H4 | 0
1/6/6 | Roof covering (PC amount R900 per m²) with pitches not exceeding 25 degrees | m2 | 1390
1/6/7 | Extra on roof covering for double course at eaves including fixing clips and 47 x 50mm sawn softwood tilting fillet | m | 160
| Construction including all material for sides, front, back and covering of roof dormers to resemble existing | H4 | 0
1/6/8 | Roof covering and side cladding to dormers, turrets, etc. roof height approximately 7,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work - Image 20211208_093547 ; 20211208_093521 ; 20211208_093325 | No | 6
| 4mm Alucushion Bubblefoil double sided aluminium foil insulation | H4 | 0
1/6/9 | Insulations laid taut over purlins and fixed concurrently with roof covering, overlapped longitudinally by 100mm on and including galvanised straining wire spaced 383mm centres all in strict accordance with the manufacturers specifications (approximate roof area measured on plan), height of roof approximately 3,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m2 | 1390
| CARPENTRY AND JOINERY | H2 | 0
| Structural timberwork etc | H3 | 0
| Sawn softwood grade S5 | H4 | 0
1/6/10 | 50 x 75mm Purlins on roof (approximate size measured on plan), roof height approximately 7,20m above ground level, the contractor is to include provision for scaffolding in the rate, refer to photos and scope of work | m | 1520
| PLUMBING AND DRAINAGE (PROVISIONAL) | H2 | 0
| Rainwater disposal | H3 | 0
| Seamless aluminium prepainted gutters and rainwater pipes to match existing | H4 | 0
1/6/11 | 100 x 75mm Eaves gutters | m | 20
1/6/12 | 100mm Diameter rainwater pipes | m | 15
1/6/13 | Extra over gutter for stopped end | No | 6
1/6/14 | Extra over gutter for outlet for 100mm pipe | No | 6
1/6/15 | Extra over rainwater pipe for bend | No | 6
1/6/16 | Extra over rainwater pipe for shoe | No | 6
1/6/17 | Extra over gutter for angle | No | 4
| PAINTWORK | H2 | 0
| Paintwork etc to new work | H3 | 0
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/6/18 | Eaves gutters | m | 20
1/6/19 | Rainwater downpipes | m | 15
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/6/20 | Walls, wall height approximately 7,20m high, contractor to include provision for scaffolding in rate, refer to photos and scope of works - Image 20211208_093134 ; 20211208_093304 ; 20211208_093442 ; 20211208_093622 ; 20211208_142210 | m2 | 1305
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/6/21 | Eaves gutters | m | 330
1/6/22 | Rainwater downpipes | m | 240
0
| DE WITT HOUSE | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Georgian or Victorian single storey, three bay building with pitched corrugated iron roof and straight, parapeted end gables. Central bay is a double door with sunrise fanlight and an elaborate moulded plaster surround (the equivalent of door casing and once painted to emphasise that). Each side are Georgian sash windows (4x6 panes) with plain plaster surrounds. At each end are shallow and narrow pilasters which rise to a string course that runs across the front. Above it, each bay has a metal ventilators to the roofspace (2 diamond, 1 circular). The modern gutter along the roofline has no drainpipes; it turns and runs across the gable end. There is an intrusive soil vent pipe by the left pilaster. At the rear the building has a wing with a similar pitched roof and the L this forms is filled in with a flat corrugated iron roof building. At the rear is a separate single storey building. It has a pitched, corrugated iron roof with straight end gables. There are other minor structures in the rear courtyard which has several lean-to roofs. The rear buildings incorporate a great many openings of various sizes and dates. Buildings not inspected further. The front yard is surrounded by a low wall with piers connected with scalloped walls. It extends to the millstream which now flows underground just outside the wall. |  | 0
| The De Witt House office building is a single storey building with a footprint of approximately 155m², external wall height of approximately 4,4m, combination of double pitched roof and flat roof of approximately 155m² (measured on plan) with a bathroom, kitchen and store room (Image 20211208_091006). External walls with plaster and paint or limewash need repainting / limewash. (Image 20211208_091006). |  | 0
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/7/1 | Walls - Image 20211208_091035 ; 20211208_091030 ; 20220201-WA0146 ; 20220201-WA0135 ; 20211208_134443 | m2 | 303
1/7/2 | Stellenbosch coat of arms brightly coloured - Image 20211208_091050 | No | 1
| On external floated lime plaster surfaces | H3 | 0
| Two coats lime wash for exterior use to match existing | H4 | 0
1/7/3 | Walls - Image 20211208_091006 | m2 | 41
1/7/4 | Boundary wall - Image 20220201-WA0196 | m2 | 172
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/7/5 | Eaves gutters | m | 82
1/7/6 | Rainwater downpipes | m | 32
0
| MUNICIPAL LIBRARY PLEINSTREET | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Eastwards of the Town Hall and Municipal Offices is the Municipal Library which steps forward to become one side of the Stadshuis foreplace. Throughout, windows at ground floor are Dutch period style sashes (6x9 panes with half-height shutters) and those at first floor are casements (6x5 panes). The front façade is 5 bays wide with a slightly projecting middle panel in which is the front door (Late Dutch period references including timber surround) with, on the first floor above it, a casement in an elaborate plaster frame (scrolls, open books). Each side of the central bay at ground floor there are two Dutch period style sash windows and above them are casements as elsewhere. Simple moulded parapet. (The composition recalls a stripped version of Uitkyk at Klapmuts.) The east elevation is hidden by the property next door. The west elevation has 6 bays. The 4 central bays project slightly. At first floor there is a line of casements: the two at each end have plaster decorative surrounds. At ground floor are sash windows as elsewhere except the northmost bay which has a double door with timber surround similar to the front entrance door. There is awkward abutment with the Municipal Offices as neither the window sizes nor the parapets align. The building is set back from Plein Street with a small rose garden in front. It has a crossing over the millstream to the main entrance on the centre of the building. On the projecting wall eastward is Huguenot Memorial a bas relief sculpture. |  | 0
| The Municipal Library Building is a double storey building with a footprint of approximately 656m², external wall height of approximately 7,60m, flat roof of approximately 656m² (measured on plan) with offices and a bathroom (Image 20211208_091124 ; 20211208_091325). External walls with plaster and paint need repainting (Image 20211208_091325). |  | 0
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
1/8/1 | Maintenance to bas relief sculpture if and as prescribed by the Heritage Specialist to be omitted in whole or in part by the client | Item | 1
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/8/2 | Walls, wall height approximately 11,70m, contractor to include provision for scaffolding in rate, refer to photos and scope of works - Image 20211208_091124 ; 20211208_091312 ; 20220201-WA0011 | m2 | 1199
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/8/3 | Eaves gutters | m | 103
1/8/4 | Rainwater downpipes | m | 64
0
| MUNICIPAL OFFICES AND MEETING ROOMS | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Two storey building with simple moulded parapet stretching between Town Hall (west) and Library (east) both of which project forward. 7 bays. Timberwork matches that of Town Hall - is all teak and based on Dutch period sash windows and entrance doors with elaborate architraves; plasterwork is a sophisticated interpretation of Cape scrolls and mouldings. At ground level the end bays have double doors in an elaborate timber frame – the Municipality entrance is the right hand one. The central bay also has a door (small panes to leaves and fanlight, no surround) with a small circular porch in front of it (Neo-Classical details) that forms a balcony to the old council chamber above – a door and fanlight with small panes opens onto it. The remaining windows are Dutch period style sashes (6x10 panes with solid half-shutters at ground, 2 panes shorter above). At first floor the end and central bays have decorative plaster surrounds. In front is a foreplace shared with the Town Hall with lawns, a notable oak tree and parked cars. Near the millstream crossing is a bronze sculpture, “Café Cat”, by Nerine Desmond. The rear elevation faces the service yard and is much more irregular. Steel windows in timber surrounds are placed as needs be at first floor level (the ground floor is concealed by adjacent buildings). There are two plain chimneys and the westerly three bays step forward. At that end extensions have been built, one of which partly conceals a double door and fanlight similar to those on the front. |  | 0
| The Municipal Offices and Meeting Rooms is a double storey building with a footprint of approximately 240m², external wall height of approximately 11,70m, flat roof of approximately 240m² (measured on plan) with conference rooms and offices (Image 20211208_091351). A part of the top of the northern exterior wall to be waterproofed. External walls with plaster and paint need repainting. (Image 20211208_091351). |  | 0
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/9/1 | Walls, wall height approximately 11,70m from ground level, contractor to include provision for scaffolding in rate, refer to photos and scope of works - Image 20211208_091346 ; 20211208_092303 | m2 | 1130
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/9/2 | Eaves gutters | m | 97
1/9/3 | Rainwater downpipes | m | 72
0
| STADSHUIS TOWN HALL BUILDING | H1 | 0
| NOTE: ALLOW FOR THE PROVISION, ERECTION, USE, DISMANTLING, TRANSPORT, ETC. OF SCAFFOLDING IN THE RATE OF EACH APPLICABLE ITEM IN THE BILLS OF QUANTITIES IN ACCORDANCE WITH THE REQUIREMENTS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT FOR THE EXECUTION OF ALL WORKS |  | 0
| Note: The premises will be in use and occupied during the execution of the works |  | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in these Bills of Quantities shall be deemed to be a fixed price for the duration of this project |  | 0
| Note: All work to match existing or similar approved by Stellenbosch Municipality |  | 0
| Note: All items, elements, materials and workmanship must comply with heritage requirements. The replacing of items must be "like for like" and the contractor should acquaint himself with the requirements and specific prices necessary to execute the work as such. No substandard material or workmanship will be acceptable and no claims for additional cost due to the contractor's reluctance to research prices before tender stage will be entertained |  | 0
| Building Description: |  | 0
| Large hall used for civic purposes, theatrical events, etc, with ancillary spaces. Set back from Plein Street with a foreplace hosting parked cars and a lawn edged along the street by the Millstream. The building is a mixture of Neo-Classical and Cape revival forms with a plain, high flytower at the rear. Timberwork is all teak and based on Dutch period sash windows and entrance doors with elaborate architraves; plasterwork is a sophisticated interpretation of Cape scrolls and mouldings. Double storey at the front with 3 bays behind a portico, and 1 bay each side. Neo-Classical portico on a low brick platform with 4 Corinthian columns supporting a pediment (depicts Van der Stel’s first visit). Each side of the portico the classical details continue onto small “shoulders” of the building. At ground level there are three doors behind the portico with 3 Dutch period sashes above them (central one with plaster mouldings). This Neo-Classical feature projects slightly from the rest of the façade which, like the rest of the building, is in Dutch period language. Above is a high plain parapet with simple moulding. The single bay each side has a similar plain parapet and Dutch sashes at ground (6x8 panes with half-height solid shutters) and first floor (2 panes shorter). On the east (a minor elevation) the return flank is 2 bays wide, the first with Dutch revival sash windows as elsewhere, the second at staircase half-landing with a rounded head and small pane windows. Extending eastwards are the municipal offices. |  | 0
| The Stadshuis Town Hall Building is a double storey building with a footprint of approximately 1 630m², external wall height ranging from 3,70m to 15,24m, combination of double pitched and flat roofs of approximately 1 630m² (measured on plan) consisting of a hall size 20,91m x 34,97m x 10,47m high, a stage size 20,91m x 13,76m x 14,74m high, gallery size 20,91m x 10,99m x 3,82m high, foyers size 27,36m x 11,98m x 4,39m high, side passages, kitchen, office and bathrooms (Image 20211208_091523). External walls with plaster and paint need repainting (Image 20211208_091446). |  | 0
| PAINTWORK | H2 | 0
| Paintwork, etc to previously painted work | H3 | 0
| Preparatory work to existing work | H3 | 0
| Previously painted plastered surfaces | H4 | 0
| Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
| Previously painted metal surfaces | H4 | 0
| Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
| On external floated plaster surfaces | H3 | 0
| Two coats superior quality acrylic emulsion paint for exterior use colour to match existing or similar approved | H4 | 0
1/10/1 | Walls, wall height range from 3,32m to 15,24m from ground level, contractor to include provision for scaffolding in rate, refer to photos and scope of works - Image 20211208_091523 ; 20211208_091632 ; 202108_091648 ; 20211208_091906 ; 20211208_092140 ; 20211208_092208 | m2 | 2159
| On metal surfaces | H3 | 0
| Prepare surfaces and remove all loose material, apply ne coat alkyd based zinc phosphate primer and two coats matching paint, on aluminium | H4 | 0
1/10/2 | Eaves gutters | m | 166
1/10/3 | Rainwater downpipes | m | 112
0
| PROVISIONAL SUMS | H1 | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in the Bill shall be deemed to be a fixed price for the duration of this project |  | 0
| General | H4 | 0
| Work for which budgetary allowances are provided will be measured and valued in accordance with the relevant building agreement / building contract and deducted in whole or in part if not required without any compensation for loss of profit on the said allowances |  | 0
| Prime cost amounts and provisional sums are net. Prime cost amounts shall include for delivery to site of all articles concerned Provisional sums are for material and equipment supplied and installed complete by firms of specialists |  | 0
| Profit | H4 | 0
| Where stated, the contractor may allow for profit if required |  | 0
| Special attendance on nominated/selected subcontractors | H4 | 0
| Where "special attendance" such as unloading, storing, placing in position, providing special power supplies, specific hoisting, cranage and scaffolding requirements, provision of temporary casing and/or other specific protection of the works, special security and clearing away rubbish is required, a separate item describing the specific requirements in detail is to be provided for the pricing of such requirements |  | 0
| Builder's work | H4 | 0
| Builder's work in connection with specialist services is given elsewhere in these bills of quantities |  | 0
| PROVISIONAL SUMS | H2 | 0
| The following budgetary allowances are for work to be executed by the contractor | H4 | 0
| Note: No removal, demolition, replacing , rebuilding, etc. of items without written approval from the Stellenbosch Municipality for the quotation provided by the contractor for the work in question |  | 0
1/11/1 | Municipal Offices and Meeting Rooms: Allow the amount of R80,000.00 (Eighty Thousand Rand) for any and all work to waterproof the external walls, work to be executed by Nominated sub-contractor | Item | 1
1/11/2 | Profit | %IT
1/11/3 | Attendance | %IT
1/11/4 | Municipal Office Block: Allow the amount of R80,000.00 (Eighty Thousand Rand) for any and all work to replace damaged bird proof netting from external walls of multi-storey building with heights ranging from ground floor to fourth floor | Item | 1
1/11/5 | Profit | %IT
1/11/6 | Attendance | %IT
| Signage | H4 | 0
1/11/7 | Allow the amount of R10,000.00 (Ten Thousand Rand) for signage | Item | 1
1/11/8 | Profit | %IT
1/11/9 | Attendance | %IT
| OHS Officer | H4 | 0
1/11/10 | Allow the amount of R30,000.00 (Thirty Thousand Rand) for a OHS officer | Item | 1
1/11/11 | Profit | %IT
1/11/12 | Attendance | %IT
0
| BUDGETARY ALLOWANCES | H1 | 0
| Note: Tenderers are advised to study the Model Preambles for Trades before pricing the Bill. |  | 0
| Note: Unless otherwise stated herein, all items in the Bill shall be deemed to be a fixed price for the duration of this project |  | 0
| General | H4 | 0
| Work for which budgetary allowances are provided will be measured and valued in accordance with the relevant building agreement / building contract and deducted in whole or in part if not required without any compensation for loss of profit on the said allowances |  | 0
| BUDGETARY ALLOWANCES | H2 | 0
| Sundry building work | H4 | 0
1/12/1 | Provide the sum of R100,000.00 (One hundred Thousand Rand) for unforeseen roof repairs | Item | 1
| Heritage Architect | H4 | 0
1/12/2 | Provide the sum of R60,000.00 (Sixty Thousand Rand) for a heritage architect to be appointed and managed by the Stellenbosch Municipality | Item | 1
| Remedial repairs | H4 | 0
1/12/3 | Provide the amount of R200,000.00 (Two Hundred Thousand Rand) for painting, waterproofing and other remedial work to existing roofs, this item may be omitted in whole or in part by Stellenbosch Municipality and/or the appointed heritage architect | Item | 1
0
1/1 | Preliminaries | Page | 25
1/2 | Generator Building | Page | 27
1/3 | Law Enforcement Building | Page | 31
1/4 | Building Control Building | Page | 35
1/5 | Municipal Office Block | Page | 38
1/6 | Neetling House Building | Page | 45
1/7 | De Witt House Building | Page | 48
1/8 | Municipal Library Pleinstreet, Erf 1966 | Page | 51
1/9 | Municipal Offices and Meeting Rooms | Page | 54
1/10 | Stadshuis Town Hall Building | Page | 57
1/11 | Provisional Sums | Page | 60
1/12 | Budgetary Allowances | Page | 61
| Sub Total | ST | 0
| Contingency (15%) | TAX | 15
| Sub Total excluding VAT | ST | 0
| VAT | TAX | 15
| Total including VAT | ST | 0