## Facility Details
Facility Details
Bidder Reference Name: | [enter Bidder reference Name]
Legend
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Facility/Unit
Facility/Unit Name
DC Nameplate Capacity (MWp)
Contracted Capacity (MWac)
Facility/Unit Coordinates
Delivery Point Name
Delivery Point options:
Stellenbosch Main
Stellenbosch Golf
Stellenbosch University
Stellenbosch Jan Marais
Stellenbosch Markotter
Cloetesville
Franschhoek
Bien Donne

## Site Design Summary
Schedule TR1: Site Design Summary
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Design Detail
Directional Aspect of Array
Modules Tilt (degrees)
Modules arrangement (Portrait/Landscape)
Number of Modules (no.)
Modules in Series (no.)
Mounting structure type (e.g. SAT, FT, floating, agri-voltaics, rooftop, etc.)
Strings in Parallel (no.)
Array Area (m2)
Land Area (m2)
Ground Coverage Ratio (%)
Total Inverters (no.)
Array STC2 Rating (kWp DC)
Generation (kWh/kWp installed)
Predicted AC electricity generated in first year at inverter AC output terminals (MWh/year)

## Equipment List
Schedule TR1: Equipment List
Bidders must enter their Proposal values in the Cells with grey fill colour
Item | Description | Offered | Standard/Code Compliance | Operating Range | Warranty Period (Years) | Design Life (Years)
1 | PV module model
2 | Rated power at STC
3 | Design operating limits Temp (max &min)
Humidity
Structural Wind Loading
4 | Inverter Model & Type
5 | Integrated isolating transformer
6 | Maximum Input Power
Maximum V (open circuit)
Nominal output V AC
7 | Max Output Current AC
8 | Peak efficiency (define basis)
9 | Power Factor range @ 50%, 75% & 100% output
Define fault level & period during which inverter can generate into a 22kV short circuit
Isolation & connection switches ‐ make/model
10 | PV Modules mounting ground
11 | Designed wind speed for mounting structure
12 | Wiring (AC & DC)
DC side Earthing system
Lightning Protection
13 | Electrical Protection
14 | Switchgear
15 | Transformer
16 | Metering

## Interconnection
Schedule TR1: Interconnectio
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Design Detail
Interconnection Voltage
Interconnection Transfer Capacity
Outstanding Servitudes for line construction

## DrawingList
Schedule TR1: Drawing List
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Details | Document Details (including Name/Number/Version)
Scale drawing/s in high resolution | Clearly showing the property boundary, coordinates of each corner point along the boundary, Facility/Unit layout, access roads, construction facilities, laydown areas, weather stations, Facility Connection Works and Distribution Connection Works up to the Delivery Point. The drawing should also clearly label the Project substation, the grid connection substation, the Delivery Point and the meter installations.
DC Electrical single line diagram/s in high resolution for the project
AC Electrical single line diagram/s in high resolution for the project | Clearly showing the AC balance of plant within the Facility, the Facility Connection Works and Distribution Connection Works up to the Delivery Point, meter installations, ownership boundaries and operational boundaries.