## Facility Details
Facility Details
Bidder Reference Name: | [enter Bidder reference Name]
Legend
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Value
Unit/Facility Name
Contracted Capacity at COD (MW)
Unit/Facility Coordinates
Delivery Point Name
Delivery Point Coordinates

## Design Summary
Schedule BR1: BESS Information
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Units | Value
Capacity and Performance
Rated Input/Output Power | MW
Installed BESS Capacity | MWh
Contracted Capacity at COD | MWh
Round Trip Efficiency at COD | %
Standby/Auxiliary power consumption (0ºC) | kW
Standby/Auxiliary power consumption (25ºC) | kW
Standby/Auxiliary power consumption (40ºC) | kW
Response time to network frequency disturbance | ms
Response time to external signal | ms
BESS Arrangement
Unit / enclosure arrangement (e.g. containerised, building, outdoor), separate or combined PCS enclosures etc.
No. of BESS units
Power per unit
Energy storage capacity per unit
Max SoC | %
Min SoC | %
Average yearly degradation during a 15 year period (624 cycles a year) | %
Batteries
Manufacturer
Country of Origin
Cell model
Cell chemistry
No. modules per rack
No. racks per enclosure / BESS unit
No. BESS units
Battery C-rating in charge
Battery C-rating in discharge
Cell and module accreditation
Warranty Period | Years
Guaranteed Number of battery cycles according to warranty | cycles
Warranted SoH at end of warranty period | %
Other Equipment Details
Inverter |  | Manufacturer & model
Energy management system |  | Manufacturer & model
Telemetric system |  | Manufacturer & model
Transformers |  | Manufacturer & model
Switchgear |  | Manufacturer & model
Instrument transformers |  | Manufacturer & model
Ambient Site Conditions Applicable to the Facility
Minimum Ambient temperature | °C
Maximum Ambient temperature | °C
Average Ambient temperature | °C
Altitude | m
Humidity | %

## Guaranteed Parameters
Schedule BR1: BESS Guaranteed Parameters
Bidders must enter their Proposal values in the Cells with grey fill colour Depending on the number of cycles to the EOL, the Bidder may amend the last few rows of this table to align the EOL conditions with the EOL cycles. E.g. If EOL occurs at 9000 cycles, the Bidder may amend row 19 to reflect 9000 cycles.
Cycles | Contracted Capacity (kW) | Round Trip Eficiency (%)
COD
624
1248
1872
2496
3120
3744
4368
4992
5616
6240
6864
7488
8112
8736
9360
EOL

## Interconnection
Schedule BR1: Interconnection
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Design Detail
Interconnection Voltage
Interconnection Transfer Capacity
Outstanding Servitudes for line construction (if required)

## DrawingList
Schedule BR1: Drawing List
Bidders must enter their Proposal values in the Cells with grey fill colour
Description | Details | Document Details (including Name/Number/Version)
Scale drawing/s in high resolution | Clearly showing the property boundary, coordinates of each corner point along the boundary, Facility/Unit layout, access roads, construction facilities, laydown areas, weather stations, Facility Connection Works and Distribution Connection Works up to the Delivery Point. The drawing should also clearly label the Project substation, the grid connection substation, the Delivery Point and the meter installations.
DC Electrical single line diagram/s in high resolution for the project
AC Electrical single line diagram/s in high resolution for the project | Clearly showing the AC balance of plant within the Facility, the Facility Connection Works and Distribution Connection Works up to the Delivery Point, meter installations, ownership boundaries and operational boundaries.